## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 08.07.2018 TO 06:00 HRS OF 09.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 08.07.2018 | KRN | 43289.9965 | 43290.0501 | 1:17 | LT FEEDER | LTAB BURNT DUE TO FIRE ON POLE | BURNT LTAB REPAIRED | 11,12 & 13 BLOCK GEETA COLONY. | 345
2 | 08.07.2018 | MVR | 43289.7266 | 43289.8224 | 2:18 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES BURNT DUE TO FIRE IN DISTRIBUTION BOX | DAMAGED WIRE'S REPAIRED | CHILLA VILLAGE. | 9 | LT JOINTS BURNT DUE TO UNBALANCING CAUSED BY THEFT OF ELECTRICITY AS IT IS HIGH LOSS POCKET MORE THAN 30% LOSS ON PARTICULAR S/STN
3 | 09.07.2018 | YVR | 43290.0789 | 43290.1424 | 1:31 | LT FEEDER | FIRE ON LTAB | LTAB BURNT, SAME REPAIRED | B-1 YAMUNA VIHAR. | 86