## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 10.07.2018 TO 06:00 HRS OF 11.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 10.07.2018 | DRG | 43291.6885 | 43291.7309 | 1:01 | LT FEEDER | TO ATTEND FAULT IN THE CIRCUIT | FLASH IN CABLE JOINT BOX SAME ATTENDED | BALMIKI BASTI-FEROJ SHAH KOTLA STADIUM | 77
2 | 10.07.2018 | VSE | 43291.3318 | 43291.4439 | 2:41 | LT FEEDER | LT CABLE FAULTY | LT CABLE REPAIRED | E-BLOCK NEW ASHOK NAGAR | 160 | LT CABLE FAULTY AT E1 BLOCK NEW ASHOK NAGAR, BLOCKADE AT SITE DUE TO CAR PARKING
3 | 10.07.2018 | VSE | 43291.5892 | 43291.6485 | 1:25 | LT FEEDER | TO ATTEND FAULT IN THE CIRCUIT | EXTERNAL ELEMENT FOUND ON LINE SAME REMOEVD | BLOCK A-DALLU PURA VSE | 440