## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 12.07.2018 TO 06:00 HRS OF 13.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 12.07.2018 | CCK | 43293.2855 | 43293.4045 | 2:51 | DAMAGE BY OTHER AGENCIES | TRIPPING | HT CABLE FAULTY, AREA BACKFEEDED | OLD HAUZ QUAZI,KAMLA MARKET. | 1358 | HT CABLE GET DAMAGED BY EXTERNAL AGENCY DJB AT S/STN KAMLA MARKET TO OLD HAUZ QAZI
2 | 12.07.2018 | DGN | 43293.6809 | 43293.7508 | 1:41 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON LT POLE | WIRES DAMAGED, SAME REPAIRED | DDA QUARTERS-POCKET Q,DILSHAD GARDEN. | 100
3 | 12.07.2018 | KWN | 43293.5734 | 43293.6319 | 1:24 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE CIRCUIT | HVDS LEAD FAULTY DUE TO FLASH, SAME REPAIRED | BLOCK D-PREM VIHAR,BLOCK A-BABU NAGAR. | 5532
4 | 12.07.2018 | SRD | 43293.4444 | 43293.4957 | 1:14 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 10-OLD RAJENDRA NAGAR. | 94
5 | 12.07.2018 | YVR | 43293.4688 | 43293.5366 | 1:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | MAUJ PUR COMPLEX 1,BLOCK C11-YAMUNA VIHAR. | 1795