## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 13.07.2018 TO 06:00 HRS OF 14.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 13.07.2018 | DRG | 43294.6667 | 43294.7431 | 1:50 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | KAMLA MARKET-AJMERI GATE | 635
2 | 13.07.2018 | KRN | 43294.639 | 43294.6866 | 1:09 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | MAHILA COLONY KRISHNA NAGAR | 932
3 | 13.07.2018 | KRN | 43294.639 | 43294.7167 | 1:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | CHUNA BHATTI MANDOLI | 55
4 | 13.07.2018 | KRN | 43294.7015 | 43294.7708 | 1:40 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | BLOCK-E KRISHNA NAGAR | 560
5 | 13.07.2018 | KRN | 43294.7071 | 43294.7694 | 1:30 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | JAGJEET NAGAR | 705
6 | 13.07.2018 | KRN | 43294.7071 | 43294.8542 | 3:32 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | JITTAR NAGAR | 255 | DELAY DUE TO HEAVY RAIN & WATER LOGGING PROBLEM IN THE AREA
7 | 13.07.2018 | KRN | 43294.7765 | 43294.9681 | 4:36 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | TRANSFORMER REPLACED | E-BLOCK KRISHNA NAGAR | 557 | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE. DELAY DUE TO WATER LOGGING IN THE AREA
8 | 13.07.2018 | KRN | 43294.8475 | 43294.9757 | 3:05 | LT FEEDER | TO ATTEND FAULT IN THE CIRCUIT | LT CABLE FAULTY SAME REPAIRED | SOUTH ANARKALI | 120 | LT CABLE FAULTY SAME REPAIRED. DELAY DUE TO WATER LOGGING IN THE AREA
9 | 13.07.2018 | KWN | 43294.4708 | 43294.5514 | 1:56 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD AND END BOX FAULTY | HVDS LEAD AND END BOX REPAIRED | INDRA VIHAR GALI NO-4 | 519
10 | 13.07.2018 | KWN | 43294.6223 | 43294.7472 | 3:00 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | SHIV VIHAR PHASE-6 | 430 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
11 | 13.07.2018 | KWN | 43294.6227 | 43294.765 | 3:25 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | BLOCK K-WEST KARAWAL NAGAR | 862 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
12 | 13.07.2018 | KWN | 43294.6231 | 43294.7625 | 3:21 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | AREA OF KAMAL VIHAR | 604 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
13 | 13.07.2018 | KWN | 43294.6234 | 43294.7439 | 2:53 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | RAM MOHALLA JOHRIPUR | 425 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
14 | 13.07.2018 | KWN | 43294.6237 | 43294.8385 | 5:09 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | SHANTI NAGAR-KWR | 602 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
15 | 13.07.2018 | KWN | 43294.6241 | 43294.7501 | 3:01 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | GOVIND VIHAR | 690 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
16 | 13.07.2018 | KWN | 43294.6244 | 43294.7408 | 2:48 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | AMAR VIHAR BLOCK-C | 345 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
17 | 13.07.2018 | KWN | 43294.6247 | 43294.7674 | 3:25 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | BLOCK A-RAMA GARDEN | 680 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
18 | 13.07.2018 | KWN | 43294.6262 | 43294.7788 | 3:40 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | BLOCK F-WEST KARAWAL NAGAR | 345 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
19 | 13.07.2018 | KWN | 43294.6271 | 43294.7809 | 3:41 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | BLOCK B-NEW CHAUHAN PUR | 324 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
20 | 13.07.2018 | KWN | 43294.6288 | 43294.75 | 2:54 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | DEVI NAGAR-KWR | 258 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
21 | 13.07.2018 | KWN | 43294.6323 | 43294.7118 | 1:54 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOOGGING | BREAKDOWN DUE TO RAIN SAME ATTENDED | C-BLOCK 3 PUSTA SONIA VIHAR | 863
22 | 13.07.2018 | KWN | 43294.6381 | 43294.7201 | 1:58 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOOGGING | HVDS FUSE BLOWN SAME REPLACED | JOHRI ENCLAVE-BHAGIRATHI VIHAR | 690
23 | 13.07.2018 | KWN | 43294.6386 | 43294.7428 | 2:30 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | BLOCK B-BRIJ PURI | 590 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
24 | 13.07.2018 | KWN | 43294.6623 | 43294.7379 | 1:49 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOOGGING | BREAKDOWN DUE TO RAIN SAME ATTENDED | C-BLOCK MUKAND VIHAR | 604
25 | 13.07.2018 | KWN | 43294.698 | 43294.7683 | 1:41 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOOGGING | HVDS DP FUSE BLOWN SAME REPLACED | E-BLOCK SONIA VIHAR | 420
26 | 13.07.2018 | KWN | 43294.8215 | 43294.9028 | 1:57 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | PART-6 SONIA VIHAR | 1024
27 | 13.07.2018 | KWN | 43294.8215 | 43294.9164 | 2:17 | HT SYSTEM FAULT | TRIPPING | CABLE END BOX DAMAGED SAME REPAIRED | C-12 SONIA VIHAR | 980 | CABLE END BOX DAMAGED SAME REPAIRED. DELAY DUE TO WATER LOGGING IN THE AREA
28 | 13.07.2018 | LNR | 43294.7564 | 43294.8229 | 1:36 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | C-BLOCK SHAKARPUR KHAAS | 1156
29 | 13.07.2018 | NNG | 43294.6533 | 43294.7088 | 1:20 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOOGGING | HVDS FUSE BLOWN SAME REPLACED | C-BLOCK NAND NAGRI | 388
30 | 13.07.2018 | NNG | 43294.6743 | 43294.7271 | 1:16 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | C-BLOCK HARSH VIHAR | 120
31 | 13.07.2018 | PHG | 43294.7024 | 43294.8854 | 4:24 | LT FEEDER | LT CABLE BURNT DUE TO FIRE IN THE AREA | BURNT CABLE REPLACED | KATRA GAURIS HANKAR,FILMISTAN | 128 | LT CABLE BURNT DUE TO FIRE IN THE AREA. DELAY DUE TO TRAFFIC CONGESTION AND NARROW LANE.
32 | 13.07.2018 | PNR | 43294.6306 | 43294.7396 | 2:37 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | B-VLOCK ANAND PARVAT | 1810 | CABLE MOISTURISED DUE TO HEAVY RAIN SAME ATTENDED. DELAY DUE TO WATER LOGGING IN THE AREA
33 | 13.07.2018 | PNR | 43294.7217 | 43294.7778 | 1:21 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | M-BLOCK WEST PATEL NAGAR | 1425
34 | 13.07.2018 | PNR | 43294.7217 | 43294.8333 | 2:41 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | BLOCK-O WEST PATEL NAGAR | 155 | DELAY DUE TO HEAVY RAIN & WATER LOGGING PROBLEM IN THE AREA
35 | 13.07.2018 | PNR | 43294.9146 | 43294.9799 | 1:34 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | D-BLOCK WEST PATEL NAGAR | 1255
36 | 13.07.2018 | PNR | 43294.984 | 43295.0556 | 1:43 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | O&M BLOCK WEST PATEL NAGAR | 1275
37 | 13.07.2018 | PNR | 43294.984 | 43295.2236 | 5:45 | DISTRIBUTION TR. | 990KVA TRANSFORMER FAULTY | FAULTY TRANSFORMER REPLACED | Z-BLOCK PATEL NAGAR | 194 | 990KVA TRANSFORMER FAULTY SAME REPLACED
38 | 13.07.2018 | VSE | 43294.5609 | 43294.7083 | 3:32 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR AND BURNT LTAB | BURNT LTAB REPLACED | SOME PART OF DALLUPURA VILLAGE | 45 | LTAB AND PIERCING CONNECTOR BURNT SAME REPLACED
39 | 13.07.2018 | VSE | 43294.6354 | 43294.7153 | 1:55 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOOGGING | BREAKDOWN DUE TO RAIN SAME ATTENDED | BLOCK C2-NEW ASHOK NAGAR | 66
40 | 13.07.2018 | VSE | 43294.7028 | 43294.7764 | 1:46 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | KONDALI VILLAGE | 70
41 | 13.07.2018 | YVR | 43294.4632 | 43294.5634 | 2:24 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GAUTAM VIHAR-GHONDA | 185 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUTDOWN
42 | 13.07.2018 | YVR | 43294.4731 | 43294.6038 | 3:08 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER HT BUSHING DAMAGED SAME REPAIRED | BABAU RAM CHOWK MAUJPUR | 88 | TRANSFORMER HT BUSHING DAMAGED SAME REPAIRED. DELAY DUE TO TRAFFIC CONGESTION AND NARROW LANE.
43 | 13.07.2018 | YVR | 43294.4731 | 43294.5938 | 2:54 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | ARJUN MOHALLA-MAUJPUR | 95 | CABLE FAULTY. DELAY DUE TO MULTIPLE FAULT IN CABLE.
44 | 13.07.2018 | YVR | 43294.482 | 43294.5582 | 1:50 | LT FEEDER | DISTRIBUTION BOX FAULTY DUE TO FLASH | DISTRIBUTION BOX REPAIRED | H-BLOCK SEELAMPUR | 165
45 | 13.07.2018 | YVR | 43294.5674 | 43294.6392 | 1:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | H-BLOCK BRAHAMPURI | 837
46 | 13.07.2018 | YVR | 43294.6543 | 43294.6986 | 1:04 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN SAME ATTENDED | C-6 YAMUNA VIHAR | 794
47 | 13.07.2018 | YVR | 43294.7206 | 43294.8351 | 2:45 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION | AREA NORMALISED AFTER REMOVING THE WATER FROM S/STATION | D-BLOCK GAMRI EXTENTION | 88 | SUPPLY PUT OFF DUE TO HEAVY RAIN AND WATER LOGGING PROBLEM IN S/STATION
48 | 13.07.2018 | YVR | 43294.8943 | 43294.9748 | 1:56 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | TRANSFORMER REPLACED WITH MOBILE TRANSFORMER | CHAUHAN BANGAR-JAFFRABAD | 160