## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 01/07/2018 06:00Hr. To 02/07/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 02/07/2018 | SVR | 05:58 | 07:09 | 01:11 | HT SYSTEN FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR D.P NTPC , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : HARSH VHR,, A, B, C BLOCKS H N EXT-3,, MOLARBAND_1 | 502
2 | 02/07/2018 | PLM | 00:50 | 02:05 | 01:14 | HT SYSTEN FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:11kV FDR HARIJAN BASTI(SHIKSHA BHARTI), EXTN (PLM). , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : PALAM EXTN.PART I,, PURAN NAGAR | 443
3 | 01/07/2018 | DWK | 18:35 | 19:41 | 01:05 | HVDS CABLE & OTHER SYSTEM | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , HVDS,:END BOX DAMAGE, | RESTORED/ REPAIRED | Part of : DWARKA,, HARI VIHAR,, KAKROLA,, BHARAT VIHAR,, SHIVANI ENCLAVE | 516
4 | 01/07/2018 | NGL | 18:04 | 19:12 | 01:08 | HVDS CABLE & OTHER SYSTEM | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NIHAL VIHAR,, VANDANA VIHAR,, CHANDAN VIHAR,, RAO VIHAR,, SHIV VIHAR NEAR NANGLOI JAT,, HANUMAN ENCLAVE,, SAINI VIHAR | 475
5 | 01/07/2018 | NHP | 18:03 | 19:17 | 01:13 | HT SYSTEN FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KAILASH APPARTMENT , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ZAMRUDPUR,, GREATER KAILASH I,L,N BLOCK N,, EAST OF KAILASH BLOCK E | 459
6 | 01/07/2018 | NJF | 18:01 | 19:06 | 01:05 | HT SYSTEN FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR PRASANT S/S DHARAMPUR , DISTRIBUTION TRANSFORMER,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : NAJAFGARH VILLAGE,, JAWALAPURI EXTN., PREM NAGAR,, ROSHANPURA,, DHARMPURA | 463
7 | 01/07/2018 | VKJ | 16:59 | 18:22 | 01:23 | HT SYSTEN FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-2 (KAPASHERA) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : IGI AIRPOR,, HARIJAN BASTI,, SAMALAKA EXT BLOCK B | 428
8 | 01/07/2018 | NJF | 16:56 | 18:36 | 01:39 | HT SYSTEN FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR RMU 7- PANEL BOARD(NEAR POWER HOUSE) , HT O/H,:INSULATOR BROKEN/PUNCTURED, | RESTORED/ REPAIRED | Part of : JHARODA KALAN,, RAGHUBIR ENCLAVE,, DICHAON KALAN,, HAIBATPUR,, NAJAFGARH PARK,, NAVIN PLACE | 461
9 | 01/07/2018 | ALN | 16:40 | 17:45 | 01:04 | HT SYSTEN FAULT | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , HT O/H,:HTAB END BOX FAILURE, | RESTORED/ REPAIRED | Part of : TUGHLAQABAD,, OKHLA INDUSTRIAL AREA PH I BLOCK A&B | 380
10 | 01/07/2018 | UMN | 16:00 | 17:01 | 01:01 | HVDS CABLE & OTHER SYSTEM | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , HVDS,:OBJECT FALLEN ON THE HVDS NETWORK, | RESTORED/ REPAIRED | Part of : BINDAPUR,, UTTAM NAGAR,, MAHAVIR ENCLAVE PART III,, LAJWANTI GARDEN BLOCK D1C,, PATEL GARDEN EXTN,, MANSA RAM PARK | 501
11 | 01/07/2018 | DWK | 15:07 | 16:10 | 01:02 | HT SYSTEN FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-19 PP , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 19,, BEES SUTRI COLONY | 429
12 | 01/07/2018 | JKP | 14:32 | 16:24 | 01:52 | HT SYSTEN FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-6 I/D MAULAWALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : PREM NAGAR BLOCK B2B,, PREM NAGAR, NANAK PURA | 429
13 | 01/07/2018 | DWK | 13:58 | 14:59 | 01:01 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY PH-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JAIN COLONY,, SAHYOG VIHAR,, PARAM PURI,, JAIN PARK,, PAPAN KALAN,, SUKH RAM PARK,, SUBHASH PARK,, NANHEY PARK | 478
14 | 01/07/2018 | MDK | 13:15 | 14:15 | 01:00 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE,, SHAFIPUR RANHOLA VILLAGE,, AAKASH VIHAR,, BAKKAR WALA VILLAGE,, DICHAON KALAN,, LAXMI PARK COLONY | 429
15 | 01/07/2018 | VKP | 10:42 | 13:07 | 02:24 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR VIKAS KUNJ SCHOOL WALA , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : VIKAS NAGAR,, DEEPAK VIHAR,, VIJAY VIHAR | 515
16 | 01/07/2018 | NGL | 10:37 | 11:49 | 01:11 | HVDS CABLE & OTHER SYSTEM | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI STP , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : ADHYAPAK NAGAR,, CHANDER VIHAR,, SHIV VIHAR A, B BLOCK,, SHRI RAM COLONY,, NILOTHI VILLAGE,, TEK CHAND COLONY | 472
17 | 01/07/2018 | DWK | 08:18 | 09:49 | 01:31 | HT SYSTEN FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR BAIRWA BHARTI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,DWARKA SECTOR 12 PKT 1 | 473
18 | 01/07/2018 | JKP | 13:34 | 15:06 | 01:32 | LT FEEDER | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-13, LIC BUILDING, D.C JANAKPURI , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : A1-BLK(RICH HARVEST SCHOOL)SSTN,JKP | 92
19 | 01/07/2018 | SVR | 11:08 | 12:43 | 01:35 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : G BLOCK SHAHEEN BAGH | 94
20 | 01/07/2018 | PJB | 13:07 | 16:25 | 03:18 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV SHIV MANDIR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : MADIPUR | 288
21 | 01/07/2018 | NGL | 12:07 | 15:05 | 02:58 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN-5 VIA K-25 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : UDYOG NAGAR | 525
22 | 01/07/2018 | NHP | 12:00 | 16:07 | 04:07 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4, OKHLA PHASE-2, FEEDER-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : A-52 OKHLA PH-2 | 18
23 | 01/07/2018 | MDK | 11:00 | 14:16 | 03:16 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : JAFARPUR URF HIRAN KUDNA VILLAGE,, GHEWRA VILLAGE,, TIKRI KALAN VILLAGE,, MUNDKA VILLAGE,, GHEWRA VILLAGE,, TIKRI KALAN VILLAGE | 594
24 | 01/07/2018 | PJB | 11:00 | 16:00 | 05:00 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11KV FDR ADARSH BHAWAN , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : PUNJABI BAGH WEST | 72
25 | 01/07/2018 | RKP | 11:00 | 17:15 | 06:15 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-7 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : EKTA VIHAR R K PURAM SECTOR 10 | 287
26 | 02/07/2018 | JFP | 4:05 | 6:00 | 1:55 | EHV TRIPPING | DUE TO TRIPPING 11KV I/C NO-2 AT JAFERPUR GRID | SUPPLY RESTORED | RMU, OLD CRPF, MITRAHON, PANDWALA | 5907

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES