## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 02/07/2018 06:00Hr. To 03/07/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 03/07/2018 | NZD | 05:54 | 07:16 | 01:21 | HT SYSTEN FAULT | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BHOGAL,, PANT NAGAR,, NIZAMUDDIN WEST BLOCK A | 403
2 | 03/07/2018 | VKJ | 02:12 | 03:38 | 01:25 | HT SYSTEN FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : GHITORNI | 457
3 | 03/07/2018 | SVR | 01:45 | 03:22 | 01:36 | HT SYSTEN FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NEW FRIENDS COLONY BLOCK B&C,, KHIZARABAD | 416
4 | 02/07/2018 | NHP | 22:09 | 23:25 | 01:16 | HT SYSTEN FAULT | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR M-BLOCK KIOSK G.K-1 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : GREATER KAILASH II BLOCK E&M | 425
5 | 02/07/2018 | KPR | 22:05 | 23:46 | 01:40 | HT SYSTEN FAULT | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DR. KARAN SINGH SHOOTING RANGE , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK | 512
6 | 02/07/2018 | SKT | 21:07 | 22:08 | 01:00 | HT SYSTEN FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : SARVODAYA ENCLAVE,, VIJAY MANDAL ENCLAVE | 475
7 | 02/07/2018 | SVR | 20:42 | 21:43 | 01:01 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-2 , HVDS,:END BOX DAMAGE, | RESTORED/ REPAIRED | Part of : SAURAV VIHAR,, HARI NAGAR,, MOLARBAND | 446
8 | 02/07/2018 | VKJ | 20:40 | 22:06 | 01:25 | HT SYSTEN FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR T.B HOSPITAL , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : JANAKPURI BLOCK D,, LAJWANTI GARDEN | 445
9 | 02/07/2018 | PLM | 20:32 | 21:39 | 01:06 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC.-9 (PLM. DIVISION) , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 8,, RAJ NAGAR EXTENSION,, RAJ NAGAR II,, DWARKA SECTOR 8,,BLOCK A&B DWARKA | 440
10 | 02/07/2018 | SVR | 20:31 | 21:40 | 01:09 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SEWAGE PUMP NEAR PEER BABA , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SEWAGE PUMP NEAR PEER BABA (HT CONSUMER) | 1
11 | 02/07/2018 | VKJ | 20:29 | 22:01 | 01:32 | HT SYSTEN FAULT | Grid:STC124;66kV AEROCITY GRID To Feeder:11 kV FDR ASSET NO.-10(BIRD GROUP/DURIT) , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : ASSET NO.-10(BIRD GROUP/DURIT) (HT CONSUMER) | 1
12 | 02/07/2018 | DWK | 20:16 | 21:31 | 01:14 | HT SYSTEN FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NSIT , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : DHAULA DHAR APPTT,, HIMANCHAL APPT,, PERIPHECRAL,, NEELANCHAL APPT,, Jai maa App. ,, KAILASH APPT. | 472
13 | 02/07/2018 | VKP | 20:00 | 21:14 | 01:13 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR VIKAS KUNJ SCHOOL WALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : VIKAS NAGAR,, DEEPAK VIHAR,, VIJAY VIHAR | 505
14 | 02/07/2018 | DWK | 19:49 | 20:53 | 01:04 | HT SYSTEN FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR DJA APPT , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 13,, AYUDH VIHAR,, | 507
15 | 02/07/2018 | PLM | 19:47 | 21:09 | 01:21 | HT SYSTEN FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPEHERIAL-1 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : DWARKA SEC.1 PKT-2&3,,MAHAVIR ENCLAVE PART-I | 515
16 | 02/07/2018 | SVR | 19:07 | 20:52 | 01:44 | HT SYSTEN FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NEW FRIENDS COLONY BLOCK B&C,, KHIZARABAD | 416
17 | 02/07/2018 | NGL | 15:37 | 17:03 | 01:26 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RATAN NO-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE,, SATYAM VIHAR,, RAJIV RATAN AWAS FLATS,, PRASHANT ENCLAVE,, JAI VIHAR PH-1&3,, HARPHOOL VIHAR,, DICHAON KALAN | 494
18 | 02/07/2018 | ALN | 11:52 | 12:59 | 01:07 | HT SYSTEN FAULT | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : CR PARK BLOCK A&B | 358
19 | 02/07/2018 | TGN | 11:40 | 12:51 | 01:10 | HT SYSTEN FAULT | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR S-BLOCK VISHNU GARDEN VI WORK CENTER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TAGORE GARDEN EXTN BLOCK C,,TAGORE GARDEN EXTENSION,, RAGHUBIR NAGAR | 480
20 | 02/07/2018 | PLM | 08:31 | 10:19 | 01:48 | HT SYSTEN FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR S.P.G , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : SPG COMPLEX | 283
21 | 02/07/2018 | RKP | 07:52 | 09:34 | 01:41 | HT SYSTEN FAULT | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR COD , HT CONSUMER,:CONSUMER HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : MES,B.I.LINE (HT CONSUMER) | 1
22 | 02/07/2018 | ALN | 17:36 | 18:39 | 01:02 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR G - BLOCK, KALKAJI , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : D BLOCK KALKAJI (GOLE CHAKKAR) | 85
23 | 02/07/2018 | ALN | 17:33 | 18:37 | 01:03 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV A-BLOCK, KALKAJI , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : B BLOCK MEHILA SAMAJ K.KJI | 68
24 | 02/07/2018 | ALN | 17:31 | 18:35 | 01:04 | LT FEEDER | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:GOVIND PURI GALI NO.-5 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : GOVIND PURI GALI NO-5 | 74
25 | 02/07/2018 | PJB | 15:14 | 16:52 | 01:38 | LT FEEDER | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV BOOSTER PUMP PUNJABI BAGH , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : ROAD NO-41(NATHA VATIKA) | 92
26 | 02/07/2018 | PJB | 15:00 | 16:08 | 01:08 | LT FEEDER | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:(A.F.O) EAST PUNJABI BAGH DISTT. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : A.F.O.(COMM.OFF),EAST PJB | 96
27 | 02/07/2018 | HKS | 14:58 | 16:38 | 01:39 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-4, S.J ENCLAVE , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : B-4, SAFDARJUNG ENCLAVE | 82
28 | 02/07/2018 | SVR | 14:13 | 16:25 | 02:11 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : JASOLA VILL | 97
29 | 02/07/2018 | PLM | 12:47 | 14:20 | 01:33 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV NASIRPUR M.C.D SCHOOL , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : SHIVPURI GALI NO.15 | 84
30 | 02/07/2018 | PLM | 12:30 | 14:22 | 01:51 | LT FEEDER | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , DISTRIBUTION TRANSFORMER,LT POLE,:LT SOCKET DAMAGED,FIRE AT SHAKLE POINTS, | RESTORED/ REPAIRED | Part of : PUMP HOUSE SEC-7 | 84
31 | 02/07/2018 | KPR | 12:14 | 14:09 | 01:54 | LT FEEDER | Grid: To Feeder:11kV FDR LAL QUAN , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : GALI NO-5, NAI BASTI, DEVLI | 101
32 | 02/07/2018 | RKP | 10:57 | 12:08 | 01:11 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR VASANT LOK COMM. CENTER , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : HOLY ANGLES HOSPITAL, VASANT LOK | 96
33 | 02/07/2018 | PJB | 16:07 | 17:45 | 01:38 | PLANNED SHUTDOWN | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR J.J CLUSTER SHIVA NAND SCHOOL , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : MADAN PARK BLOCK D,,MANOHAR PARK | 415
34 | 02/07/2018 | PLM | 14:47 | 16:53 | 02:06 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR VINODPURI , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE C & D BLOCK,VIJAY ENCLAVE (MIRZAPUR) | 79
35 | 02/07/2018 | PJB | 14:07 | 15:56 | 01:49 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR A-2 SSTN. , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK A2B | 99
36 | 02/07/2018 | KPR | 13:45 | 15:35 | 01:50 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-1 MADANGIR , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : LSC MADANGIR | 255
37 | 02/07/2018 | ALN | 13:00 | 15:34 | 02:34 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-1, (RMU CHECK POST) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KUAN MOHALLA,TUGLAKABAD | 359
38 | 02/07/2018 | DWK | 12:05 | 13:47 | 01:42 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE SSTN-2 , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART II | 85
39 | 02/07/2018 | SKT | 11:00 | 17:18 | 06:18 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MODI HOSPITAL , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : SAKET BLOCK-H | 328
40 | 02/07/2018 | JKP | 10:07 | 13:19 | 03:12 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV MIG RAJORY GARDEN , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : SUBHASH NAGARBLOCK 4 | 341
41 | 02/07/2018 | NZD | 10:00 | 17:30 | 07:30 | PLANNED SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR G-BLOCK, NDSE-1 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : SOUTH EXTENSION PART I BLOCK G,, KIDWAI NAGAR EAST,, KIDWAI NAGAR EAST BLOCK E | 534
42 | 02/07/2018 | NJF | 09:30 | 12:25 | 02:55 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR DELHI JAL BOARD NO.-1 , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : SHYAM VIHAR,, ROSHAN PURA,, SARVODAYA VIDYALYA,, BAMRAULI* | 392
43 | 02/07/2018 | VKP | 13:39 | 15:11 | 01:32 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR HASTAL VIHAR , HVDS:LOAD SHIFTING FROM HVDS TRANSFORMER | RESTORED/ REPAIRED | Part of : JJ COLONY VIKASPURI,, OM VIHAR,, NAWADA MAJRA | 312
44 | 02/07/2018 | VKJ | 13:02 | 14:41 | 01:38 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , TRANSFORMER:LT CIRCUIT MAINTENANCE | RESTORED/ REPAIRED | Part of : SEC-A POCKET-BandC VASANT KUNJ,, KISHAN GARH GAUSHALA,, SEC-B POCKET-1 VASANT KUNJ | 321
45 | 02/07/2018 | VKJ | 11:37 | 13:08 | 01:31 | EMERGENCY SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR TEMPO STAND ANDHERIA BAGH , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : MEHRAULI,, BRIJWASI COLONY,, DESU COLONY,, KAPAS HERA,, SAMALKA | 341
46 | 02/07/2018 | MNG | 11:10 | 12:27 | 01:16 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR OM VIHAR PHASE-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : OM VIHAR PH-3 | 214
47 | 02/07/2018 |  | 19:30 | 20:35 | 1:05 | EHV TRIPPING | DUE TO PUT OFF STORM | SUPPLY RESTORED | MITRAHON , RTRM HOSPITAL , RMU , PANDWALA OLD CRPF , PGCIL-11, KHERA DABAR , DAULAT PUR , JHURJHALI , GOPAL NAGAR NAVEEN PALACE | 16647
48 | 02/07/2018 |  | 20:34 | 23:20 | 2:46 | EHV TRIPPING | DUE TO B/D FROM MASJID MOTH TO IIT CKT | SUPPLY RESTORED | SIIA NO-5 KATWARIA SARAI , TELEPHONE EXCG , FSI MUNIRKA , IIT MINI CAMPUS , BHARTI SCHOOL NO-2 | 2565
49 | 02/07/2018 |  | 20:41 | 23:20 | 2:39 | EHV TRIPPING | DUE TO B/D FROM TRAUMA CENTER TO IIT | SUPPLY RESTORED | SIIA S/S-4 . PROFESSOR FLAT IIT S/S | 3078
50 | 02/07/2018 |  | 21:17 | 23:20 | 2:03 | EHV TRIPPING | DUE TO B/D FROM MASJID MOTH TO ADCHINI CKT | SUPPLY RESTORED | LADO SARAI , TIKONA PARK , A BLK SHIVALIK , KATWARIA SARAI , MALVIYA NAGAR HOSPITAL | 4745.25

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES