## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 07/07/2018 06:00Hr. To 08/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 07/07/2018 | MDK | 08:00 | 09:20 | 01:19 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV BAKKARWALA VILLAGE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : SHYAM PARK,VEENA ENCLAVE,RAJDHANI PARK,PUNJABI BASTI WEST DISTRICT,GULSHAN PARK,PREM NAGAR, BAPROLA VILLAGE_3, | 776
2 | 07/07/2018 | ALN | 10:00 | 17:04 | 07:04 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK A_1,,OKHLA INDUSTRIAL AREA PH I BLOCK B | 62
3 | 07/07/2018 | MNG | 10:38 | 12:50 | 02:12 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR MINI BUS STAND , TRANSFORMER:LT CIRCUIT MAINTENANCE | RESTORED/ REPAIRED | Part of : NAWADA MAJRA,TAJPUR PAHARI,MOHAN GARDEN, | 469
4 | 07/07/2018 | SVR | 11:00 | 14:18 | 03:18 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11 kV FDR P BLOCK NAFFEZ ROAD , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : P BLOCK NAFEEZ ROAD | 510
5 | 07/07/2018 | RKP | 11:00 | 13:35 | 02:35 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, VASANT ENCLAVE FDR-1 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : ,VASANT ENCLAVE | 438
6 | 07/07/2018 | SKT | 11:00 | 16:52 | 05:52 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR PTS COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : NAVJIVAN VIHAR, PUSHP VIHAR | 632
7 | 07/07/2018 | SKT | 11:00 | 13:31 | 02:31 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVPRIYA APPAREMENT , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BEGAMPUR VILLAGE, | 468
8 | 07/07/2018 | TGN | 11:00 | 14:52 | 03:52 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 320-MIG FLATS , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : ,VIKASPURI EXTENSION | 519
9 | 07/07/2018 | JKP | 11:27 | 16:25 | 04:58 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : BLOCK B MAYAPURI,MAYAPURI INDUSTRIAL AREA PHASE I, | 64
10 | 07/07/2018 | VKP | 11:55 | 13:29 | 01:34 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV SHIV VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : SHIV VIHAR,,PANCHSHIL ENCLAVE,DEEP ENCLAVE, | 588
11 | 07/07/2018 | VKP | 12:07 | 15:45 | 03:38 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : RAJAN VIHAR,VIJAY VIHAR,PANCHSHIL ENCLAVE,SHIV VIHAR, JJ COLONY | 585
12 | 07/07/2018 | VKJ | 12:07 | 16:21 | 04:14 | PLANNED SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,MAHIPAL PUR VILLAGE,IGI AIRPORT_2,MAHIPAL PUR EXTN.,BLOCK A MAHIPAL PUR EXTN.IGI AIRPORT | 462
13 | 07/07/2018 | TGN | 12:07 | 16:04 | 03:57 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR RZ-BLOCK, VISHNU GDN , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : ,KHYALA_2 | 537
14 | 07/07/2018 | VKJ | 12:07 | 13:09 | 01:02 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , RMU:FIXING THE COVER | RESTORED/ REPAIRED | Part of : FARM HOUSE VASANT KUNJ_1, | 102
15 | 07/07/2018 | PJB | 12:30 | 15:35 | 03:05 | EMERGENCY SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV PUNJABI BAGH COMPLENT CENTER FEEDER NO:1 , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : ,PUNJABI BAGH WEST | 354
16 | 07/07/2018 | PLM | 14:07 | 15:54 | 01:47 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV NASIRPUR M.C.D SCHOOL , TRANSFORMER:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : ,SAGARPUR WEST,SHIVPURI | 238
17 | 07/07/2018 | SVR | 14:25 | 15:53 | 01:28 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR JAITPUR O/H , TRANSFORMER:REMOVAL OF MOBILE TRANSFORMER & REPLACEMENT OF NEW TRANSFORMER | RESTORED/ REPAIRED | Part of : JAITPUR,SAURAV VIHAR | 458
18 | 07/07/2018 | UMN | 14:25 | 16:12 | 01:47 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR R & S BLOCK CHANAKYA PLACE , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : BINDAPUR,,MAHAVIR ENCLAVE PART III | 538
19 | 07/07/2018 | PLM | 15:04 | 16:41 | 01:36 | LT FEEDER | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR SAGARPUR MAIN , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : ,SAGARPUR MAIN,SAGARPUR MAIN RZ | 139
20 | 07/07/2018 | DWK | 15:20 | 16:26 | 01:06 | HT SYSTEM FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR P.P SECTOR-17 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SEC-17 PKT-A SARVAHIT APT SS-3 I/D, SEC-17 PKT-B3 PLOTTED AREA NR CSCI | 604
21 | 07/07/2018 | MNG | 15:42 | 17:08 | 01:26 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , 11KV FEEDER:ATTENDING WEAK POINTS/HOT SPOT | RESTORED/ REPAIRED | Part of : OM VIHAR PHASE V,VISHWAS PARK_1,UTTAM NAGAR,MOHAN GARDEN, | 498
22 | 07/07/2018 | MNG | 15:44 | 17:08 | 01:24 | LT FEEDER | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : ,OM VIHAR PHASE V,VISHWAS PARK_1,VIKAS NAGAR | 169
23 | 07/07/2018 | SKT | 16:06 | 17:07 | 01:01 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:1kV FDR N.B.C.C , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH II BLOCK L,SEKH SARAI PHASE II,CHIRAGH DELHI,SOUTH EXTENSION PART II BLOCK B,FATEHPUR BERI VILLAGE,BHATI KHURD VILLAGE,ASOLA VILLAGE,FATEHPUR BERI,ASOLA,MANGLAPURI,SULTAN PUR VILLAGE,AYA NAGAR VILLAGE_1,SAKET, | 532
24 | 07/07/2018 | NGL | 16:15 | 17:17 | 01:02 | HVDS CABLE & OTHER SYSTEM | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NAGAR NO.-1 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : H- Block DSIDC | 461
25 | 07/07/2018 | ALN | 16:28 | 18:08 | 01:40 | HT SYSTEM FAULT | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR DTC WORK SHOP , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : DTC WORKSHOP, OKH PH-1(HTC) | 1
26 | 07/07/2018 | VKJ | 16:32 | 17:43 | 01:11 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : MEHRAULI,LAKHI NATH KUTI, RAJOKRI, | 430
27 | 07/07/2018 | PLM | 17:13 | 18:33 | 01:19 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPEHERIAL-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART I,,DWARKA SECTOR 1,DWARKA SEC.1 PKT2,DWARKA SEC.1 PKT3 | 610
28 | 07/07/2018 | VKJ | 17:15 | 18:43 | 01:28 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR CENTAUR HOTEL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : HARI KUNJ,BLOCK L,MILAKPUR KOHI RANGPURI,MAHIPAL PUR EXTN.,MAHIPAL PUR, | 323
29 | 07/07/2018 | VKP | 17:45 | 18:56 | 01:10 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11KV UJJWAL APPARTMENT , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : SARVODAYA ENCLAVE BLOCK C,VIKASPURI BLOCK AG1_1,VIKASPURI BLOCK AG2_1,VIKASPURI BLOCK DG1,VIKASPURI BLOCK D,SHANKAR GARDEN_1,VIKASPURI BLOCK H,VIKASPURI BLOCK GG2,KESHOPUR,VIKAS PURI, | 738
30 | 07/07/2018 | SVR | 18:51 | 20:17 | 01:26 | HT SYSTEM FAULT | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR GYAN MANDIR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : JANAK PARK BLOCK CD,SAURAV VIHAR,GAUTAM PURI AWAS,SARITA VIHAR, | 689
31 | 07/07/2018 | SKT | 21:09 | 23:02 | 01:52 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR A-BLOCK SHIVALIK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : ,SHIVALIK COLONY_1 | 36
32 | 07/07/2018 | KPR | 23:20 | 00:26 | 01:05 | HVDS CABLE & OTHER SYSTEM | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK L,DEOLI,PASCHIM VIHAR BLOCK GH6,DAKSHINPURI EXTENSION_2,DAKSHINPURI_1,JAWAHAR PARK_1,DR AMBEDKAR NAGAR,KHANPUR,KHANPUR,SANGAM VIHAR, | 708
33 | 08/07/2018 | KPR | 00:40 | 01:51 | 01:10 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK L,DEOLI,PASCHIM VIHAR BLOCK GH6,DAKSHINPURI EXTENSION_2,DAKSHINPURI_1,JAWAHAR PARK_1,DR AMBEDKAR NAGAR,KHANPUR,KHANPUR,SANGAM VIHAR, | 708
34 | 08/07/2018 | SKT | 01:22 | 02:46 | 01:24 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR CHIRAG DELHI KIOSK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : ,CHIRAG DELHI_2 | 29
35 | 08/07/2018 | SKT | 02:09 | 03:17 | 01:07 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR P-BLOCK MALVIYA NAGAR SSTN. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH I PKT A,,SEKH SARAI PHASE I | 39
36 | 08/07/2018 | SKT | 05:55 | 06:55 | 00:59 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR IGNOU S/S NO.-5+NBCC PLAZA , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : SOUTH EXTENSION PART II BLOCK R,FREEDOM FIGHTERS VIHAR,,FREEDOM FIGHTERS VIHAR,VIJAY MANDAL ENCLAVE,SARVAPRIYA VIHAR,SAKET BLOCK D,PARYAVARAN COMPLEX | 689