## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 09/07/2018 06:00Hr. To 10/07/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 10/07/2018 | DWK | 03:21 | 04:39 | 01:18 | HT SYSTEN FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAND VIHAR , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE ,, DWARKA,SQUARTER SETTLEMENT,TRANSIT CAMP,, PATEL GARDEN,SECTOR 16A,, SHIVANI ENCLAVE,KILOKRI VILLAGE | 513
2 | 10/07/2018 | TGN | 01:06 | 02:41 | 01:35 | HT SYSTEN FAULT | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR A-BLOCK S/N TAGORE GARDEN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TAGORE GARDEN EXTN BLOCK EA,, VISHAL ENCLAVE | 469
3 | 10/07/2018 | UMN | 00:15 | 01:24 | 01:08 | HT SYSTEN FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV MILAP NAGAR (VIKAS PURI) , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : 18 PANEL BOARD,, MILAP NAGAR | 473
4 | 09/07/2018 | DWK | 23:17 | 00:31 | 01:14 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR T-EXTN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : VISHWAS PARK,, JAIN COLONY,, OM VIHAR PHASE V,, BHARAT NAGAR BLOCK D,, NANAK PURA- JANAKPURI,, PAPAN KALAN-MATIYALA VILLAGE | 450
5 | 09/07/2018 | PLM | 22:22 | 23:50 | 01:27 | HT SYSTEN FAULT | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR F-BLOCK SAGARPUR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : VASHISHT PARK,, MOHAN NAGAR,, SAGARPUR MAIN | 311
6 | 09/07/2018 | DWK | 19:44 | 21:03 | 01:19 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : JAIN COLONY,, SAHYOG VIHAR,, JAIN COLONY,, PAPAN KALAN,, SUBHASH PARK,, PARAM PURI,, RAJA PARK MADHU VIHAR,, NANHEY PARK | 358
7 | 09/07/2018 | TGN | 19:25 | 20:32 | 01:07 | HT SYSTEN FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 224-SFS T.GDN , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : TILAK NAGAR ,, TILAK VIHAR,, VIKASPURI EXTENSION | 316
8 | 09/07/2018 | KPR | 17:18 | 18:59 | 01:40 | HVDS CABLE & OTHER SYSTEM | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR F-15 (HAMDARD D.P PUL PRAHALADPUR) , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : VISHWAKARMA COLONY,, PULPEHLADPUR | 449
9 | 09/07/2018 | MDK | 17:09 | 18:37 | 01:27 | HT SYSTEN FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR P.V.C MARKET-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : PVC MARKET TIKRI,, TIKRI KALAN VILLAGE | 374
10 | 09/07/2018 | TGN | 16:06 | 17:15 | 01:08 | HT SYSTEN FAULT | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR S-BLOCK VISHNU GARDEN VI WORK CENTER , DISTRIBUTION TRANSFORMER,:ABNORMAL SOUND FROM THE TRANSFORMER, | RESTORED/ REPAIRED | Part of : TAGORE GDN,, RAGHUBIR NAGAR,, GGS HOSPITAL | 441
11 | 09/07/2018 | NHP | 15:10 | 16:37 | 01:26 | HT SYSTEN FAULT | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR Y-POKET OKHLA PHASE-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : AMRITPURI (GARHI),, EAST OF KAILASH,, OKHLA INDUSTRIAL AREA PH II BLOCK Y,, SANJAY COLONY,, SHYAM NAGAR,, HARKESH NAGAR | 451
12 | 09/07/2018 | NJF | 15:08 | 16:32 | 01:23 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR 810-DDA FLATS SECTOR-26 DWK. (VILLAGE POCHANPUR) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 23,24,26, 28,29,, POCHANPUR | 512
13 | 09/07/2018 | SVR | 14:40 | 16:32 | 01:52 | HT SYSTEN FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 , HT O/H,:EARTH WIRE SNAPPED, | RESTORED/ REPAIRED | Part of : CNG FILLING STN M,ROAD,, B-1/F-8 MCIE,, B-1/E-16 MCIE,, B-1/F-3 MCIE,, B-1/E-28 MCIE,, B-1/H-1 MCIE,, B-1/H-9 MCIE,, B-1/ F-10/12 MCIE | 41
14 | 09/07/2018 | PLM | 07:01 | 08:04 | 01:03 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV MAHAVEER ENCLEVE, D-3 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : RAJ NAGAR EXTENSION,, PALAM,, BLOCK MAHAVIR ENCLAVE -D-1, D3,, | 460
15 | 09/07/2018 | NHP | 06:54 | 08:14 | 01:20 | HT SYSTEN FAULT | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:I.I.I TD FEEDER NO.-1 , HT CONSUMER,:CT MOISTURE/DAMAGED, | RESTORED/ REPAIRED | Part of : G.B PANTH COLLEGE NO.2 ( HT CONSUMER ) ,, IIITD NEAR G.B. PANT STAFF ( HT CONSUMER ) | 215
16 | 09/07/2018 | DWK | 06:48 | 08:39 | 01:50 | HT SYSTEN FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SEC-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,DWARKA SECTOR 2,, DWAKRA SEC.3 PKT16-DDA FLATS | 444
17 | 10/07/2018 | SKT | 05:07 | 06:36 | 01:28 | LT FEEDER | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : MAHAVIR CAMP RAJPUR EXTN | 85
18 | 09/07/2018 | SKT | 20:25 | 21:46 | 01:21 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR C-BLOCK SHIVALIK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : C BLOCK SHIVALIK | 64
19 | 09/07/2018 | SKT | 19:58 | 21:10 | 01:11 | LT FEEDER | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-2 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : NANDA HOSPITAL CHHATARPUR EXT. | 69
20 | 09/07/2018 | MNG | 17:18 | 18:51 | 01:33 | LT FEEDER | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DELHI JUD. NO.-2, SECTOR-14 + 11kV FDRN SAINIK ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : Q-BLK MOHAN GARDEN-1 | 76
21 | 09/07/2018 | VKJ | 17:09 | 18:45 | 01:36 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR HINDUSTAN PETROLIUM , LT O/H CABLE,LT POLE,:CURRENT LEAKAGE,CURRENT LEAKAGE, | RESTORED/ REPAIRED | Part of : KAPASHERA VILLAGE NEAR OBERIO ,, BRIJWASI COLONY | 71
22 | 09/07/2018 | PJB | 17:07 | 18:47 | 01:39 | LT FEEDER | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR TULSI RAM DHARAMSALA , LT O/H CONDUCTOR,:JUMPER BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : WINGS, NJF ROAD,PJB | 84
23 | 09/07/2018 | KPR | 14:48 | 16:00 | 01:11 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR TUGLAKABAD INST. AREA , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : DUGGAL COLONY | 82
24 | 09/07/2018 | SKT | 13:14 | 14:32 | 01:18 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR CHIRAG DELHI KIOSK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : CHIRAG DEHLI KIOSK | 86
25 | 09/07/2018 | SKT | 11:29 | 12:43 | 01:14 | LT FEEDER | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR O/G MAX DEVIKA DEVI HOSPITAL , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 253 HAUZ RANI NEAR DJB PUMP | 89
26 | 09/07/2018 | ALN | 10:35 | 11:37 | 01:02 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-3 OKHLA PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA PH- 1 | 49
27 | 09/07/2018 | NJF | 16:07 | 17:35 | 01:28 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR ARJUN PARK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : NANGLI SSANKROWATI | 237
28 | 09/07/2018 | VKJ | 14:07 | 00:00 | 09:53 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : MEHRAULI,LAKHI NATH KUTI,, | 243
29 | 09/07/2018 | PLM | 14:07 | 16:32 | 02:25 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV NASIRPUR M.C.D SCHOOL , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : SHIVPURI GALI NO.15 | 287
30 | 09/07/2018 | RKP | 14:00 | 15:15 | 01:15 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-9 R.K PURAM , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : R K PURAM SECTOR 9, R K PURAM SECTOR 5 | 319
31 | 09/07/2018 | NGL | 12:45 | 16:38 | 03:53 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR FEEDER-1 (BHERA ENCLAVE) , LT CIRCUIT:TO ATTEND FAULT IN CIRCUIT | RESTORED/ REPAIRED | Part of : BHAIRA ENCLAVE | 87
32 | 09/07/2018 | PLM | 12:37 | 15:15 | 02:38 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV D.D.A OFFICE MANGLAPURI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : MANGLAPURI PART I&II | 229
33 | 09/07/2018 | HKS | 12:30 | 14:12 | 01:42 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR 40-SAHPUR JAT , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SHAHAPUR JAT | 320
34 | 09/07/2018 | NJF | 11:07 | 14:08 | 03:01 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PUMPING FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : PREM NAGAR,, ROSHAN GARDEN,, NAJAFGARH VILLAGE | 385
35 | 09/07/2018 | RKP | 11:00 | 14:56 | 03:56 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2, VASANT ENCLAVE , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : 288 JANTA FLATS, VASANT VIHAR | 73
36 | 09/07/2018 | NHP | 11:00 | 12:36 | 01:36 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR G-BLOCK EAST OF KAILASH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KAILASH HILL | 79
37 | 09/07/2018 | PJB | 10:47 | 12:36 | 01:49 | PLANNED SHUTDOWN | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR COMMUNITY CENTER KARAMPURA , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : E-BLOCK, KARAMPURA,, B-BLOCK KARAMPURA | 182
38 | 09/07/2018 | NJF | 10:07 | 16:43 | 06:36 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR GOYALA SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DINDARPUR,, SHYAM VIHAR COLONY | 372
39 | 09/07/2018 | MNG | 17:15 | 18:52 | 01:36 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR NAWADA , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : MOHAN GARDEN BLOCK A,, UTTAM NAGAR,, MANSA RAM PARK BLOCK A,, OM VIHAR PH-3 | 298
40 | 09/07/2018 | VKJ | 13:51 | 15:12 | 01:20 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER NO.-1 , 11KV FEEDER:CONNECTION/DISCONNETION OF HT/LT CABLES | RESTORED/ REPAIRED | Part of : ARMY AREA SHANKAR VIHAR | 211
41 | 09/07/2018 | NZD | 12:27 | 16:38 | 04:10 | EMERGENCY SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11 kV FDR ASHRAM CHOWK VIA JEEVAN NAGAR , TRANSFORMER:BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : HARI NAGAR ASHRAM | 315
42 | 09/07/2018 | UMN | 10:19 | 11:53 | 01:33 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR S/S. NO-5 , LT CIRCUIT:LAYING OF NEW LTAB | RESTORED/ REPAIRED | Part of : BINDAPUR DDA | 71
43 | 2018-07-09 |  | 19:34 | 20:38 | 1:04 | EHV TRIPPING | DUE TO BD FROM A-4 PASCHIM VIHAR TO 220KV PEERAGARHI | SUPPLY RESTORE | PRAGATI APPART ,HANSRAJ MODEAL SCHOOL,C BLK MULTAN NAGR,PANJABI BAGH POLICE STATION,ADARSH BHAWAN | 11029

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES