## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 12/07/2018 06:00Hr. To 13/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 12/07/2018 | NGL | 07:17 | 08:30 | 01:12 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN.NO-3 UDYOG NGR(OLD) , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : UDYOG NAGAR_2, | 397
2 | 12/07/2018 | JKP | 08:59 | 10:25 | 01:26 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV TIKONA PARK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ASHOK NAGAR_1,,ASHOK NAGAR BLOCK 36,58 | 498
3 | 12/07/2018 | NGL | 09:05 | 10:47 | 01:42 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : NARESH PARK EXTN., | 451
4 | 12/07/2018 | NZD | 09:50 | 11:02 | 01:11 | HT SYSTEM FAULT | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR MOOLCHAND BOOSTER PUMP , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : DEFENCE COLONY BLOCK D,DEFENCE COLONY BLOCK A_2,DEFENCE COLONY,KIDWAI NAGAR EAST BLOCK E, | 364
5 | 12/07/2018 | VKJ | 09:55 | 15:46 | 05:50 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : BIJAWASAN,PALAM FARMS_1, | 52
6 | 12/07/2018 | HKS | 10:00 | 14:24 | 04:24 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR NITI BAGH , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : UDAY PARK | 129
7 | 12/07/2018 | NJF | 10:05 | 11:10 | 01:04 | HVDS CABLE & OTHER SYSTEM | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DMRC STAFF QUARTERS , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : RAVINDRA FARM OPP. RATHI ENCL, DJB GRID POLE MOUNT, METRO RESIDENIAL QTRS S/S-2, METRO RESIDENIAL QTRS S/S-1 | 724
8 | 12/07/2018 | DWK | 10:36 | 15:27 | 04:51 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:MANSHA RAM PARK , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : MANSA RAM PARK BLOCK A,MANSA RAM PARK_1, | 169
9 | 12/07/2018 | RKP | 10:57 | 12:26 | 01:28 | LT FEEDER | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR VENKTESHWAR COLLEGE , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : BLOCK G NANAKPURA,NANAK PURA | 52
10 | 12/07/2018 | NJF | 11:00 | 14:50 | 03:50 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , HT INTERMEDIATE FEEDER:REPLACEMENT/ REPAIR OF RMU | RESTORED/ REPAIRED | Part of : RAGHUPUR,NANAK HERI_1,NANAK HERI_2, PAPRAWAT_1,SHIKARPUR,JHATIKARA_1,PANDWALA KALAN VILLAGE,PINDWALAN KHURD_2,KHAIRA_2 | 285
11 | 12/07/2018 | PLM | 11:07 | 16:53 | 05:46 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11kV FDR SITAPURI HARIJAN BASTI , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE (MIRZAPUR), RAJ NAGAR EXTENSION_1, | 309
12 | 12/07/2018 | PLM | 11:10 | 12:29 | 01:18 | LT FEEDER | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11kV FDR SITAPURI HARIJAN BASTI , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE (MIRZAPUR), | 239
13 | 12/07/2018 | JFR | 11:23 | 12:37 | 01:14 | LT FEEDER | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV CRPF FEEDER , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : GOPAL NAGAR P BLOCK,GOPAL NAGAR_2, | 67
14 | 12/07/2018 | KPR | 11:33 | 14:06 | 02:33 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , RMU:TO CHECK PROTECTION SETTING | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK H,SANGAM VIHAR BLOCK G-2 | 536
15 | 12/07/2018 | PJB | 11:46 | 13:33 | 01:46 | HT SYSTEM FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-6 PASCHIM VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : LAJPAT NAGAR PART III BLOCK E,SHIVA ENCLAVE BLOCK Z,PASCHIM VIHAR BLOCK B4,PASCHIM VIHAR BLOCK A5B,AVTAR ENCLAVE,PASCHIM VIHAR BLOCK A4,PASCHIM VIHAR BLOCK A3,PASCHIM VIHAR BLOCK A6,SHIVA ENCLAVE,PASCHIM VIHAR,PASCHIMPURI,PASCHIM VIHAR, | 628
16 | 12/07/2018 | SVR | 11:54 | 13:29 | 01:35 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MEETHAPUR, | 171
17 | 12/07/2018 | VKJ | 12:07 | 17:25 | 05:18 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MEHRAULI,GANDHI COLONY, | 324
18 | 12/07/2018 | NGL | 12:10 | 13:51 | 01:41 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV FDR GRAMSABHA NILOTHI , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : GRAM SABHA COLONY,,NILOTHI_1 | 310
19 | 12/07/2018 | MNG | 12:13 | 13:21 | 01:08 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11 kV FDR C&D BLOCK MOHAN GARDEN , LT CIRCUIT:REPAIR/REPLACEMENT OF LT AB | RESTORED/ REPAIRED | Part of : MOHAN GARDEN BLOCK A | 73
20 | 12/07/2018 | VKJ | 12:30 | 14:19 | 01:49 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA U/G , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KAPAS HERA, | 605
21 | 12/07/2018 | HKS | 12:31 | 14:16 | 01:44 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-7, S.J ENCLAVE , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : BLOCK B6, S.D.A | 41
22 | 12/07/2018 | ALN | 12:33 | 13:54 | 01:21 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-1, (RMU CHECK POST) , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TUGHLAKABAD FORT (IN RUINS) | 39
23 | 12/07/2018 | SVR | 12:36 | 14:17 | 01:40 | HT SYSTEM FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH, | 634
24 | 12/07/2018 | JKP | 12:40 | 17:14 | 04:34 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV MIG RAJURI GARDEN , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : DELHI MILK SCHEME,DELHI MILK SCHEME COLONY, RAJOURI GARDENBLOCK W | 602
25 | 12/07/2018 | VKJ | 12:43 | 13:58 | 01:15 | LT FEEDER | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR CENTAUR HOTEL , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : MILAKPUR KOHI RANGPURI,BLOCK L, | 46
26 | 12/07/2018 | JKP | 12:50 | 15:23 | 02:33 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV D.C-2 S/S HARI NAGAR , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : HARI ENCLAVE, PREM NAGAR, NANAK PURA_2, | 53
27 | 12/07/2018 | ALN | 12:55 | 13:57 | 01:01 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-7 OKHLA PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK A_1, | 26
28 | 12/07/2018 | SKT | 12:57 | 14:00 | 01:03 | HT SYSTEM FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR CHATTARPUR NO-2 , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : CHHATARPUR EXTENSION,CHHATARPUR VILLAGE_2 | 468
29 | 12/07/2018 | ALN | 12:58 | 13:59 | 01:01 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-9 VIA B-133 OKHLA PH.-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK B,BLOCK D, | 28
30 | 12/07/2018 | ALN | 13:03 | 14:25 | 01:21 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-1 F-BLOCK OKHLA PH.-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK F, | 16
31 | 12/07/2018 | PJB | 13:07 | 16:37 | 03:30 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR B-3 PASCHIM VIHAR , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK BG7, PUNJABI BAGH WEST | 398
32 | 12/07/2018 | TGN | 13:24 | 14:45 | 01:20 | LT FEEDER | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR I-BLOCK TILAK NAGAR , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TILAK NAGAR BLOCK 1_2, | 47
33 | 12/07/2018 | KPR | 13:27 | 14:29 | 01:02 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DDA GALI NO-20 MADANGIRI , LT U/G CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : MADANGIR CAMP | 68
34 | 12/07/2018 | NZD | 13:34 | 15:02 | 01:27 | HT SYSTEM FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:BHAIRO ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ITO PARKING,INA COLONY,APPU GHAR | 183
35 | 12/07/2018 | JFR | 14:00 | 17:34 | 03:34 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JHUL JHULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : GALIBPUR_2,SAMASPUR KHALSA_2,JHULJHULI_1,UJWA_1,SAMASPUR KHALSA_1,JHULJHULI_3,DHANSA_1,JHULJHULI_2,DARYAPUR KHURD, | 736
36 | 12/07/2018 | RKP | 14:18 | 16:05 | 01:47 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR B-BLOCK VASANT VIHAR FDR.-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : VASANT VIHAR BLOCK B_1 | 43
37 | 12/07/2018 | PLM | 14:31 | 15:36 | 01:05 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR DWARKA PURI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : COMMUNITY CENTRE, DWARKA PURI S/S, TAMIL ENCL S/S | 574
38 | 12/07/2018 | PLM | 15:21 | 17:01 | 01:39 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR (OLD) G-BLOCK RAJ NAGAR , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : RAJ NAGAR EXTENSION_1, | 59
39 | 12/07/2018 | VKJ | 17:19 | 23:21 | 06:01 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MEHRAULI,GANDHI COLONY, | 274
40 | 12/07/2018 | DWK | 20:00 | 21:11 | 01:10 | HT SYSTEM FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR P.P SECTOR-17 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : NO.1 PLOTTED AREA SEC-17 NR SEC-17A, SEC-17 PKT-A SARVAHIT APT SS-2 | 612
41 | 12/07/2018 | VKJ | 20:16 | 21:36 | 01:20 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : PALAM FARMS_2 | 539
42 | 12/07/2018 | TGN | 20:24 | 21:45 | 01:21 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV R-G BLOCK RAGHUBIR NAGAR , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : NAR SINGH GARDEN BLOCK B,NAR SINGH GARDEN_3,,NAR SINGH GARDEN BLOCK A,RAGHUBIR NAGAR_1,RAGHUBIR NAGAR BLOCK P | 534
43 | 12/07/2018 | VKJ | 22:41 | 00:03 | 01:21 | HT SYSTEM FAULT | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11 KV FDR PALAM MEHRAM NAGAR_VKJ , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : IGI AIRPORT_2, | 84
44 | 13/07/2018 | SKT | 00:53 | 02:09 | 01:16 | HT SYSTEM FAULT | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : PUSHP VIHAR SECTOR 3,PUSHP VIHAR SECTOR 4,SAKET PLACE,PUSHP VIHAR SECTOR 7 | 514
45 | 13/07/2018 | TGN | 01:30 | 02:41 | 01:10 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV R-G BLOCK RAGHUBIR NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : HARI KUNJ,NAR SINGH GARDEN BLOCK A,NAR SINGH GARDEN_1,D.D.A COLONY,VISHNU GARDEN,RAGHUBIR NAGAR_1,TAGORE GARDEN,NAR SINGH GARDEN_3,VISHNU GARDEN,R K PURAM SECTOR 3, | 534
46 | 13/07/2018 | VKJ | 02:34 | 03:56 | 01:22 | LT FEEDER | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR CENTAUR HOTEL , SERVICE LINE,:FIRE IN DB, | RESTORED/ REPAIRED | Part of : MILAKPUR KOHI RANGPURI,BLOCK L, MILAKPUR KOHI RANGPURI, | 37
47 | 13/07/2018 | VKP | 05:44 | 6:52 | 1:08 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR KALI BASTI , : TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : NAWADA MAJRA,SQUARTER SETTLEMENT,,SECTOR 16A_1,ALAKNANDA_1,HASTSAL,JJ COLONY VIKASPURI_1,GUMAN HERA_1 | 764