## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 14/07/2018 06:00Hr. To 15/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 14/07/2018 | PJB | 06:50 | 08:17 | 01:27 | LT FEEDER | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV B-G-3 PRAGATI APPT. PASCHIM VIHAR , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : PASCHIMPURI | 46
2 | 14/07/2018 | DWK | 06:55 | 08:36 | 01:40 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR G AND S RAJAPURI , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SOUTH EXTENSION PART II BLOCK E, | 596
3 | 14/07/2018 | NZD | 07:47 | 10:43 | 02:55 | EMERGENCY SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11 kV FDR GENERATION COLONY , TRANSFORMER:MAKING TRENCH IN S/STN | RESTORED/ REPAIRED | Part of : ,HARI NAGAR ASHRAM | 375
4 | 14/07/2018 | MDK | 08:06 | 09:13 | 01:07 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , RMU,:RMU/HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : JANAK PARK BLOCK WZ,RATAN BAGH_1,PREM NAGAR, | 589
5 | 14/07/2018 | DWK | 09:35 | 10:48 | 01:12 | HT SYSTEM FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , RMU,:RMU/HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : DWARKA,HARI VIHAR,KAKROLA_1,BHARAT VIHAR,HARI VIHAR_1,SHIVANI ENCLAVE | 689
6 | 14/07/2018 | NJF | 10:00 | 12:14 | 02:14 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DMRC STAFF QUARTERS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,DHARAM PURA_1 | 324
7 | 14/07/2018 | ALN | 10:18 | 12:09 | 01:51 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-1, (RMU CHECK POST) , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,TUGHLAKABAD FORT | 42
8 | 14/07/2018 | VKP | 10:19 | 14:01 | 03:42 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR HASTAL SOCIETY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : OM VIHAR, | 667
9 | 14/07/2018 | ALN | 10:21 | 12:13 | 01:52 | LT FEEDER | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/S NO.-12, PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,OKHLA INDUSTRIAL AREA PH I BLOCK B | 22
10 | 14/07/2018 | NJF | 10:29 | 11:48 | 01:19 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR B.S.F CHAWLA CAMP , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,CHHAWLA VILLAGE,DWARKA SECTOR 27,BSF CAMP CHHAWLA,DESU LAND,DWARKA SECTOR 29_2,DWARKA SECTOR 28 | 611
11 | 14/07/2018 | VKP | 10:30 | 14:02 | 03:32 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR KALI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : JJ COLONY VIKASPURI_1,ALAKNANDA_1,HASTSAL, | 648
12 | 14/07/2018 | MDK | 10:41 | 11:47 | 01:05 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR VARDHMAN VATIKA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,AMAR COLONY_2,LAXMI PARK COLONY,MUNDKA VILLAGE_2,TIKRI KALAN VILLAGE_2,SAHIB PURA | 637
13 | 14/07/2018 | MNG | 10:57 | 12:43 | 01:46 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR N.S.I.T NO.-2 (D.K.ROAD) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,OM VIHAR PHASE V | 163
14 | 14/07/2018 | SVR | 11:00 | 15:11 | 04:11 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,MADANPUR KHADAR PUNARVAS COLONY | 624
15 | 14/07/2018 | SKT | 11:00 | 14:20 | 03:20 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR S.T.P MEHRAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MEHRAULI BADARPUR ROAD,DR AMBEDKAR COLONY, | 548
16 | 14/07/2018 | KPR | 11:00 | 13:07 | 02:07 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR I_BLOCK LAL KAUN , HT INTERMEDIATE FEEDER:REPLACEMENT/ REPAIR OF RMU | RESTORED/ REPAIRED | Part of : LAL KUAN_2, | 524
17 | 14/07/2018 | PLM | 11:00 | 17:04 | 06:04 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR DABRI NO 2 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : ,VAISHALI,RAJOURI GARDEN BLOCK M_1,SAGARPUR WEST,BLOCK RZJ | 539
18 | 14/07/2018 | RKP | 11:00 | 15:25 | 04:25 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR MOHAMEDPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MOHAMMAD PUR_1, | 512
19 | 14/07/2018 | TGN | 11:00 | 12:39 | 01:39 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR CHAND NAGAR (KHADDE WALA) , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : ,SHAM NAGAR | 302
20 | 14/07/2018 | KPR | 11:32 | 12:50 | 1:18 | EHV SHUTDOWN | DUE TO ESD FROM BATRA TO E-1 MADANGIR | RESTORED/ REPAIRED | E-1 MADANGIR | 702.1
21 | 14/07/2018 | JKP | 11:52 | 13:29 | 01:37 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-7A, D.C JANAKPURI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JANAKPURI DISTRICT CENTRE, | 497
22 | 14/07/2018 | SKT | 12:00 | 14:22 | 02:22 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SATBARI VILLAGE_1,RAJPUR COLONY_2,,RAJPUR KHURD | 532
23 | 14/07/2018 | MDK | 12:07 | 16:14 | 04:07 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR DDA FLAT LOKNAYAK PURAM , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : BAKKAR WALA VILLAGE_3,BAKKAR WALA VILLAGE_1,BAPROLA VILLAGE_3 | 384
24 | 14/07/2018 | UMN | 12:45 | 14:34 | 01:49 | LT FEEDER | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR RAM DUTT ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : HASTSAL,MILAP NAGAR_1 | 142
25 | 14/07/2018 | PLM | 13:00 | 14:32 | 01:32 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV FDR PALAM CHOWK , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : ,PALAM VILLAGE_1 | 107
26 | 14/07/2018 | NHP | 13:10 | 14:47 | 01:37 | EMERGENCY SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR KAILASH COLONY DISPENSARY , LT CIRCUIT:JUMPER REPLACEMENT | RESTORED/ REPAIRED | Part of : ,KAILASH COLONY | 28
27 | 14/07/2018 | VKJ | 13:48 | 15:33 | 01:44 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11 KV FDR NTRO CKT.-1 (OPP. GHITORANI BUS STAND) , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : ANDHERIA MOR,FARM HOUSE VASANT KUNJ_1,VASANT KUNJ,GHITORNI_1,MEHRAULI, | 542
28 | 14/07/2018 | PJB | 14:07 | 16:00 | 01:53 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR G BLOCK PUSHKAR VIHAR , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : ,STATE BANK NAGAR | 272
29 | 14/07/2018 | VKJ | 14:25 | 16:31 | 02:06 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR CENTAUR HOTEL , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : MILAKPUR KOHI RANGPURI,BLOCK L, | 467
30 | 14/07/2018 | DWK | 15:49 | 16:57 | 01:07 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY SEC-3 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : PAPAN KALAN,MANSA RAM PARK_1,BLOCK D MANSA RAM PARK, | 719
31 | 14/07/2018 | NGL | 16:17 | 17:26 | 01:08 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TP KOTLA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : RANHOLLA,SHAFIPUR RANHOLA VILLAGE_3,SHAFIPUR RANHOLA VILLAGE_1,BAKKAR WALA VILLAGE_2,TILANGPUR KOTLA VILLAGE,CHANDER VIHAR,NILOTHI_1,RISHAL GARDEN | 593
32 | 14/07/2018 | NGL | 16:20 | 17:31 | 01:10 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BAPROLLA , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE_5,TILANGPUR KOTLA VILLAGE,RANHOLLA,SHAFIPUR RANHOLA VILLAGE_3,,NILOTHI_1,ADHYAPAK NAGAR_1,PRATAP VIHAR | 578
33 | 14/07/2018 | DWK | 16:28 | 18:14 | 01:45 | HVDS CABLE & OTHER SYSTEM | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR VISHWASH PARK-2 , HVDS,:END BOX DAMAGE, | RESTORED/ REPAIRED | Part of : VISHWAS PARK_1,VISHWAS PARK_5,RAJA PARK MADHU VIHAR,OM VIHAR PHASE V,MAHAVIR ENCLAVE PART II_3,MAHAVIR ENCLAVE II,DWARKA SECTOR 3, | 697
34 | 14/07/2018 | SKT | 16:39 | 17:49 | 01:10 | HT SYSTEM FAULT | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR RPS SAIKH SARAI PHASE-1 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : ,MALVIYA NAGAR BLOCK A,SAVITRI NAGAR_1,SEKH SARAI PHASE I,SHEIKH SARAI PH I PKT A | 524
35 | 14/07/2018 | PLM | 16:41 | 17:50 | 01:08 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MANGLA PURI PHASE-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART I,SAAD NAGAR PART I,SADH NAGAR_1,MANGLAPURI PART II,MANGLA PURI_2 | 629
36 | 14/07/2018 | HKS | 17:25 | 18:56 | 01:31 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:GREEN PARK EXTN. , LT U/G CABLE,:SOCKET BURNT, | RESTORED/ REPAIRED | Part of : YUSUF SARAI, | 32
37 | 14/07/2018 | TGN | 18:30 | 21:17 | 2:47 | EHV TRIPPING | DUE TO BD FROM PASCHIM VIHAR TO MUKHARJEE PARK T-OFF VHAUKHANDI(O/H) | RESTORED/ REPAIRED | 656 MIG FLATS, RAM NAGAR EXTN., RZ VISHNU GDN, TILAK VIHAR, CHAND NAGAR KHANDEWA, D-BLK RAJ GARH, CHAND NAGAR, WATER TANK TILAK NAGAR, SHYAM NAGAR, AJANTA, GANGA RAM VATIKA | 4027.5
38 | 14/07/2018 | ALN | 21:00 | 22:24 | 01:23 | HT SYSTEM FAULT | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR DESHBANDHU COLLEGE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SOUTH EXTENSION PART I BLOCK B,KALKAJI BLOCK H,KALKAJI BLOCK F,KALKAJI BLOCK E,KALKAJI BLOCK 14,CR PARK PKT 40,KALKAJI,CHITTARANJAN PARK, | 443
39 | 14/07/2018 | NJF | 21:35 | 22:40 | 01:05 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAJAFGARH -1 , 11KV GRID PANEL,:ELECTROCUTION OF EXTERNAL ELEMENTS, | RESTORED/ REPAIRED | Part of : ROSHAN PURA (DHICHAUN KHURD),NAJAFGARH VILLAGE,GURU NAGAR,UGRASEN PARK, | 635
40 | 14/07/2018 | JKP | 21:38 | 23:25 | 1:47 | EHV TRIPPING | DUE TO BD FROM PANKHA ROAD TO 33KV JANAKPURI-1 | RESTORED/ REPAIRED | MILAP NAGAR, NEW KRISHNA PARK, BOOSTER PUMP JKP B2, NANGLI ZALIB, CNG PUMP DC JKP | 5370
41 | 14/07/2018 | JKP | 23:23 | 00:30 | 01:06 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV JYOTI SIKHAR PLOT NO.-8 (NOW RMU) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : JANAKPURI DISTRICT CENTRE, | 457
42 | 15/07/2018 | NGL | 01:50 | 03:00 | 01:10 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BAPROLLA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE_5,TILANGPUR KOTLA VILLAGE,RANHOLLA,SHAFIPUR RANHOLA VILLAGE_3,ADHYAPAK NAGAR_1,PRATAP VIHAR | 512