## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 15/07/2018 06:00Hr. To 16/07/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 15/07/2018 | TGN | 17:48 | 19:18 | 01:30 | HT SYSTEN FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 224-SFS T.GDN , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : BLOCK 13,16,19 TILAK NAGAR,, TILAK VIHAR,, VIKASPURI EXTENSION | 534
2 | 15/07/2018 | DWK | 17:10 | 18:32 | 01:21 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY PH-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : JAIN COLONY,, SAHYOG VIHAR,, PARAM PURI,BLOCK T,, NANHEY PARK,, PAPAN KALAN,, SUBHASH PARK,, SUKH RAM PARK | 478
3 | 15/07/2018 | JKP | 16:13 | 17:18 | 01:05 | HT SYSTEN FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.- 5, D.C JANAKPURI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : (DDA BLDG.) (JAINA TOWER-I) JANAKPURI DISTRICT CENTRE | 388
4 | 15/07/2018 | NJF | 12:56 | 14:21 | 01:25 | HVDS CABLE & OTHER SYSTEM | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR GOYALA SCHOOL , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : SHYAM VIHAR COLONY PHASE-II,, GOYLA KHURD,, DINDARPUR,, GURU NANAK NAGAR | 488
5 | 15/07/2018 | SVR | 12:25 | 14:10 | 01:45 | HT SYSTEN FAULT | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR NEW FRIENDS COLONY S/S NO.-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : NEW FRIENDS COLONY BLOCK C | 437
6 | 15/07/2018 | JKP | 11:40 | 13:01 | 01:21 | HT SYSTEN FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV F-BLOCK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BLOCK A&C MAYAPURI INDUSTRIAL AREA PHASE II | 377
7 | 15/07/2018 | VKJ | 07:10 | 08:30 | 01:19 | HT SYSTEN FAULT | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : RAJOKRI,, GHITORNI,, VASANT KUNJ SECTOR D PKT-3 | 410
8 | 15/07/2018 | NGL | 06:51 | 08:01 | 01:10 | HT SYSTEN FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR FEEDER-1 (BHERA ENCLAVE) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BHAIRA ENCLAVE | 329
9 | 15/07/2018 | RKP | 15:58 | 17:13 | 01:15 | LT FEEDER | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR J.N.U ACADEMEY , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : SECTOR-3, R.K.PURAM | 53
10 | 15/07/2018 | MDK | 12:30 | 15:07 | 02:37 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TIKRI KALAN VILLAGE | 326
11 | 15/07/2018 | NHP | 12:07 | 15:24 | 03:17 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, FEEDER-1 PHASE-2 (VIA B-18/2) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : P-BLOCK OKHLA INDUSTRIAL AREA PH-II | 221
12 | 15/07/2018 | MDK | 11:37 | 13:35 | 01:58 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : MUNDKA VILLAGE | 341
13 | 15/07/2018 | MDK | 11:00 | 12:21 | 01:21 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BABA HARIDAS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : RAJENDRA PARK EXTN. | 170
14 | 15/07/2018 | NHP | 11:00 | 13:16 | 02:16 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BAHAI MANDIR , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : NEHRU PLACE | 213
15 | 16/07/2018 | VKJ | 03:00 | 05:53 | 02:53 | EMERGENCY SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SECTOR-A VASANT KUNJ , TRANSFORMER:STN NORMALISATION WITHOUT REPLACEMENT | RESTORED/ REPAIRED | Part of : SEC-A POCKET-B&C VASANT KUNJ | 76
16 | 15/07/2018 | VKJ | 23:57 | 01:42 | 01:44 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , 11KV FEEDER:REPAIR/REPLACEMENT OF CONDUCTOR | RESTORED/ REPAIRED | Part of : SAMALAKA EXT BLOCK A&B,, BIJAWASAN,, PUSHPANJALI FARMS | 319

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES