## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___02-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-02 | Pitam Pura | 11:26 | 13:27 | 0.084028 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Ran iBagh | 433 | Planned outage
2 | 2018-07-02 | Narela | 12:14 | 15:28 | 0.13472 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Nangli | 454 | Planned outage
3 | 2018-07-02 | Badli | 11:12 | 13:30 | 0.095833 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-16 Rohini | 438 | Planned outage
4 | 2018-07-02 | Badli | 00:09 | 01:28 | 0.054861 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Samaypur | 445 | Interruption due to fault
5 | 2018-07-02 | Badli | 00:28 | 02:00 | 0.063889 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sanjay Gandhi Transport Nagar | 579 | Interruption due to fault
6 | 2018-07-02 | Badli | 03:57 | 05:00 | 0.04375 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Badli | 586 | Interruption due to fault
7 | 2018-07-02 | Shalimar Bagh | 04:52 | 06:05 | 0.050694 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : Mahindra Park | 556 | Interruption due to fault
8 | 2018-07-02 | Badli | 05:47 | 07:08 | 0.05625 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Pansali Colony | 711 | Interruption due to fault
9 | 2018-07-02 | Shalimar Bagh | 05:40 | 0.29167 | 0.055556 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Nagar | 369 | Interruption due to fault
10 | 2018-07-02 | Bawana | 06:18 | 07:20 | 0.043056 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Agar Nagar | 2910 | Interruption due to fault
11 | 2018-07-02 | Badli | 07:21 | 08:31 | 0.048611 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Sec-26 Rohini | 3619 | Interruption due to fault
12 | 2018-07-02 | Narela | 08:25 | 10:22 | 0.08125 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Darshan Vihar | 716 | Interruption due to fault
13 | 2018-07-02 | Shalimar Bagh | 11:54 | 13:04 | 0.048611 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Baba Colony | 480 | Interruption due to fault
14 | 2018-07-02 | Bawana | 12:14 | 13:15 | 0.042361 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : N Blk Sec-2 DSIIDC Bawana | 356 | Interruption due to fault
15 | 2018-07-02 | Narela | 13:23 | 0.60417 | 0.046528 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 482 | Interruption due to fault
16 | 2018-07-02 | Narela | 18:53 | 20:00 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Swatantra Nagar | 1937 | Force majeure due to rain
17 | 2018-07-02 | Narela | 18:58 | 20:58 | 0.083333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ghoga Village | 1849 | Force majeure due to rain
18 | 2018-07-02 | Model Town | 18:36 | 20:00 | 0.058333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Indra Vihar | 1344 | Force majeure due to rain
19 | 2018-07-02 | Shalimar Bagh | 19:28 | 20:55 | 0.060417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Wazirabad Village | 6320 | Force majeure due to rain
20 | 2018-07-02 | Shalimar Bagh | 19:47 | 21:12 | 0.059028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ishu Vihar | 602 | Force majeure due to rain
21 | 2018-07-02 | Narela | 19:53 | 21:14 | 0.05625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ibrahimpur | 626 | Force majeure due to rain
22 | 2018-07-02 | Model Town | 19:40 | 21:09 | 0.061806 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : GTK Industrial Area | 1260 | Force majeure due to rain
23 | 2018-07-02 | Shakti Nagar | 19:45 | 22:25 | 0.11111 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sindhora Kalan | 1393 | Force majeure due to rain
24 | 2018-07-02 | Moti Nagar | 20:01 | 0.90694 | 0.072917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Pandav Nagar | 664 | Force majeure due to rain
25 | 2018-07-02 | Keshav Puram | 19:41 | 21:10 | 0.061806 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : F BLk JJ Colony Ashok Vihar | 577 | Force majeure due to rain
26 | 2018-07-02 | Shalimar Bagh | 20:20 | 0.91667 | 0.069444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sangam Vihar | 1715 | Force majeure due to rain
27 | 2018-07-02 | Civil lines | 20:33 | 0.91667 | 0.060417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Civil Lines | 421 | Force majeure due to rain
28 | 2018-07-02 | Mangol Puri | 21:05 | 22:10 | 0.045139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of :Station Block | 567 | Force majeure due to rain
29 | 2018-07-02 | Shalimar Bagh | 10:37 | 14:46 | 0.17292 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Bhalswa | 4550 | Planned outage
30 | 2018-07-02 | Model Town | 11:11 | 12:28 | 0.053472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Old Bhai Parmanand | 303 | Interruption due to fault
31 | 2018-07-02 | Rohini | 11:18 | 12:27 | 0.047917 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Sec-4 Rohini | 398 | Scheduled system outage
32 | 2018-07-02 | Rohini | 14:47 | 0.69444 | 0.078472 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Sec-5 Rohini | 341 | Scheduled system outage
33 | 2018-07-02 | Bawana | 16:00 | 17:56 | 0.080556 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Karala | 2742 | Interruption due to fault
34 | 2018-07-02 | Bawana | 18:30 | 19:59 | 0.061806 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Kanjhawala | 2275 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51