## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___04-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-04 | Bawana | 10:23 | 15:27 | 0.21111 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Auchandi Village | 917 | Planned outage
2 | 2018-07-04 | Bawana | 11:26 | 13:52 | 0.10139 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Bawana Village | 2142 | Planned outage
3 | 2018-07-04 | Narela | 0.48194 | 16:55 | 0.22292 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Lampur Village | 2834 | Planned outage
4 | 2018-07-04 | Model Town | 0.45972 | 16:10 | 0.21389 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Gujrawala Town | 750 | Planned outage
5 | 2018-07-04 | Badli | 15:39 | 16:55 | 0.052778 | PLANNED SHUTDOWN | For DT Oil Top up | Restored/Repaired | Parts of : Pansali Village | 892 | Planned outage
6 | 2018-07-04 | Badli | 0.34375 | 13:52 | 0.23403 | PLANNED SHUTDOWN | Replacement of Oil Seal & Gaskit of DT | Restored/Repaired | Parts of : Libaspur Village | 934 | Planned outage
7 | 2018-07-04 | Narela | 07:59 | 11:25 | 0.14306 | PLANNED SHUTDOWN | Erection of HT Pole | Restored/Repaired | Parts of : Ghogha Village | 3628 | Planned outage
8 | 2018-07-04 | Mangol Puri | 00:50 | 03:06 | 0.094444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : T Block Sultanpuri | 306 | Force majeure due to sabotage
9 | 2018-07-04 | Shalimar Bagh | 00:54 | 02:22 | 0.061111 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Haiderpur Village | 494 | Interruption due to fault
10 | 2018-07-04 | Narela | 06:36 | 07:50 | 0.051389 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bakhtawarpur Village | 1214 | Interruption due to fault
11 | 2018-07-04 | Rohini | 05:43 | 07:35 | 0.077778 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : Sector-2 Rohini | 532 | Interruption due to fault
12 | 2018-07-04 | Mangol Puri | 09:25 | 11:00 | 0.065972 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Budh Vihar | 1877 | Interruption due to fault
13 | 2018-07-04 | Pitam Pura | 08:24 | 09:40 | 0.052778 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sadhbhavna Appartment | 825 | Interruption due to fault
14 | 2018-07-04 | Narela | 10:43 | 12:00 | 0.053472 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Tikri Village | 1230 | Interruption due to fault
15 | 2018-07-04 | Mangol Puri | 11:44 | 13:00 | 0.052778 | HVDS TRANSFORMER | HT Jumper Sparking | Restored/Repaired | Parts of : C Block Sultanpuri | 528 | Interruption due to fault
16 | 2018-07-04 | Mangol Puri | 13:18 | 14:35 | 0.053472 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Pooth Kalan | 613 | Interruption due to fault
17 | 2018-07-04 | Narela | 12:31 | 14:10 | 0.06875 | HT SYSTEM FAULT | DD Jumper Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 2566 | Interruption due to fault
18 | 2018-07-04 | Bawana | 14:13 | 15:23 | 0.048611 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mubarakpur Village | 4296 | Interruption due to fault
19 | 2018-07-04 | Badli | 15:04 | 16:50 | 0.073611 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Jain Colony | 1831 | Interruption due to fault
20 | 2018-07-04 | Bawana | 16:57 | 18:53 | 0.080556 | DISTRIBUTION TR. | DT Faulty | Restored/Repaired | Parts of : C Block JJ Colony | 1147 | Interruption due to fault
21 | 2018-07-04 | Mangol Puri | 17:18 | 18:30 | 0.05 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Sector-23 Rohini | 674 | Interruption due to fault
22 | 2018-07-04 | Mangol Puri | 20:17 | 21:27 | 0.048611 | HVDS TRANSFORMER | DD Jumper Sparking | Restored/Repaired | Parts of : Rajeev Nagar | 1224 | Interruption due to fault
23 | 2018-07-04 | Shalimar Bagh | 01:03 | 03:24 | 0.097917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : D Block Jahangirpuri | 1886 | Force majeure due to sabotage
24 | 2018-07-04 | Bawana | 10:25 | 12:19 | 0.079167 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Ishwar Colony | 573 | Interruption due to fault
25 | 2018-07-04 | Mangol Puri | 16:31 | 18:05 | 0.065278 | HT SYSTEM FAULT | HT ABC Faulty | Restored/Repaired | Parts of : Sec 20 Rohini | 646 | Interruption due to fault
26 | 2018-07-04 | Moti Nagar | 0.49583 | 0.66667 | 0.17083 | PLANNED SHUTDOWN | LT Bus Bar Replacement | Restored/Repaired | Parts of : Pandav Nagar | 479 | Scheduled system outage
27 | 2018-07-04 | Keshav Puram | 14:07 | 16:07 | 0.083333 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Kanhaiya Nagar | 370 | Scheduled system outage
28 | 2018-07-04 | Bawana | 14:15 | 0.66667 | 0.072917 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Auchandi Village | 346 | Interruption due to fault
29 | 2018-07-04 | Model Town | 15:17 | 16:27 | 0.048611 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Adarsh Nagar | 313 | Interruption due to fault
30 | 2018-07-04 | Model Town | 15:33 | 17:24 | 0.077083 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : A Block Mahendru Enclave | 454 | Interruption due to fault
31 | 2018-07-04 | Mangol Puri | 21:28 | 0.95833 | 0.063889 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Begumpur Village | 340 | Interruption due to fault
32 | 2018-07-04 | Civil Lines | 0.62917 | 0.70833 | 0.079167 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Nehru Vihar | 338 | Interruption due to fault
33 | 2018-07-04 | Bawana | 16:33 | 0.76389 | 0.074306 | LT FEEDER | LT ABC Faulty | Restored/Repaired | Parts of : Sec-4 DSIDC Bawana | 391 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51