## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___05-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-05 | Badli | 14:21 | 17:30 | 3:09 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Samaypur | 1848 | Planned outage
2 | 2018-07-05 | Bawana | 01:25 | 02:40 | 1:15 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Karala | 2910 | Interruption due to fault
3 | 2018-07-05 | Bawana | 03:58 | 05:57 | 1:59 | HT SYSTEM FAULT | Rat Electrocution | Restored/Repaired | Parts of : Ghevra Sawda | 1701 | Interruption due to fault
4 | 2018-07-05 | Bawana | 05:36 | 7:35 | 1:59 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : PoothKhurd | 729 | Interruption due to fault
5 | 2018-07-05 | Shalimar Bagh | 05:59 | 08:05 | 2:06 | DAMAGE BY OTHER AGENCIES | External Object Fell on Line | Restored/Repaired | Parts of : Jahangirabad Village | 6457 | Force majeure due to sabotage
6 | 2018-07-05 | Bawana | 07:16 | 09:12 | 1:56 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Qutubgarh | 2743 | Interruption due to fault
7 | 2018-07-05 | Narela | 05:47 | 07:40 | 1:53 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Khera Kalan | 1227 | Interruption due to fault
8 | 2018-07-05 | Mangolpuri | 11:25 | 14:05 | 2:40 | DAMAGE BY OTHER AGENCIES | External Object Fell on Line | Restored/Repaired | Parts of : Budh Vihar | 1328 | Force majeure due to sabotage
9 | 2018-07-05 | Narela | 11:39 | 13:20 | 1:41 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Khampur Village | 2404 | Interruption due to fault
10 | 2018-07-05 | Civil Lines | 13:28 | 15:15 | 1:47 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Timarpur | 624 | Interruption due to fault
11 | 2018-07-05 | Model Town | 14:19 | 16:12 | 1:53 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Gujranwala Town | 441 | Interruption due to fault
12 | 2018-07-05 | Mangolpuri | 14:01 | 15:49 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Q-Block Sultanpuri | 399 | Interruption due to fault
13 | 2018-07-05 | Keshav Puram | 14:10 | 15:50 | 1:40 | PLANNED SHUTDOWN | Load Balancing | Restored/Repaired | Parts of : Lawrence Road | 370 | Scheduled system maintenance
14 | 2018-07-05 | Mangolpuri | 14:30 | 15:56 | 1:26 | HT SYSTEM FAULT | GO Switch Sparking | Restored/Repaired | Parts of : Mithila Vihar | 2094 | Interruption due to fault
15 | 2018-07-05 | Bawana | 15:42 | 17:10 | 1:28 | HVDS TRANSFORMER | DD Unit Faulty | Restored/Repaired | Parts of : Kanjhawala | 327 | Interruption due to fault
16 | 2018-07-05 | Bawana | 16:03 | 18:20 | 2:17 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Katewara Village | 1298 | Force majeure due to rain and water logging
17 | 2018-07-05 | Narela | 16:15 | 19:15 | 3:00 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Alipur | 793 | Force majeure due to sabotage
18 | 2018-07-05 | Moti Nagar | 15:53 | 19:25 | 3:32 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kirti Nagar | 507 | Force majeure due to rain and water logging
19 | 2018-07-05 | Pitam Pura | 15:53 | 18:05 | 2:12 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sainik Vihar | 774 | Force majeure due to rain and water logging
20 | 2018-07-05 | Bawana | 16:53 | 18:35 | 1:42 | HVDS TRANSFORMER | DD Unit Faulty | Restored/Repaired | Parts of : Jain Nagar | 888 | Interruption due to fault
21 | 2018-07-05 | Model Town | 11:04 | 17:35 | 6:31 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Nirankari Colony | 1457 | Planned outage
22 | 2018-07-05 | Mangolpuri | 17:47 | 19:22 | 1:35 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Y-Block Mangolpuri | 2094 | Force majeure due to sabotage
23 | 2018-07-05 | Narela | 18:27 | 19:37 | 1:10 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Bakhtawarpur | 649 | Interruption due to fault
24 | 2018-07-05 | Mangolpuri | 18:38 | 20:00 | 1:22 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Ramesh Enclave | 9218 | Force majeure due to sabotage
25 | 2018-07-05 | Narela | 18:26 | 19:40 | 1:14 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Gautam Colony | 2305 | Interruption due to fault
26 | 2018-07-05 | Narela | 19:31 | 21:13 | 1:42 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Singhola | 749 | Interruption due to fault
27 | 2018-07-05 | Bawana | 19:55 | 21:25 | 1:30 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Utsav Vihar | 622 | Interruption due to fault
28 | 2018-07-05 | Moti Nagar | 16:26 | 17:50 | 1:24 | HT SYSTEM FAULT | HT Socket Burnt | Restored/Repaired | Parts of : Kirbi Place | 1489 | Interruption due to fault
29 | 2018-07-05 | Mangolpuri | 22:08 | 23:50 | 1:42 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : J-Block Mangolpuri | 399 | Interruption due to fault
30 | 2018-07-05 | Bawana | 22:34 | 23:53 | 1:19 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Agar Nagar | 622 | Interruption due to fault
31 | 2018-07-05 | Model Town | 10:47 | 15:20 | 4:33 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Azadpur | 691 | Planned outage
32 | 2018-07-05 | Mangolpuri | 10:37 | 14:55 | 4:18 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : P-Block Sultanpuri | 1375 | Planned outage
33 | 2018-07-05 | Badli | 10:34 | 12:41 | 2:07 | PLANNED SHUTDOWN | GO Switch Replacement | Restored/Repaired | Parts of : Rohini Sec-26 | 360 | Planned outage
34 | 2018-07-05 | Narela | 11:37 | 15:13 | 3:36 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Singhu Village | 750 | Planned outage
35 | 2018-07-05 | Badli | 10:19 | 12:39 | 2:20 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Shahbad Dairy | 523 | Planned outage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51