## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___06-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-06 | Bawana | 00:42 | 02:17 | 0.065972 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kanjhawala | 1365 | Interruption due to fault
2 | 2018-07-06 | Bawana | 03:11 | 04:21 | 0.048611 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Ghevra Village | 888 | Interruption due to fault
3 | 2018-07-06 | Bawana | 05:11 | 06:40 | 0.061806 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Punjab Khor | 3641 | Interruption due to fault
4 | 2018-07-06 | Moti Nagar | 08:56 | 11:09 | 0.092361 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Krishi Kunj | 544 | Planned outage
5 | 2018-07-06 | Badli | 09:41 | 11:15 | 0.065278 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Samaypur | 1840 | Interruption due to fault
6 | 2018-07-06 | Mangolpuri | 09:53 | 12:05 | 0.091667 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Y-Block Mangolpuri | 730 | Planned outage
7 | 2018-07-06 | Mangolpuri | 10:23 | 11:52 | 0.061806 | HT SYSTEM FAULT | Cat Electrocuted | Restored/Repaired | Parts of : Budh Vihar Phase-1 | 1530 | Interruption due to fault
8 | 2018-07-06 | Narela | 10:27 | 14:59 | 0.18889 | PLANNED SHUTDOWN | HT Network Extension | Restored/Repaired | Parts of : Holambi Kalan | 3465 | Planned outage
9 | 2018-07-06 | Bawana | 10:37 | 14:20 | 0.15486 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Barwala Village | 1857 | Planned outage
10 | 2018-07-06 | Badli | 11:07 | 13:30 | 0.099306 | DAMAGE BY OTHER AGENCIES | External Item Fell on Line | Restored/Repaired | Parts of : Libaspur | 890 | Force majeure due to sabotage
11 | 2018-07-06 | Badli | 11:50 | 14:08 | 0.095833 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Raja Vihar | 919 | Force majeure due to sabotage
12 | 2018-07-06 | Shalimar Bagh | 12:03 | 13:58 | 0.079861 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Jahangirpuri | 2801 | Planned outage
13 | 2018-07-06 | Model Town | 12:21 | 13:31 | 0.048611 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Tripolia | 3278 | Interruption due to fault
14 | 2018-07-06 | Mangolpuri | 0.52014 | 0.70139 | 0.18125 | DAMAGE BY OTHER AGENCIES | HT ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Pratap Vihar | 820 | Force majeure due to sabotage
15 | 2018-07-06 | Mangolpuri | 14:15 | 18:01 | 0.15694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : T-Block Sultanpuri | 2099 | Force majeure due to fire
16 | 2018-07-06 | Mangolpuri | 14:28 | 16:49 | 0.097917 | DAMAGE BY OTHER AGENCIES | HT Conductor Broken by Unknown Vehicle | Restored/Repaired | Parts of : Laxmi Vihar | 766 | Force majeure due to sabotage
17 | 2018-07-06 | Bawana | 15:06 | 0.69444 | 0.065278 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Auchandi | 622 | Interruption due to fault
18 | 2018-07-06 | Narela | 15:25 | 16:31 | 0.045833 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Alipur | 439 | Interruption due to fault
19 | 2018-07-06 | Moti Nagar | 17:11 | 18:30 | 0.054861 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ramesh Nagar | 373 | Interruption due to fault
20 | 2018-07-06 | Bawana | 17:46 | 19:30 | 0.072222 | HVDS CABLE & OTHER SYSTEM | HT ABC End Box Faulty | Restored/Repaired | Parts of : Karala | 861 | Interruption due to fault
21 | 2018-07-06 | Shalimar Bagh | 17:59 | 19:13 | 0.051389 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Hanuman Chowk | 7223 | Interruption due to fault
22 | 2018-07-06 | Shalimar Bagh | 18:15 | 19:25 | 0.048611 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Janta Vihar | 1121 | Interruption due to fault
23 | 2018-07-06 | Badli | 19:50 | 20:56 | 0.045833 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Badli Village | 338 | Interruption due to fault
24 | 2018-07-06 | Badli | 20:19 | 22:15 | 0.080556 | DAMAGE BY OTHER AGENCIES | HT Conductor Broken by Unknown Vehicle | Restored/Repaired | Parts of : Rohini Sec-26 | 444 | Force majeure due to sabotage
25 | 2018-07-06 | Shalimar Bagh | 21:25 | 22:36 | 0.049306 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : B-Block Shalimar Bagh | 2536 | Interruption due to fault
26 | 2018-07-06 | Rohini | 00:37 | 0.075 | 0.049306 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Bus Bar Burnt | Restored/Repaired | Parts of : Avantika | 361 | Interruption due to fault
27 | 2018-07-06 | Bawana | 01:29 | 02:35 | 0.045833 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : J-Block Bawana | 622 | Interruption due to fault
28 | 2018-07-06 | Civil Lines | 11:12 | 0.55139 | 0.084722 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Vijay Nagar | 559 | Force majeure due to fire
29 | 2018-07-06 | Keshav Puram | 11:36 | 0.55556 | 0.072222 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Wazirpur | 333 | Interruption due to fault
30 | 2018-07-06 | Mangolpuri | 12:27 | 15:52 | 0.14236 | DAMAGE BY OTHER AGENCIES | LT ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : X-Block Sultanpuri | 312 | Force majeure due to sabotage
31 | 2018-07-06 | Model Town | 12:42 | 0.625 | 0.095833 | DAMAGE BY OTHER AGENCIES | External Item Fell on Line | Restored/Repaired | Parts of : Indira Vihar | 468 | Force majeure due to sabotage
32 | 2018-07-06 | Model Town | 12:45 | 0.625 | 0.09375 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Azadpur | 454 | Force majeure due to fire
33 | 2018-07-06 | Moti Nagar | 13:00 | 14:50 | 0.076389 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Rama Road | 444 | Interruption due to fault
34 | 2018-07-06 | Shalimar Bagh | 14:04 | 0.65972 | 0.073611 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box & IPC Burnt | Restored/Repaired | Parts of : IP colony | 854 | Interruption due to fault
35 | 2018-07-06 | Mangolpuri | 14:08 | 0.66667 | 0.077778 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT ACB Flashed | Restored/Repaired | Parts of : Sec-20 Rohini | 751 | Interruption due to fault
36 | 2018-07-06 | Civil Lines | 14:54 | 16:13 | 0.054861 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Timarpur | 301 | Interruption due to fault
37 | 2018-07-06 | Mangolpuri | 17:52 | 19:09 | 0.053472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Rajiv Nagar | 417 | Interruption due to fault
38 | 2018-07-06 | Shalimar Bagh | 20:47 | 0.94792 | 0.081944 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Baba Colony | 643 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51