## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___07-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-07 | Keshav Puram | 12:01 | 13:32 | 0.063194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due to Fire Message | Restored/Repaired | Parts of : Ashok Vihar | 475 | Force majeure due to fire
2 | 2018-07-07 | Shalimar Bagh | 16:20 | 17:30 | 0.048611 | DISTRIBUTION TR. | To Attend DT Oil Leakage | Restored/Repaired | Parts of : Jharoda Village | 735 | Interruption due to fault
3 | 2018-07-07 | Shalimar Bagh | 02:41 | 0.15972 | 0.047917 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Kamal Vihar | 832 | Interruption due to fault
4 | 2018-07-07 | Badli | 02:34 | 03:50 | 0.052778 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-29 Rohini | 1842 | Interruption due to fault
5 | 2018-07-07 | Narela | 04:09 | 05:51 | 0.070833 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Khera Kalan | 935 | Interruption due to fault
6 | 2018-07-07 | Mangol Puri | 06:22 | 07:26 | 0.044444 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mithila Vihar | 2103 | Interruption due to fault
7 | 2018-07-07 | Bawana | 08:27 | 16:21 | 0.32917 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-4 DSIIDC Bawana | 488 | Planned outage
8 | 2018-07-07 | Mangol Puri | 09:57 | 11:15 | 0.054167 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Station Block | 512 | Interruption due to fault
9 | 2018-07-07 | Bawana | 10:45 | 17:56 | 0.29931 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-1 F Blk DSIIDC Bawana | 390 | Planned outage
10 | 2018-07-07 | Mangol Puri | 10:59 | 13:25 | 0.10139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sec-20 Rohini | 676 | Force majeure due to fire
11 | 2018-07-07 | Bawana | 11:02 | 16:24 | 0.22361 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : I Blk Sec-2 DSIIDC Bawana | 326 | Planned outage
12 | 2018-07-07 | Pitam Pura | 11:24 | 12:36 | 0.05 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Pitam Pura | 304 | Interruption due to fault
13 | 2018-07-07 | Model Town | 14:05 | 19:46 | 0.23681 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | DT Faulty | Restored/Repaired | Parts of : Indira Vihar | 800 | Force majeure and delay to public hindrance
14 | 2018-07-07 | Shalimar Bagh | 17:32 | 18:40 | 0.047222 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Kamal Vihar | 3847 | Interruption due to fault
15 | 2018-07-07 | Bawana | 20:36 | 21:38 | 0.043056 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Jain Nagar | 942 | Interruption due to fault
16 | 2018-07-07 | Moti Nagar | 22:02 | 23:05 | 0.04375 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Bali Nagar | 4639 | Interruption due to fault
17 | 2018-07-07 | Bawana | 10:49 | 12:01 | 0.05 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Bawana | 871 | Planned outage
18 | 2018-07-07 | Shalimar Bagh | 10:26 | 11:34 | 0.047222 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Bhalswa | 3063 | Planned outage
19 | 2018-07-07 | Moti Nagar | 09:37 | 11:24 | 0.074306 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Saraswati Garden | 384 | Planned outage
20 | 2018-07-07 | Narela | 09:12 | 17:08 | 0.33056 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Bakhtawarpur | 1830 | Planned outage
21 | 2018-07-07 | Keshav Puram | 10:41 | 14:20 | 0.15208 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Ashok Vihar | 333 | Scheduled system outage
22 | 2018-07-07 | Badli | 11:11 | 13:21 | 0.090278 | PLANNED SHUTDOWN | For Pole Cleaning | Restored/Repaired | Parts of : Samaypur | 504 | Scheduled system outage
23 | 2018-07-07 | Moti Nagar | 11:31 | 13:00 | 0.061806 | PLANNED SHUTDOWN | Tyco Box replacement | Restored/Repaired | Parts of : Kirti Nagar | 429 | Scheduled system outage
24 | 2018-07-07 | Civil Lines | 11:58 | 13:16 | 0.054167 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Kamla Nagar | 383 | Interruption due to fault
25 | 2018-07-07 | Keshav Puram | 12:54 | 15:06 | 0.091667 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : B Blk Ph- 1 Wazirpur | 348 | Scheduled system outage
26 | 2018-07-07 | Badli | 13:44 | 15:15 | 0.063194 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Siraspur | 378 | Interruption due to fault
27 | 2018-07-07 | Keshav Puram | 15:26 | 17:19 | 0.078472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Nimri Village | 351 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51