## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___08-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-08 | Shalimar Bagh | 01:35 | 03:30 | 0.079861 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Bhalaswa | 923 | Interruption due to fault
2 | 2018-07-08 | Mangol Puri | 02:05 | 03:40 | 0.065972 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Mangol Puri Ind. Area | 408 | Interruption due to fault
3 | 2018-07-08 | Bawana | 04:15 | 05:45 | 0.0625 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Mubarakpur Village | 1224 | Interruption due to fault
4 | 2018-07-08 | Narela | 05:55 | 07:02 | 0.046528 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Holambi Kalan | 2585 | Interruption due to fault
5 | 2018-07-08 | Rohini | 05:55 | 06:56 | 0.042361 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Avantika | 738 | Interruption due to fault
6 | 2018-07-08 | Narela | 06:21 | 07:50 | 0.061806 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sannoth Village | 1153 | Interruption due to fault
7 | 2018-07-08 | Keshav Puram | 06:23 | 07:47 | 0.058333 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Rampura | 1041 | Interruption due to fault
8 | 2018-07-08 | Narela | 07:36 | 08:50 | 0.051389 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Holambi Kalan | 2585 | Interruption due to fault
9 | 2018-07-08 | Narela | 08:55 | 0.43056 | 0.059028 | PLANNED SHUTDOWN | LT ABC Repairing | Restored/Repaired | Parts of : Ghoga Village | 1192 | Scheduled system outage
10 | 2018-07-08 | Bawana | 10:58 | 13:42 | 0.11389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Jain Nagar | 5443 | Force majeure due to fire
11 | 2018-07-08 | Shalimar Bagh | 12:30 | 0.59722 | 0.076389 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Nagar | 416 | Interruption due to fault
12 | 2018-07-08 | Keshav Puram | 14:35 | 16:10 | 0.065972 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Kanahiya Nagar | 620 | Interruption due to fault
13 | 2018-07-08 | Bawana | 14:48 | 15:55 | 0.046528 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Auchandi | 2701 | Interruption due to fault
14 | 2018-07-08 | Bawana | 17:48 | 18:53 | 0.045139 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ishwar Colony | 3247 | Interruption due to fault
15 | 2018-07-08 | Badli | 0.68889 | 18:30 | 0.081944 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Badli | 406 | Interruption due to fault
16 | 2018-07-08 | Civil Lines | 16:48 | 18:05 | 0.053472 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Subzi Mandi | 441 | Interruption due to fault
17 | 2018-07-08 | Narela | 18:39 | 20:14 | 0.065972 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Bhorgarh Village | 1192 | Interruption due to fault
18 | 2018-07-08 | Civil Lines | 19:22 | 20:38 | 0.052778 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Kamla Nagar | 397 | Interruption due to fault
19 | 2018-07-08 | Shalimar Bagh | 19:59 | 0.88194 | 0.049306 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Sangam Vihar | 503 | Interruption due to fault
20 | 2018-07-08 | Badli | 21:55 | 23:19 | 0.058333 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Sec-29 Rohini | 1842 | Interruption due to fault
21 | 2018-07-08 | Mangol Puri | 22:20 | 23:55 | 0.065972 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Ramesh Enclave | 1436 | Interruption due to fault
22 | 2018-07-08 | Bawana | 22:36 | 23:50 | 0.051389 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Dheeraj Vihar | 6070 | Interruption due to fault
23 | 2018-07-08 | Mangol Puri | 11:56 | 14:06 | 0.090278 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Sultan Puri | 379 | Scheduled system outage
24 | 2018-07-08 | Keshav Puram | 20:36 | 22:12 | 0.066667 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Trinagar | 334 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51