## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___09-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-09 | Badli | 14:50 | 17:38 | 0.11667 | PLANNED SHUTDOWN | LT ABC Laying | Restored/Repaired | Parts of : Bhagat Singh Park | 536 | Scheduled system outage
2 | 2018-07-09 | Badli | 19:26 | 21:07 | 0.070139 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Prahlad Vihar | 349 | Interruption due to fault
3 | 2018-07-09 | Badli | 03:39 | 04:53 | 0.051389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Samaypur | 551 | Force majeure due to sabotage
4 | 2018-07-09 | Bawana | 17:32 | 20:20 | 0.11667 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Ghevra Sawda | 3230 | Force majeure due to sabotage
5 | 2018-07-09 | Bawana | 09:19 | 11:54 | 0.10764 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Bawana Sec-1 | 390 | Force majeure due to fire
6 | 2018-07-09 | Bawana | 16:17 | 18:00 | 0.071528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ghevra JJ Colony | 1312 | Force majeure due to rain
7 | 2018-07-09 | Bawana | 14:46 | 16:10 | 0.058333 | HVDS TRANSFORMER | DD Unit Faulty | Restored/Repaired | Parts of : Pooth Khurd | 2589 | Interruption due to fault
8 | 2018-07-09 | Bawana | 21:10 | 22:30 | 0.055556 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Vijay Nagar | 1312 | Interruption due to fault
9 | 2018-07-09 | Bawana | 15:23 | 16:30 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Auchandi | 2701 | Force majeure due to rain
10 | 2018-07-09 | Civil Lines | 19:01 | 21:00 | 0.082639 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Timarpur | 832 | Interruption due to fault
11 | 2018-07-09 | Civil Lines | 19:43 | 20:58 | 0.052083 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Guddar Basti | 518 | Interruption due to fault
12 | 2018-07-09 | Keshav Puram | 15:08 | 16:55 | 0.074306 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Kanhaiya Nagar | 445 | Planned outage
13 | 2018-07-09 | Mangolpuri | 18:08 | 20:05 | 0.08125 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mithila Vihar | 642 | Interruption due to fault
14 | 2018-07-09 | Mangolpuri | 07:24 | 09:10 | 0.073611 | PLANNED SHUTDOWN | To Attend DT Oil Leakage | Restored/Repaired | Parts of : Ramesh Enclave | 1235 | Planned outage
15 | 2018-07-09 | Mangolpuri | 15:05 | 16:50 | 0.072917 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT ACB Flashed | Restored/Repaired | Parts of : Y-Block Mangolpuri | 861 | Interruption due to fault
16 | 2018-07-09 | Mangolpuri | 16:01 | 17:35 | 0.065278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Inder Enclave Ph-1 | 642 | Force majeure due to rain
17 | 2018-07-09 | Mangolpuri | 17:22 | 18:55 | 0.064583 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Pratap Vihar | 824 | Interruption due to fault
18 | 2018-07-09 | Mangolpuri | 11:28 | 13:00 | 0.063889 | PLANNED SHUTDOWN | Distribution Box Installation | Restored/Repaired | Parts of : F- Block Sultanpuri | 841 | Planned outage
19 | 2018-07-09 | Mangolpuri | 07:24 | 08:39 | 0.052083 | PLANNED SHUTDOWN | Tree trimming | Restored/Repaired | Parts of : J-Block Mangolpuri | 8006 | Planned outage
20 | 2018-07-09 | Moti Nagar | 18:41 | 21:19 | 0.10972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Ramesh Nagar | 381 | Force majeure due to fire
21 | 2018-07-09 | Moti Nagar | 16:34 | 18:10 | 0.066667 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Saraswati Garden | 3379 | Force majeure due to rain
22 | 2018-07-09 | Narela | 12:25 | 16:14 | 0.15903 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Kadipur | 3109 | Force majeure due to sabotage
23 | 2018-07-09 | Narela | 15:54 | 18:15 | 0.097917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping due to Rain | Restored/Repaired | Parts of : Metro Vihar | 612 | Force majeure due to rain
24 | 2018-07-09 | Narela | 08:09 | 10:10 | 0.084028 | PLANNED SHUTDOWN | LT ABC Laying | Restored/Repaired | Parts of : Tigipur | 2675 | Scheduled system outage
25 | 2018-07-09 | Narela | 12:45 | 14:17 | 0.063889 | PLANNED SHUTDOWN | Distribution Box Installation | Restored/Repaired | Parts of : Bakhtawarpur | 539 | Planned outage
26 | 2018-07-09 | Narela | 14:32 | 15:48 | 0.052778 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Shivaji Nagar | 305 | Planned outage
27 | 2018-07-09 | Narela | 16:01 | 17:10 | 0.047917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ghogha Village | 1848 | Force majeure due to rain
28 | 2018-07-09 | Pitam Pura | 13:08 | 14:24 | 0.052778 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : J- Block Shakurpur | 591 | Interruption due to fault
29 | 2018-07-09 | Pitam Pura | 07:51 | 09:04 | 0.050694 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : SD-Block Pitampura | 358 | Interruption due to fault
30 | 2018-07-09 | Rohini | 12:12 | 17:55 | 0.23819 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Vijay Vihar | 463 | Planned outage
31 | 2018-07-09 | Rohini | 15:48 | 17:12 | 0.058333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Gopal Vihar | 1114 | Force majeure due to rain
32 | 2018-07-09 | Shalimar Bagh | 12:23 | 14:13 | 0.076389 | HVDS TRANSFORMER | DT Bushing Faulty | Restored/Repaired | Parts of : Wazirabad | 1199 | Interruption due to fault
33 | 2018-07-09 | Shalimar Bagh | 11:56 | 13:35 | 0.06875 | PLANNED SHUTDOWN | Tree trimming | Restored/Repaired | Parts of : Swaroop Nagar | 467 | Planned outage
34 | 2018-07-09 | Shalimar Bagh | 19:03 | 20:27 | 0.058333 | LT FEEDER | LT ABC Faulty | Restored/Repaired | Parts of : D-Block Jahangirpuri | 1743 | Interruption due to fault
35 | 2018-07-09 | Shalimar Bagh | 10:25 | 11:46 | 0.05625 | HT SYSTEM FAULT | Tree Branch Fell on Line | Restored/Repaired | Parts of : Burari | 765 | Interruption due to fault
36 | 2018-07-09 | Shalimar Bagh | 18:25 | 19:45 | 0.055556 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Bhalswa | 586 | Interruption due to fault
37 | 2018-07-09 | Shalimar Bagh | 11:42 | 13:00 | 0.054167 | PLANNED SHUTDOWN | Transformer Gasket Replacement | Restored/Repaired | Parts of : Kamal Vihar | 3144 | Planned outage
38 | 2018-07-09 | Shalimar Bagh | 15:55 | 17:08 | 0.050694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sant Nagar | 415 | Force majeure due to rain
39 | 2018-07-09 | Shalimar Bagh | 15:19 | 16:28 | 0.047917 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : C-Block Jahangirpuri | 500 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51