## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___10-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-10 | Badli | 15:44 | 17:23 | 0.06875 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Rohini Sec-26 | 458 | Interruption due to fault
2 | 2018-07-10 | Badli | 09:11 | 10:40 | 0.061806 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Badli Village | 1977 | Interruption due to fault
3 | 2018-07-10 | Bawana | 09:42 | 13:50 | 0.17222 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Punjab Khor | 4503 | Force majeure due to sabotage
4 | 2018-07-10 | Civil Lines | 22:26 | 0.99931 | 0.064583 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Distribution Box Burnt | Restored/Repaired | Parts of : Timarpur | 314 | Interruption due to fault
5 | 2018-07-10 | Keshav Puram | 12:06 | 17:36 | 0.22917 | PLANNED SHUTDOWN | LT ABC Laying | Restored/Repaired | Parts of : Trinagar | 636 | Scheduled system outage
6 | 2018-07-10 | Keshav Puram | 19:54 | 21:25 | 0.063194 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Rampura | 517 | Interruption due to fault
7 | 2018-07-10 | Mangolpuri | 15:53 | 17:25 | 0.063889 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Nithari Village | 306 | Interruption due to fault
8 | 2018-07-10 | Mangolpuri | 08:16 | 10:00 | 0.072222 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Budh Vihar Ph-1 | 422 | Interruption due to fault
9 | 2018-07-10 | Mangolpuri | 10:10 | 16:00 | 0.24306 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Krishan Vihar | 713 | Planned outage
10 | 2018-07-10 | Mangolpuri | 19:18 | 20:30 | 0.05 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Sultanpuri | 897 | Interruption due to fault
11 | 2018-07-10 | Mangolpuri | 11:45 | 12:58 | 0.050694 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Aman Vihar | 1530 | Interruption due to fault
12 | 2018-07-10 | Mangolpuri | 18:46 | 20:07 | 0.05625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Budh Vihar Ph-2 | 4979 | Force majeure due to sabotage
13 | 2018-07-10 | Moti Nagar | 11:34 | 0.6875 | 0.20556 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Kirti Nagar | 310 | Force majeure due to sabotage
14 | 2018-07-10 | Moti Nagar | 15:05 | 17:00 | 0.079861 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Sudarshan Park | 1983 | Planned outage
15 | 2018-07-10 | Moti Nagar | 14:30 | 16:22 | 0.077778 | HT SYSTEM FAULT | Breaker Relay Malfunction | Restored/Repaired | Parts of : Bali Nagar | 4586 | Interruption due to fault
16 | 2018-07-10 | Moti Nagar | 16:31 | 17:50 | 0.054861 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Inderpuri | 5172 | Interruption due to fault
17 | 2018-07-10 | Narela | 14:31 | 20:46 | 0.26042 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Holambi Kalan | 395 | Force majeure due to sabotage
18 | 2018-07-10 | Narela | 21:17 | 22:41 | 0.058333 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Ghogha Village | 1592 | Interruption due to fault
19 | 2018-07-10 | Narela | 10:55 | 15:34 | 0.19375 | PLANNED SHUTDOWN | To Attend DT Oil Leakage | Restored/Repaired | Parts of : Alipur | 1607 | Planned outage
20 | 2018-07-10 | Narela | 00:42 | 02:14 | 0.063889 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Bakhtawarpur | 325 | Interruption due to fault
21 | 2018-07-10 | Narela | 13:57 | 15:23 | 0.059722 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 5890 | Interruption due to fault
22 | 2018-07-10 | Rohini | 11:10 | 14:54 | 0.15556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Rohini Sec-7 | 324 | Force majeure due to fire
23 | 2018-07-10 | Shakti Nagar | 11:40 | 14:04 | 0.1 | PLANNED SHUTDOWN | LT ABC Laying | Restored/Repaired | Parts of : Daya Basti | 433 | Scheduled system outage
24 | 2018-07-10 | Shakti Nagar | 15:13 | 16:52 | 0.06875 | PLANNED SHUTDOWN | Tyco Box Installation | Restored/Repaired | Parts of : Inderlok | 356 | Scheduled system outage
25 | 2018-07-10 | Shalimar Bagh | 15:40 | 17:46 | 0.0875 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Kamal Vihar | 1251 | Scheduled system outage
26 | 2018-07-10 | Shalimar Bagh | 14:17 | 16:17 | 0.083333 | PLANNED SHUTDOWN | Distribution Box Installation | Restored/Repaired | Parts of : Kaushik Enclave | 311 | Scheduled system outage
27 | 2018-07-10 | Shalimar Bagh | 02:30 | 04:28 | 0.081944 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Jahangirabad Village | 1774 | Interruption due to fault
28 | 2018-07-10 | Shalimar Bagh | 16:15 | 17:51 | 0.066667 | PLANNED SHUTDOWN | Tyco Box Installation | Restored/Repaired | Parts of : Jagatpur | 397 | Scheduled system outage
29 | 2018-07-10 | Shalimar Bagh | 07:42 | 09:15 | 0.064583 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Wazirabad | 2445 | Interruption due to fault
30 | 2018-07-10 | Shalimar Bagh | 01:42 | 04:42 | 0.125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Jahangirpuri | 3764 | Force majeure due to fire
31 | 2018-07-10 | Shalimar Bagh | 00:22 | 01:50 | 0.061111 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Burari | 350 | Interruption due to fault
32 | 2018-07-10 | Shalimar Bagh | 20:41 | 22:34 | 0.078472 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Sant Nagar | 6145 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51