## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___11-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-11 | Narela | 12:26 | 15:48 | 0.14028 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Ghogha Colony | 1792 | Planned outage
2 | 2018-07-11 | Badli | 12:13 | 15:45 | 0.14722 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Deep Vihar | 2066 | Planned outage
3 | 2018-07-11 | Shalimar Bagh | 10:56 | 12:33 | 0.067361 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Jagatpur Village | 1870 | Planned outage
4 | 2018-07-11 | Mangol Puri | 10:42 | 17:16 | 0.27361 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Nithari Village | 452 | Planned outage
5 | 2018-07-11 | Badli | 08:10 | 14:30 | 0.26389 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Libaspur | 934 | Planned outage
6 | 2018-07-11 | Bawana | 08:00 | 11:00 | 0.125 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Jain Nagar | 1506 | Planned outage
7 | 2018-07-11 | Civil Lines | 10:46 | 12:25 | 0.06875 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kalyan Vihar | 410 | Interruption due to fault
8 | 2018-07-11 | Bawana | 02:44 | 05:29 | 0.11458 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : I-Blk Sec-2 DSIIDC Bawana | 1701 | Interruption due to fault
9 | 2018-07-11 | Mangol Puri | 07:48 | 09:25 | 0.067361 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kailash Vihar | 1519 | Interruption due to fault
10 | 2018-07-11 | Shalimar Bagh | 12:09 | 13:20 | 0.049306 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : H-Block Jahangir Puri | 648 | Interruption due to fault
11 | 2018-07-11 | Mangol Puri | 0.59861 | 16:09 | 0.074306 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mithila Vihar | 8608 | Interruption due to fault
12 | 2018-07-11 | Bawana | 15:25 | 16:38 | 0.050694 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Sec-4 DSIIDC Bawana | 4503 | Interruption due to fault
13 | 2018-07-11 | Moti Nagar | 0.64028 | 17:00 | 0.068056 | HVDS TRANSFORMER | DD Unit Flash | Restored/Repaired | Parts of : Sudarshan Park | 457 | Interruption due to fault
14 | 2018-07-11 | Mangol Puri | 17:14 | 19:25 | 0.090972 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Pooth Kalan | 4645 | Interruption due to fault
15 | 2018-07-11 | Rohini | 17:35 | 18:54 | 0.054861 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Vijay Vihar | 502 | Interruption due to fault
16 | 2018-07-11 | Shalimar Bagh | 17:54 | 19:05 | 0.049306 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Swaroop Nagar | 477 | Interruption due to fault
17 | 2018-07-11 | Bawana | 18:46 | 20:10 | 0.058333 | HT SYSTEM FAULT | HT Conductor Snapped | Restored/Repaired | Parts of : Bawana Village | 3895 | Interruption due to fault
18 | 2018-07-11 | Shalimar Bagh | 20:16 | 22:00 | 0.072222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due to Fire Message | Restored/Repaired | Parts of : Ambedkar Nagar | 2076 | Force majeure due to fire
19 | 2018-07-11 | Mangol Puri | 01:25 | 02:55 | 0.0625 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : S-Block Mangolpuri | 545 | Interruption due to fault
20 | 2018-07-11 | Mangol Puri | 07:02 | 08:58 | 0.080556 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Distribution Box Burnt | Restored/Repaired | Parts of : G-Block Mangolpuri | 420 | Interruption due to fault
21 | 2018-07-11 | Keshav Puram | 11:11 | 0.54167 | 0.075694 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Nimri Village | 351 | Interruption due to fault
22 | 2018-07-11 | Moti Nagar | 11:57 | 0.59722 | 0.099306 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Naraina Ind. Area | 338 | Interruption due to fault
23 | 2018-07-11 | Moti Nagar | 11:59 | 0.66667 | 0.16736 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Pandav Nagar | 483 | Scheduled system outage
24 | 2018-07-11 | Narela | 13:10 | 0.59375 | 0.045139 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Darshan Vihar | 537 | Interruption due to fault
25 | 2018-07-11 | Rohini | 13:18 | 0.78472 | 0.23056 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Gopal Vihar | 322 | Force majeure due to sabotage
26 | 2018-07-11 | Rohini | 00:23 | 0.11111 | 0.095139 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sec-2 Rohini | 427 | Interruption due to fault
27 | 2018-07-11 | Rohini | 00:48 | 03:07 | 0.096528 | LT FEEDER | LT ACB Flash | Restored/Repaired | Parts of : Sec-3 Rohini | 350 | Interruption due to fault
28 | 2018-07-11 | Mangol Puri | 07:58 | 09:46 | 0.075 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Sec-20 Rohini | 440 | Force majeure due to fire
29 | 2018-07-11 | Mangol Puri | 13:02 | 14:41 | 0.06875 | PLANNED SHUTDOWN | LT ABC Laying | Restored/Repaired | Parts of : Budh Vihar Ph-1 | 447 | Scheduled system outage
30 | 2018-07-11 | Shalimar Bagh | 14:15 | 0.65278 | 0.059028 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Bhalswa Dairy | 923 | Scheduled system outage
31 | 2018-07-11 | Narela | 16:23 | 0.75 | 0.067361 | LT FEEDER | MCCB Burnt | Restored/Repaired | Parts of : Tigipur Villlage | 600 | Interruption due to fault
32 | 2018-07-11 | Narela | 22:17 | 0.99931 | 0.070833 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Bakhtawarpur Village | 591 | Interruption due to fault
33 | 2018-07-11 | Bawana | 17:21 | 0.77639 | 0.053472 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Karala Village | 444 | Interruption due to fault
34 | 2018-07-11 | Moti Nagar | 21:08 | 22:50 | 0.070833 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Kirti Nagar | 510 | Interruption due to fault
35 | 2018-07-11 | Moti Nagar | 21:17 | 22:50 | 0.064583 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Ramesh Nagar | 392 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51