## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___12-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-12 | Moti Nagar | 07:13 | 11:23 | 0.17361 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Inderpuri | 681 | Planned outage
2 | 2018-07-12 | Shalimar Bagh | 15:35 | 17:00 | 0.059028 | PLANNED SHUTDOWN | Replacement of Relay | Restored/Repaired | Parts of : Burari Village | 1455 | Planned outage
3 | 2018-07-12 | Civil Lines | 11:41 | 15:45 | 0.16944 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Timarpur | 506 | Planned outage
4 | 2018-07-12 | Narela | 11:00 | 15:55 | 0.20486 | PLANNED SHUTDOWN | HT ABC Laying | Restored/Repaired | Parts of : Holambi Kalan | 1001 | Planned outage
5 | 2018-07-12 | Moti Nagar | 10:00 | 12:00 | 0.083333 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Kirti Nagar | 506 | Planned outage
6 | 2018-07-12 | Bawana | 13:04 | 0.74653 | 0.20208 | PLANNED SHUTDOWN | To Remove Mobile DT and Installation of New DT | Restored/Repaired | Parts of : Pooth Khurd Village | 1701 | Planned outage
7 | 2018-07-12 | Bawana | 17:10 | 19:45 | 0.10764 | HT SYSTEM FAULT | Pin Insulator Flash | Restored/Repaired | Parts of : Ranikhera Village | 561 | Interruption due to fault
8 | 2018-07-12 | Narela | 19:19 | 21:01 | 0.070833 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Metro Vihar Ph-1 | 1260 | Interruption due to fault
9 | 2018-07-12 | Model Town | 03:02 | 11:26 | 0.35 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Replacement of Faulty DT | Restored/Repaired | Parts of : Majlis Park | 477 | Force majeure due to Accessbilities issue
10 | 2018-07-12 | Bawana | 02:50 | 04:58 | 0.088889 | HT SYSTEM FAULT | HT Conductor Snapped | Restored/Repaired | Parts of : Qutub Garh | 755 | Interruption due to fault
11 | 2018-07-12 | Badli | 08:52 | 11:15 | 0.099306 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Sec-26 Rohini | 1045 | Interruption due to fault
12 | 2018-07-12 | Rohini | 11:01 | 12:42 | 0.070139 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Gopal Vihar | 1073 | Interruption due to fault
13 | 2018-07-12 | Narela | 14:21 | 15:50 | 0.061806 | HVDS TRANSFORMER | DD Unit Flash | Restored/Repaired | Parts of : Kadipur | 5389 | Interruption due to fault
14 | 2018-07-12 | Narela | 16:06 | 19:00 | 0.12083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Alipur | 664 | Force majeure due to fire
15 | 2018-07-12 | Bawana | 16:55 | 18:43 | 0.075 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Sec-2 Bawana Ind. Area | 514 | Interruption due to fault
16 | 2018-07-12 | Bawana | 17:03 | 20:12 | 0.13125 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Bajitpur Village | 612 | Force majeure due to sabotage
17 | 2018-07-12 | Mangolpuri | 17:40 | 20:55 | 0.13542 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Sultanpuri | 509 | Force majeure due to fire
18 | 2018-07-12 | Bawana | 20:05 | 21:40 | 0.065972 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : A-Block Sec-2 Bawana | 303 | Interruption due to fault
19 | 2018-07-12 | Bawana | 20:30 | 23:05 | 0.10764 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Karala Village | 2837 | Force majeure due to sabotage
20 | 2018-07-12 | Bawana | 20:55 | 23:36 | 0.11181 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Katewara Village | 4549 | Force majeure due to fire
21 | 2018-07-12 | Mangolpuri | 18:45 | 21:23 | 0.10972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Pratap Vihar | 6616 | Force majeure due to sabotage
22 | 2018-07-12 | Shalimar Bagh | 15:49 | 17:08 | 0.054861 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Sant Nagar | 374 | Interruption due to fault
23 | 2018-07-12 | Rohini | 16:01 | 19:23 | 0.14028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Sec-1 Rohini | 448 | Force majeure due to fire
24 | 2018-07-12 | Mangolpuri | 22:06 | 0.99931 | 0.078472 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Ramesh Enclave | 1436 | Interruption due to fault
25 | 2018-07-12 | Civil Lines | 01:10 | 02:50 | 0.069444 | LT FEEDER | LT ACB Flash | Restored/Repaired | Parts of : Kabir Nagar | 626 | Interruption due to fault
26 | 2018-07-12 | Keshav Puram | 02:37 | 0.16667 | 0.057639 | LT FEEDER | MCCB Burnt | Restored/Repaired | Parts of : Rampura Village | 366 | Interruption due to fault
27 | 2018-07-12 | Narela | 02:44 | 5:00 | 0.094444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : Darshan Vihar | 821 | Force majeure due to fire
28 | 2018-07-12 | Narela | 10:51 | 12:20 | 0.061806 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Khera Kalan | 359 | Interruption due to fault
29 | 2018-07-12 | Rohini | 16:09 | 18:08 | 0.082639 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Sec-2 Rohini | 322 | Interruption due to fault
30 | 2018-07-12 | Mangolpuri | 19:41 | 21:23 | 0.070833 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Nithari Village | 413 | Interruption due to fault
31 | 2018-07-12 | Narela | 21:16 | 22:40 | 0.058333 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | IPC Burnt | Restored/Repaired | Parts of : Gautam Colony | 313 | Interruption due to fault
32 | 2018-07-12 | Mangolpuri | 10:13 | 0.69792 | 0.27222 | PLANNED SHUTDOWN | New LT ABC Laying | Restored/Repaired | Parts of : Budh Vihar Ph-1 | 339 | Scheduled system outage
33 | 2018-07-12 | Model Town | 11:21 | 17:20 | 0.24931 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Indira Vihar | 494 | Scheduled system outage
34 | 2018-07-12 | Mangolpuri | 11:23 | 15:20 | 0.16458 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Krishna Vihar | 356 | Scheduled system outage
35 | 2018-07-12 | Narela | 12:25 | 16:00 | 0.14931 | PLANNED SHUTDOWN | Distribution Box Installation | Restored/Repaired | Parts of : A-Block DSIIDC Narela | 395 | Scheduled system outage
36 | 2018-07-12 | Rohini | 11:31 | 16:30 | 0.20764 | DAMAGE BY OTHER AGENCIES | LT ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Sec-5 Rohini | 825 | Force majeure due to sabotage
37 | 2018-07-12 | Shakti Nagar | 14:32 | 16:00 | 0.061111 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Gulabi Bagh | 310 | Interruption due to fault
38 | 2018-07-12 | Civil Lines | 10:35 | 0.54514 | 0.10417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : Kalyan Vihar | 626 | Force majeure due to fire
39 | 2018-07-12 | Pitam Pura | 10:37 | 11:53 | 0.052778 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : G-Block J J Colony Shakurpur | 507 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51