## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___13-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-13 | Civil Lines | 0.29861 | 10:22 | 0.13333 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Hudson Lines | 318 | Planned outage
2 | 2018-07-13 | Mangolpuri | 10:22 | 15:41 | 0.22153 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Jalebi Chowk | 1356 | Planned outage
3 | 2018-07-13 | Narela | 09:02 | 15:00 | 0.24861 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Darshan Vihar | 3325 | Planned outage
4 | 2018-07-13 | Mangolpuri | 01:12 | 02:45 | 0.064583 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sultanpuri | 989 | Interruption due to fault
5 | 2018-07-13 | Badli | 06:07 | 07:50 | 0.071528 | HT SYSTEM FAULT | Cat Electrocuted | Restored/Repaired | Parts of : Badli | 2431 | Interruption due to fault
6 | 2018-07-13 | Badli | 08:33 | 09:50 | 0.053472 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Samaypur | 709 | Interruption due to fault
7 | 2018-07-13 | Narela | 10:24 | 12:47 | 0.099306 | PLANNED SHUTDOWN | DT Oil Top-up | Restored/Repaired | Parts of : Tigipur | 3032 | Planned outage
8 | 2018-07-13 | Bawana | 12:55 | 16:58 | 0.16875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Jain Nagar | 468 | Force majeure due to fire
9 | 2018-07-13 | Shalimar Bagh | 14:29 | 15:35 | 0.045833 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bhalswa Village | 3202 | Interruption due to fault
10 | 2018-07-13 | Bawana | 16:45 | 18:00 | 0.052083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Karala Village | 444 | Force majeure due to rain
11 | 2018-07-13 | Shalimar Bagh | 15:03 | 18:15 | 0.13333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jahangir Puri | 4321 | Force majeure due to rain
12 | 2018-07-13 | Narela | 0.62847 | 0.79722 | 0.16875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kadipur | 5280 | Force majeure due to rain
13 | 2018-07-13 | Shakti Nagar | 15:29 | 20:37 | 0.21389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shahzada Bagh | 453 | Force majeure due to rain
14 | 2018-07-13 | Shalimar Bagh | 15:23 | 19:51 | 0.18611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Hanuman Chowk | 1209 | Force majeure due to rain
15 | 2018-07-13 | Keshav Puram | 15:44 | 18:50 | 0.12917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Satsang Colony | 416 | Force majeure due to rain
16 | 2018-07-13 | Shalimar Bagh | 15:41 | 17:10 | 0.061806 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Milan Vihar | 1293 | Force majeure due to rain
17 | 2018-07-13 | Badli | 16:58 | 19:20 | 0.098611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Siraspur | 1766 | Force majeure due to rain
18 | 2018-07-13 | Mangolpuri | 15:50 | 17:05 | 0.052083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Begumpur | 3555 | Force majeure due to rain
19 | 2018-07-13 | Shalimar Bagh | 0.66875 | 0.81736 | 0.14861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Amrit Vihar | 6012 | Force majeure due to rain
20 | 2018-07-13 | Shalimar Bagh | 19:37 | 0.99931 | 0.18194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Burari | 1029 | Force majeure due to sabotage
21 | 2018-07-13 | Shakti Nagar | 16:11 | 17:15 | 0.044444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shakti Nagar | 2832 | Force majeure due to rain
22 | 2018-07-13 | Mangolpuri | 15:56 | 16:58 | 0.043056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-20 Rohini | 3151 | Force majeure due to rain
23 | 2018-07-13 | Pitam Pura | 15:48 | 16:50 | 0.043056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Vasudha Enclave | 829 | Force majeure due to rain
24 | 2018-07-13 | Shalimar Bagh | 0.72222 | 20:20 | 0.125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sanjay Enclave | 788 | Force majeure due to rain
25 | 2018-07-13 | Shalimar Bagh | 16:24 | 19:20 | 0.12222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : D-Block Jahangir Puri | 1257 | Force majeure due to rain
26 | 2018-07-13 | Shalimar Bagh | 19:20 | 22:00 | 0.11111 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Udyog Nagar | 591 | Force majeure due to sabotage
27 | 2018-07-13 | Model Town | 15:23 | 19:25 | 0.16806 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Indira Vihar | 2237 | Force majeure due to rain
28 | 2018-07-13 | Pitam Pura | 16:27 | 17:30 | 0.04375 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kapil Vihar | 2194 | Force majeure due to rain
29 | 2018-07-13 | Shalimar Bagh | 16:38 | 22:15 | 0.23403 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : A-Block Shalimar Bagh | 2088 | Force majeure due to rain
30 | 2018-07-13 | Shalimar Bagh | 17:11 | 21:30 | 0.17986 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sangam Vihar | 1266 | Force majeure due to rain
31 | 2018-07-13 | Shakti Nagar | 17:39 | 21:25 | 0.15694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Gulabi Bagh | 459 | Force majeure due to rain
32 | 2018-07-13 | Badli | 19:51 | 22:35 | 0.11389 | HT SYSTEM FAULT | DT Faulty | Restored/Repaired | Parts of : Pansali | 486 | Interruption due to fault
33 | 2018-07-13 | Narela | 18:20 | 20:50 | 0.10417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Triveni Colony | 1077 | Force majeure due to sabotage
34 | 2018-07-13 | Shalimar Bagh | 20:23 | 21:55 | 0.063889 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Mahendra Park | 2620 | Force majeure due to sabotage
35 | 2018-07-13 | Keshav Puram | 21:13 | 22:42 | 0.061806 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Ashok Vihar | 585 | Interruption due to fault
36 | 2018-07-13 | Rohini | 21:09 | 23:35 | 0.10139 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Sec-14 Rohini | 310 | Force majeure due to sabotage
37 | 2018-07-13 | Model Town | 12:49 | 17:42 | 0.20347 | PLANNED SHUTDOWN | Laying of New LT ABC | Restored/Repaired | Parts of : Mukherjee Nagar | 802 | Scheduled system outage
38 | 2018-07-13 | Model Town | 11:14 | 14:54 | 0.15278 | PLANNED SHUTDOWN | Tyco Replacement | Restored/Repaired | Parts of : Tagore Park | 345 | Scheduled system outage
39 | 2018-07-13 | Keshav Puram | 11:45 | 13:20 | 0.065972 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Gulabi Market | 308 | Interruption due to fault
40 | 2018-07-13 | Model Town | 14:29 | 17:11 | 0.1125 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Azadpur | 477 | Force majeure due to sabotage
41 | 2018-07-13 | Narela | 14:50 | 16:00 | 0.048611 | DISTRIBUTION TR. | LT Socket Burnt | Restored/Repaired | Parts of : Singhu Village | 1032 | Interruption due to fault
42 | 2018-07-13 | Bawana | 15:00 | 17:48 | 0.11667 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kanjhawala | 2782 | Force majeure due to rain
43 | 2018-07-13 | Keshav Puram | 12:51 | 14:55 | 0.086111 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Nimri Village | 2066 | Force majeure due to sabotage
44 | 2018-07-13 | Narela | 15:29 | 16:54 | 0.059028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bakoli Village | 3015 | Force majeure due to rain
45 | 2018-07-13 | Narela | 15:23 | 17:15 | 0.077778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Nangli Village | 2397 | Force majeure due to rain
46 | 2018-07-13 | Narela | 15:50 | 0.8125 | 0.15278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Hiranki | 1788 | Force majeure due to rain
47 | 2018-07-13 | Shalimar Bagh | 15:49 | 18:20 | 0.10486 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Hardev Nagar | 3061 | Force majeure due to rain
48 | 2018-07-13 | Narela | 15:55 | 18:25 | 0.10417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Swaroop Vihar | 5890 | Force majeure due to rain
49 | 2018-07-13 | Keshav Puram | 16:00 | 18:30 | 0.10417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : F-Block Ashok Vihar | 644 | Force majeure due to rain
50 | 2018-07-13 | Mangolpuri | 16:46 | 17:53 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mithila Vihar | 5495 | Force majeure due to rain
51 | 2018-07-13 | Shakti Nagar | 15:43 | 17:40 | 0.08125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Tulsi Nagar | 1926 | Force majeure due to rain
52 | 2018-07-13 | Model Town | 15:30 | 17:45 | 0.09375 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Adarsh Nagar | 1460 | Force majeure due to rain
53 | 2018-07-13 | Shalimar Bagh | 15:14 | 17:18 | 0.086111 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Wazirabad | 2092 | Force majeure due to rain
54 | 2018-07-13 | Shalimar Bagh | 17:18 | 18:25 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jagatpur Village | 717 | Force majeure due to rain
55 | 2018-07-13 | Shakti Nagar | 17:40 | 19:15 | 0.065972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Azad Market | 532 | Force majeure due to rain
56 | 2018-07-13 | Mangolpuri | 16:05 | 17:15 | 0.048611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kalyan Vihar | 2655 | Force majeure due to rain
57 | 2018-07-13 | Moti Nagar | 18:18 | 20:00 | 0.070833 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : F-Block Moti Nagar | 373 | Interruption due to fault
58 | 2018-07-13 | Mangolpuri | 18:51 | 21:15 | 0.1 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Aman Vihar | 352 | Interruption due to fault
59 | 2018-07-13 | Shalimar Bagh | 16:00 | 17:28 | 0.061111 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Haiderpur Village | 733 | Force majeure due to rain
60 | 2018-07-13 | Bawana | 20:10 | 21:25 | 0.052083 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Rama Vihar | 397 | Interruption due to fault
61 | 2018-07-13 | Keshav Puram | 21:21 | 23:20 | 0.082639 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : A-Block Wazirpur | 964 | Interruption due to fault
62 | 2018-07-13 | Rohini | 21:03 | 23:40 | 0.10903 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Rajapur Village | 702 | Interruption due to fault
63 | 2018-07-13 | Bawana | 22:20 | 0.99931 | 0.06875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Mubarakpur Village | 5353 | Force majeure due to sabotage
64 | 2018-07-13 | Shalimar Bagh | 20:26 | 21:45 | 0.054861 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Ambedkar Nagar | 3897 | Interruption due to fault
65 | 2018-07-13 | Badli | 15:05 | 17:10 | 0.086806 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Badli Industrial Area | 843 | Force majeure due to rain
66 | 2018-07-13 | Mangolpuri | 08:26 | 0.39931 | 0.047917 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : H-Block Mangolpuri | 387 | Interruption due to fault
67 | 2018-07-13 | Model Town | 07:10 | 08:28 | 0.054167 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Vishal Market | 518 | Interruption due to fault
68 | 2018-07-13 | Bawana | 13:21 | 0.63194 | 0.075694 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Mahavir Nagar | 880 | Interruption due to fault
69 | 2018-07-13 | Shalimar Bagh | 16:21 | 0.73611 | 0.054861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mukundpur | 868 | Force majeure due to rain
70 | 2018-07-13 | Shakti Nagar | 16:34 | 0.74444 | 0.054167 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shastri Nagar | 428 | Force majeure due to rain
71 | 2018-07-13 | Rohini | 16:35 | 17:50 | 0.052083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Avantika | 570 | Force majeure due to rain
72 | 2018-07-13 | Keshav Puram | 16:55 | 21:01 | 0.17083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Saraswati Colony | 372 | Force majeure due to rain
73 | 2018-07-13 | Keshav Puram | 17:10 | 0.80556 | 0.090278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : H-Block JJ Colony | 752 | Force majeure due to rain
74 | 2018-07-13 | Badli | 17:17 | 18:59 | 0.070833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shiv Vihar | 504 | Force majeure due to rain
75 | 2018-07-13 | Civil Lines | 17:44 | 0.78472 | 0.045833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Punjabi Basti | 390 | Force majeure due to rain
76 | 2018-07-13 | Mangolpuri | 18:01 | 19:30 | 0.061806 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Gauri Shankar Enclave | 478 | Interruption due to fault
77 | 2018-07-13 | Bawana | 19:09 | 0.875 | 0.077083 | LT FEEDER | LT ACB Faulty | Restored/Repaired | Parts of : Nithari | 789 | Interruption due to fault
78 | 2018-07-13 | Bawana | 19:38 | 0.90625 | 0.088194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : Bawana Village | 575 | Force majeure due to fire
79 | 2018-07-13 | Mangolpuri | 20:33 | 21:35 | 0.043056 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Budh Vihar | 1133 | Interruption due to fault
80 | 2018-07-13 | Shalimar Bagh | 20:33 | 0.90972 | 0.053472 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Rajiv Nagar | 609 | Interruption due to fault
81 | 2018-07-13 | Mangolpuri | 13:13 | 15:20 | 0.088194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | DD Unit Flashed | Restored/Repaired | Parts of : Krishna Vihar | 404 | Force majeure due to fire
82 | 2018-07-13 | Moti Nagar | 13:56 | 15:30 | 0.065278 | PLANNED SHUTDOWN | Bus Bar Replacement | Restored/Repaired | Parts of : Naraina Village | 307 | Scheduled system outage
83 | 2018-07-13 | Mangolpuri | 15:44 | 17:09 | 0.059028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Pooth Kalan | 476 | Force majeure due to rain
84 | 2018-07-13 | Badli | 16:11 | 0.75069 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-18 Rohini | 336 | Force majeure due to rain
85 | 2018-07-13 | Pitam Pura | 18:33 | 0.83333 | 0.060417 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Pushpanjali Enclave | 447 | Interruption due to fault
86 | 2018-07-13 | Narela | 11:07 | 0.70833 | 0.24514 | PLANNED SHUTDOWN | New LT Pole Erection | Restored/Repaired | Parts of : Singhola Village | 395 | Scheduled system outage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51