## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___14-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-14 | Moti Nagar | 0.43056 | 13:00 | 0.11111 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Kirti Nagar | 373 | Planned outage
2 | 2018-07-14 | Shalimar Bagh | 11:27 | 0.66667 | 0.18958 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Burari | 939 | Force majeure due to sabotage
3 | 2018-07-14 | Shakti Nagar | 11:15 | 0.58333 | 0.11458 | PLANNED SHUTDOWN | DT Oil Top-up | Restored/Repaired | Parts of : Gulabi Bagh | 768 | Planned outage
4 | 2018-07-14 | Pitam Pura | 03:42 | 08:20 | 0.19306 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Kapil Vihar | 591 | Force majeure due to fire
5 | 2018-07-14 | Badli | 05:41 | 07:20 | 0.06875 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Pansali | 945 | Interruption due to fault
6 | 2018-07-14 | Moti Nagar | 08:22 | 09:30 | 0.047222 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Ramesh Nagar | 1370 | Interruption due to fault
7 | 2018-07-14 | Badli | 08:40 | 11:28 | 0.11667 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Samaypur | 524 | Force majeure due to sabotage
8 | 2018-07-14 | Narela | 09:27 | 12:20 | 0.12014 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Singhu Village | 829 | Force majeure due to sabotage
9 | 2018-07-14 | Mangolpuri | 10:18 | 11:35 | 0.053472 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Sec-20 Rohini | 2654 | Interruption due to fault
10 | 2018-07-14 | Civil Lines | 09:00 | 10:55 | 0.079861 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kabir Basti | 423 | Interruption due to fault
11 | 2018-07-14 | Narela | 0.42986 | 11:27 | 0.047222 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Alipur | 2379 | Interruption due to fault
12 | 2018-07-14 | Badli | 10:03 | 11:25 | 0.056944 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-18 Rohini | 3604 | Interruption due to fault
13 | 2018-07-14 | Bawana | 11:23 | 12:30 | 0.046528 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Karala Village | 2837 | Interruption due to fault
14 | 2018-07-14 | Shakti Nagar | 12:16 | 13:38 | 0.056944 | HT SYSTEM FAULT | Rat Electrocuted | Restored/Repaired | Parts of : Shakti Nagar | 3549 | Interruption due to fault
15 | 2018-07-14 | Mangolpuri | 12:50 | 14:00 | 0.048611 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mithila Vihar | 3555 | Interruption due to fault
16 | 2018-07-14 | Model Town | 12:54 | 15:00 | 0.0875 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Azadpur | 477 | Force majeure due to sabotage
17 | 2018-07-14 | Shalimar Bagh | 13:01 | 14:32 | 0.063194 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Milan Vihar | 706 | Interruption due to fault
18 | 2018-07-14 | Mangolpuri | 13:02 | 0.61111 | 0.068056 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Jalebi Chowk | 4854 | Interruption due to fault
19 | 2018-07-14 | Narela | 13:05 | 14:35 | 0.0625 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Bakoli Village | 2486 | Interruption due to fault
20 | 2018-07-14 | Narela | 10:22 | 12:03 | 0.070139 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Darshan Vihar | 3714 | Planned outage
21 | 2018-07-14 | Narela | 05:46 | 06:50 | 0.044444 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : Hiranki | 1179 | Interruption due to fault
22 | 2018-07-14 | Shakti Nagar | 13:00 | 0.63403 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Shastri Nagar | 855 | Force majeure due to fire
23 | 2018-07-14 | Narela | 15:21 | 16:24 | 0.04375 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Tigipur | 2415 | Interruption due to fault
24 | 2018-07-14 | Narela | 15:54 | 18:00 | 0.0875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due to Fire Message | Restored/Repaired | Parts of : Singhola Village | 383 | Force majeure due to fire
25 | 2018-07-14 | Moti Nagar | 16:44 | 18:50 | 0.0875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Inderpuri | 914 | Force majeure due to sabotage
26 | 2018-07-14 | Narela | 20:34 | 22:00 | 0.059722 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Lampur | 6395 | Interruption due to fault
27 | 2018-07-14 | Narela | 0.85417 | 22:10 | 0.069444 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kadipur | 3715 | Interruption due to fault
28 | 2018-07-14 | Badli | 20:45 | 22:37 | 0.077778 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Siraspur | 1045 | Interruption due to fault
29 | 2018-07-14 | Bawana | 20:45 | 22:10 | 0.059028 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Jain Nagar | 1976 | Interruption due to fault
30 | 2018-07-14 | Badli | 20:53 | 23:11 | 0.095833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Badli | 818 | Force majeure due to fire
31 | 2018-07-14 | Rohini | 05:16 | 07:04 | 0.075 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Avantika | 387 | Interruption due to fault
32 | 2018-07-14 | Mangolpuri | 11:15 | 0.58333 | 0.11458 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Krishna Vihar | 476 | Force majeure due to sabotage
33 | 2018-07-14 | Shalimar Bagh | 11:51 | 13:20 | 0.061806 | PLANNED SHUTDOWN | Laying of New LT ABC | Restored/Repaired | Parts of : Kamal Vihar | 840 | Scheduled system outage
34 | 2018-07-14 | Shalimar Bagh | 11:58 | 0.63889 | 0.14028 | PLANNED SHUTDOWN | New LT Pole Erection | Restored/Repaired | Parts of : Bhalswa Village | 615 | Scheduled system outage
35 | 2018-07-14 | Shalimar Bagh | 12:08 | 14:00 | 0.077778 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Distribution Box Burnt | Restored/Repaired | Parts of : Sangam Vihar | 472 | Interruption due to fault
36 | 2018-07-14 | Mangolpuri | 13:35 | 0.63542 | 0.069444 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Pooth Kalan | 570 | Interruption due to fault
37 | 2018-07-14 | Shalimar Bagh | 0.60556 | 0.65625 | 0.050694 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Amrit Vihar | 901 | Interruption due to fault
38 | 2018-07-14 | Narela | 14:16 | 0.66667 | 0.072222 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 428 | Interruption due to fault
39 | 2018-07-14 | Civil Lines | 15:43 | 0.73611 | 0.08125 | LT FEEDER | LT ACB Flashed | Restored/Repaired | Parts of : Timarpur | 578 | Interruption due to fault
40 | 2018-07-14 | Mangolpuri | 17:14 | 18:24 | 0.048611 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Budh Vihar | 570 | Interruption due to fault
41 | 2018-07-14 | Civil Lines | 18:15 | 20:00 | 0.072917 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Old Gupta Colony | 578 | Interruption due to fault
42 | 2018-07-14 | Narela | 22:38 | 0.99931 | 0.05625 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Kaushik Enclave | 339 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51