## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___15-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-15 | Narela | 16:07 | 0.75694 | 0.085417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT ABC Burnt | Restored/Repaired | Parts of : Swatantra Nagar | 1592 | Force majeure due to fire
2 | 2018-07-15 | Narela | 16:05 | 17:20 | 0.052083 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sungerpur | 3033 | Interruption due to fault
3 | 2018-07-15 | Bawana | 16:14 | 17:56 | 0.070833 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Jain Nagar | 888 | Interruption due to fault
4 | 2018-07-15 | Shalimar Bagh | 16:31 | 18:50 | 0.096528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tyco Box Burnt | Restored/Repaired | Parts of : EE Block Jahangirpuri | 374 | Force majeure due to fire
5 | 2018-07-15 | Model Town | 17:59 | 20:16 | 0.095139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Adarsh Nagar | 370 | Force majeure due to fire
6 | 2018-07-15 | Narela | 20:45 | 0.92014 | 0.055556 | LT FEEDER | LT Cable Fault | Restored/Repaired | Parts of : Sector A-5 Narela | 358 | Interruption due to fault
7 | 2018-07-15 | Shalimar Bagh | 20:39 | 22:00 | 0.05625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : C Block Jahangirpuri | 500 | Force majeure due to sabotage
8 | 2018-07-15 | Keshav Puram | 22:12 | 0.98264 | 0.057639 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Wazirpur Industrial Area | 515 | Interruption due to fault
9 | 2018-07-15 | Narela | 00:37 | 0.076389 | 0.050694 | LT FEEDER | LT Cable Fault | Restored/Repaired | Parts of : Darshan Vihar | 339 | Interruption due to fault
10 | 2018-07-15 | Shalimar Bagh | 05:06 | 06:40 | 0.065278 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Sant Nagar | 7042 | Interruption due to fault
11 | 2018-07-15 | Shalimar Bagh | 06:34 | 07:57 | 0.057639 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : I P Colony | 797 | Interruption due to fault
12 | 2018-07-15 | Bawana | 09:51 | 10:59 | 0.047222 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Rama Vihar | 5353 | Interruption due to fault
13 | 2018-07-15 | Bawana | 08:09 | 09:35 | 0.059722 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Vijay Nagar | 860 | Interruption due to fault
14 | 2018-07-15 | Rohini | 11:09 | 14:54 | 0.15625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Sec-7 Rohini | 806 | Force majeure due to sabotage
15 | 2018-07-15 | Mangolpuri | 11:26 | 0.60417 | 0.12778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Krishan Vihar | 389 | Force majeure due to fire
16 | 2018-07-15 | Shalimar Bagh | 11:25 | 12:40 | 0.052083 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : A Block Jahangirpuri | 3897 | Interruption due to fault
17 | 2018-07-15 | Mangolpuri | 12:05 | 0.56597 | 0.0625 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sultanpuri | 1025 | Interruption due to fault
18 | 2018-07-15 | Shalimar Bagh | 12:22 | 13:35 | 0.050694 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Mahindra Park | 1054 | Interruption due to fault
19 | 2018-07-15 | Civil Line | 15:14 | 16:21 | 0.046528 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Malka Ganj | 871 | Interruption due to fault
20 | 2018-07-15 | Badli | 16:31 | 18:00 | 0.061806 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Siraspur | 523 | Interruption due to fault
21 | 2018-07-15 | Narela | 17:40 | 18:57 | 0.053472 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Sannoth | 3640 | Interruption due to fault
22 | 2018-07-15 | Moti Nagar | 19:13 | 20:15 | 0.043056 | HT SYSTEM FAULT | HT ABC Sparking | Restored/Repaired | Parts of : D Block Sudershan Park | 515 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51