## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 16.07.2018 TO 06:00 HRS OF 17.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 16.07.2018 | CCK | 43297.4271 | 43297.5001 | 1:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BALI MARAN-BARA DARI | 1291
2 | 16.07.2018 | DGN | 43297.4722 | 43297.5451 | 1:45 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB DAMAGED SAME REPAIRED | LIG/MIG FLATS-JEEVAN SARITA | 13
3 | 16.07.2018 | DGN | 43297.6578 | 43297.7183 | 1:27 | LT FEEDER | TO ATTEND FAULT IN THE LINE | CURRENT LEAKAGE PROBLEM FROM POLE SAME ATTENDED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 39
4 | 16.07.2018 | DRG | 43297.7076 | 43297.8854 | 4:16 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | 33KV BUS BAR FLASHED AT MINTO ROAD GRID | BUS BAR CARBONISED SAME ATTENDED | SHANKAR GALI, MIRDARD ROAD, SHAKTI SADAN, G.B.PANT QUARTER'S, RAM LEELA GROUND | 7760 | 33KV BUS BAR FLASHED AT MINTO ROAD GRID. DELAYED IN BACKFEEDING DUE TO HAEVY RAIN AND WATER LOGGING IN THE AREA
5 | 16.07.2018 | JLM | 43297.4758 | 43297.5334 | 1:23 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | JEEWAN BIMA APARTMENT | 3198
6 | 16.07.2018 | KRN | 43297.4496 | 43297.5049 | 1:20 | HT SYSTEM FAULT | CIVIL WORK | FENCING OF S/STATION DAMAGED SAME REPAIRED | SHANKAR NAGAR EXTENSION-AZAD NAGAR | 2743
7 | 16.07.2018 | KWN | 43297.4097 | 43297.4593 | 1:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-SHRI RAM COLONY | 1138
8 | 17.07.2018 | KWN | 43298.1067 | 43298.22 | 2:43 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE REPAIRED | BLOCK-E6 BHAGIRATHI VIHAR | 8 | LT POLE DAMAGED BY UNKNOWN VEHICLE AT E-BLOCK BHAGIRATHI VIHAR
9 | 16.07.2018 | LNR | 43297.4958 | 43297.6172 | 2:55 | HT SYSTEM FAULT | TRIPPING | CONSUMER HT PANEL FLASHED | JP HOTEL | 1 | FLASH OCCURRED AT HT CONSUMER PANEL DUE TO MOISTURE AT S/STATION JP HOTEL
10 | 16.07.2018 | LNR | 43297.5097 | 43297.6147 | 2:31 | HT SYSTEM FAULT | TRIPPING | METERING CUBICAL FLASHED | ST. PETER CONVENT SCHOOL-MOTHER DAIRY | 60 | FLASH OCCURRED IN METERING CUBICAL AT S/STN. DCP OFFICE , AREA WAS BACKFEEDED
11 | 16.07.2018 | LNR | 43297.6736 | 43297.7329 | 1:25 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING WORK CARRIED OUT | BLOCK C-LALITA PARK | 3378
12 | 16.07.2018 | MVR | 43297.6438 | 43297.7049 | 1:28 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | GHAZIPUR VILLAGE | 2211
13 | 16.07.2018 | PHG | 43297.6091 | 43297.6606 | 1:14 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE SAME RMOVED | CHUNA MANDI-PAHAR GANJ | 2131