## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 17.07.2018 TO 06:00 HRS OF 18.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 17.07.2018 | CCK | 43298.3965 | 43298.4982 | 2:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KATRA BARIYAN CHANDNI CHOWK | 260 | PREVENTIVE MAINTENANCE CARRIED OUT AT S/STN. KATRA BARIYAN UNDER PLANNED SHUTDOWN
2 | 18.07.2018 | DRG | 43299.1493 | 43299.2102 | 1:28 | LT FEEDER | TO ATTEND FAULT IN THE CIRCUIT | LT LEAD BURNT SAME REPAIRED | SUI WALAN-CHANDNI CHOWK | 1288
3 | 17.07.2018 | KWN | 43298.4444 | 43298.5 | 1:20 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE CIRCUIT | JUMPER SNAPPED SAME ATTENDED | BADARPUR KHADAR | 860
4 | 17.07.2018 | KWN | 43298.5778 | 43298.6368 | 1:25 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE SAME REMOVED | SHADAT PUR VILLAGE | 732
5 | 17.07.2018 | KWN | 43298.6111 | 43298.6931 | 1:58 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE CIRCUIT | HVDS LEAD FAULTY SAME REPAIRED | SHIV VIHAR PHASE-5 GALI NO 4 | 3400
6 | 17.07.2018 | KWN | 43298.6297 | 43298.7022 | 1:44 | HVDS CABLE & OTHER SYSTEM | HVDS POLE DAMAGED | DAMAGED POLE REPLACED | BLOCK C-BHAGAT SINGH COLONY | 1358
7 | 17.07.2018 | KWN | 43298.7778 | 43298.8597 | 1:58 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE CIRCUIT | HVDS DP FUSE BLOWN SAME REPLACED | GALI NO-14 PART 3 SONIA VIHAR | 1208
8 | 17.07.2018 | KWN | 43298.9021 | 43298.9639 | 1:29 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE CIRCUIT | RMU TRIPPED SAME ATTENDED | BLOCK B-NEHRU VIHAR | 1294
9 | 17.07.2018 | NNG | 43298.666 | 43298.7326 | 1:36 | HT SYSTEM FAULT | TRIPPING | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | GORAKH PARK NNG | 2793
10 | 17.07.2018 | PNR | 43298.5636 | 43298.6398 | 1:50 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE CIRCUIT | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK 18-EAST PATEL NAGAR | 430
11 | 17.07.2018 | YVR | 43298.4893 | 43298.5339 | 1:04 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE CIRCUIT | HT SOCKET BURNT SAME REPLACED | JAFFRABAD-MAUJ PUR | 82
12 | 17.07.2018 | YVR | 43298.4972 | 43298.6608 | 3:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIJAY PARK ADARSH MOHALLA | 180 | PREVENTIVE MAINTENANCE CARRIED OUT AT S/STN. VIJAY PARK ADARSH MOHALLA UNDER PLANNED SHUTDOWN