## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 18.07.2018 TO 06:00 HRS OF 19.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 18.07.2018 | CCK | 43299.3889 | 43299.486 | 2:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | FATEHPURI-KUCHA HASIRAM | 148 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUTDOWN
2 | 18.07.2018 | CCK | 43299.506 | 43299.5863 | 1:56 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | TRANSFORMER REPLACED | MOSQUE-LAL KUAN BAZAR | 1025
3 | 18.07.2018 | JLM | 43299.4771 | 43299.7153 | 5:43 | HT SYSTEM FAULT | HT PANEL REPLACEMENT | HT PANEL REPLACED | BLOCK-C JHILMILL | 103 | HT PENEL FLASHED SAME REPLACED. DELAYED DUE TO HEAVY TRAFFIC AND NARROW LANE IN THE AREA
4 | 18.07.2018 | KRN | 43299.7778 | 43299.8229 | 1:05 | LT FEEDER | LT LEAD BURNT | LT LEAD REPAIRED | RASHID MARKET-JAGATPURI | 1381
5 | 18.07.2018 | KWN | 43299.4889 | 43299.5417 | 1:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-TUKMIRPUR | 589
6 | 18.07.2018 | KWN | 43299.8382 | 43299.8868 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN SAME REPLACED | CHAUHAN PATTI GHONDA | 128
7 | 18.07.2018 | LNR | 43299.5694 | 43299.6715 | 2:27 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | TRANSFORMER REPLACED | W-BLOCK SHAKARPUR | 175 | TRANSFORMER FAULTY SAME HAS BEEN REPLACED
8 | 18.07.2018 | LNR | 43299.6007 | 43299.6715 | 1:42 | LT FEEDER | LT POLE DAMAGED | DAMAGED POLE REPAIRED | FAZALPUR-MANDAWALI VILLAGE | 75
9 | 18.07.2018 | SRD | 43299.4417 | 43299.4965 | 1:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 16A-KAROL BAGH | 459
10 | 18.07.2018 | VSE | 43299.4861 | 43299.5629 | 1:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A & B-VASUNDHARA ENCLAVE | 88
11 | 18.07.2018 | VSE | 43299.6592 | 43299.7103 | 1:14 | HT SYSTEM FAULT | RMU PANEL FLASHED | RMU PANEL REPAIRED | BLOCK-F VASUNDHRA ENCLAVE | 455
12 | 18.07.2018 | YVR | 43299.6083 | 43299.7073 | 2:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK I-BRAHM PURI | 168 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUTDOWN
13 | 18.07.2018 | YVR | 43299.6083 | 43299.7069 | 2:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | X-BLOCK BRAM PURI | 173 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUTDOWN