## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 20.07.2018 TO 06:00 HRS OF 21.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 20.07.2018 | DGN | 43301.4931 | 43301.5694 | 1:50 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE AND WIRE REPAIRED | C-BLOCK SEELAMPUR | 118
2 | 20.07.2018 | DGN | 43301.5583 | 43301.7136 | 3:44 | LT FEEDER | LT POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE AND WIRE REPAIRED | WEST GORAKH PARK | 65 | LT POLE DAMAGED BY UNKNOWN VEHICLE SAME REPAIRED
3 | 21.07.2018 | DRG | 43302.0396 | 43302.1458 | 2:33 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | RMU HT PANEL FLASHED SAME REPAIRED | CHRISTAN COLONY-KHABAS PURA | 371 | RMU HT PANEL FLASHED SAME REPAIRED
4 | 20.07.2018 | JLM | 43301.4854 | 43301.5374 | 1:15 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | PARTAP KHAND JHILMILL | 742
5 | 20.07.2018 | KRN | 43301.4292 | 43301.5018 | 1:45 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | SOCKET DAMAGED SAME REPLACED | POLICE STATION KRISHNA NAGAR | 345
6 | 20.07.2018 | KRN | 43301.6201 | 43301.6944 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | BLOCK A-KANTI NAGAR NORTH | 216
7 | 20.07.2018 | KWN | 43301.321 | 43301.6862 | 8:46 | HT SYSTEM FAULT | BOTH SOURCE LT CABLE FAULTY | FAULTY CABLE REPAIRED | A-BLOCK DAYALPUR | 783 | BOTH SOURCE LT CABLE FAULTY SAME REPAIRED. DELAYED BECAUESE CABLE WAS UNDER SEWER LINE
8 | 20.07.2018 | KWN | 43301.4257 | 43301.4796 | 1:18 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | HVDS DP FUSE BLOWN SAME REPLACED | SHIV VIHAR PHASE-6 | 690
9 | 20.07.2018 | KWN | 43301.4401 | 43301.545 | 2:31 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | HVDS CABLE REPAIRED | RAMA GARDEN KARAWAL NAGAR | 775 | HVDS CABLE FAULTY SAME REPAIRED.DELAYED DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA.
10 | 20.07.2018 | KWN | 43301.4427 | 43301.5248 | 1:58 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | HVDS DP FUSE BLOWN SAME REPLACED | C-BLOCK MUKUND VHR | 975
11 | 20.07.2018 | KWN | 43301.4447 | 43301.4896 | 1:05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | TRANSFORMER FUSE BLOWN SAME REPLACED | JAGDAMBA COLONY | 1070
12 | 20.07.2018 | KWN | 43301.4456 | 43301.5073 | 1:29 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | CHAMAN PARK KARAWAL NAGAR | 1475
13 | 20.07.2018 | KWN | 43301.4481 | 43301.5362 | 2:07 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | HVDS DP FUSE BLOWN SAME REPLACED | SHANTI NAGAR | 923 | BREAK DOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA SAME ATTENDED
14 | 20.07.2018 | KWN | 43301.4487 | 43301.5359 | 2:06 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA | HVDS CABLE REPAIRED | RAM MOHALLA JOHRIPUR | 15 | HVDS CABLE FAULTY SAME REPAIRED.DELAYED DUE TO HEAVY RAIN AND WATER LOGGING IN THE AREA.
15 | 20.07.2018 | KWN | 43301.7464 | 43301.8093 | 1:31 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | PART-6 SONIA VIHAR | 430
16 | 20.07.2018 | LNR | 43301.4688 | 43301.5213 | 1:16 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | D-BLOCK JAGATRAM PARK | 345
17 | 20.07.2018 | SRD | 43301.4806 | 43301.5306 | 1:12 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK-18 RAJENDRA NAGAR | 540