## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 26.07.2018 TO 06:00 HRS OF 27.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 27.07.2018 | CCK | 43308.1237 | 43308.1875 | 1:32 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | COUPLING BUS BAR FLASHED SAME ATTENDED | OLD RAJPAT RAI MARKET | 103
2 | 26.07.2018 | DRG | 43307.5026 | 43307.5882 | 2:03 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | AREA OF TURKMAN GATE DRG | 1365 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
3 | 26.07.2018 | JLM | 43307.3223 | 43307.3757 | 1:17 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | 298 QUARTER'S VIVEK VIHAR | 587
4 | 26.07.2018 | JLM | 43307.9828 | 43308.0328 | 1:12 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | CBD GROUND - SURYA NIKETAN | 940
5 | 26.07.2018 | KRN | 43307.5868 | 43307.7523 | 3:58 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | NEW LAHORE EXTENTION-SHASTRI NAGAR | 1867 | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED
6 | 27.07.2018 | KRN | 43308.0486 | 43308.0983 | 1:12 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | KAUSIK PURI KRISHNA NAGAR | 604
7 | 26.07.2018 | KWN | 43307.3021 | 43307.491 | 4:32 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BHAGAT NAGAR-DAYALPUR | 480 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
8 | 26.07.2018 | KWN | 43307.3042 | 43307.5604 | 6:09 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | SHIV VIHAR PHASE-6 | 604 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
9 | 26.07.2018 | KWN | 43307.3056 | 43307.4694 | 3:56 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | AMAR VIHAR | 518 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
10 | 26.07.2018 | KWN | 43307.31 | 43307.5442 | 5:37 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK J-SHIV VIHAR | 585 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
11 | 26.07.2018 | KWN | 43307.3197 | 43307.5351 | 5:10 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BHAJANPURA-DAYALPUR | 560 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
12 | 26.07.2018 | KWN | 43307.3249 | 43307.491 | 3:59 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK B-NEW CHAUHAN PUR | 861 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
13 | 26.07.2018 | KWN | 43307.3263 | 43307.5042 | 4:16 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK R-PATEL VIHAR | 1939 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
14 | 26.07.2018 | KWN | 43307.3472 | 43307.5172 | 4:05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | ARVIND NAGAR-GHONDA | 360 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
15 | 26.07.2018 | KWN | 43307.351 | 43307.5535 | 4:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | E-BLOCK SONIA VIHAR | 520 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
16 | 26.07.2018 | KWN | 43307.3591 | 43307.5781 | 5:15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK C-BHAGAT SINGH COLONY | 863 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
17 | 26.07.2018 | KWN | 43307.366 | 43307.5319 | 3:59 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK F-MUSTAFABAD | 945 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
18 | 26.07.2018 | KWN | 43307.4444 | 43307.5097 | 1:34 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | SUPPLY NORMALISED AFTER CLEANING THE S/STN. | BLOCK C-MAN SINGH NAGAR | 345
19 | 26.07.2018 | KWN | 43307.4703 | 43307.5201 | 1:12 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | HVDS DP FUSE BLOWN SAME REPLACED | AMAR VIHAR KWR | 45
20 | 26.07.2018 | KWN | 43307.9229 | 43307.9715 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | CONDUCTOR SNAPPED SAME ATTENDED | BADARPUR KHADAR | 1520
21 | 27.07.2018 | KWN | 43308.0153 | 43308.0951 | 1:55 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | HVDS DP FUSE BLOWN SAME REPLACED | C-12 SONIA VIHAR | 966
22 | 27.07.2018 | KWN | 43308.0333 | 43308.2343 | 4:49 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | RAM MOHALLA JOHRIPUR | 88 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
23 | 27.07.2018 | KWN | 43308.0529 | 43308.1086 | 1:20 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | KHAJURI KHADDA KWR | 569
24 | 27.07.2018 | KWN | 43308.0529 | 43308.1293 | 1:50 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | DYALPUR KARAWAL NAGAR | 94
25 | 27.07.2018 | KWN | 43308.1056 | 43308.1846 | 1:54 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | SUPPLY NORMALISED AFTER CLEANING THE S/STN. | C-BLOCK 3 PUSTA SONIA VIHAR | 342
26 | 26.07.2018 | LNR | 43307.3201 | 43307.3764 | 1:21 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | GHAZIPUR VILLAGE | 103
27 | 26.07.2018 | LNR | 43307.3201 | 43307.4604 | 3:22 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK H-GAZIPUR VILLAGE | 643 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
28 | 26.07.2018 | LNR | 43307.3348 | 43307.4125 | 1:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | C BLOCK LALITA PARK | 985
29 | 26.07.2018 | LNR | 43307.5396 | 43307.5826 | 1:02 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | CABLE FAULTY AREA BACKFEEDED | NIRMAN VIHAR | 186
30 | 26.07.2018 | MVR | 43307.5625 | 43307.6722 | 2:38 | HT SYSTEM FAULT | FOR TAKING RMU IN CIRCUIT | REPAIRED RMU TAKEN IN CIRCUIT | 13 BLOCK TRILOKPURI | 255 | BYPASSED RMU HAS BEEN REPAIRED AND SET RIGHT
31 | 26.07.2018 | VSE | 43307.3451 | 43307.4951 | 3:36 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | PKT B4-MAYUR VIHAR PHASE III | 490 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
32 | 26.07.2018 | VSE | 43307.35 | 43307.4771 | 3:03 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | PKT A 2-MAYUR VIHAR PHASE III | 55 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
33 | 26.07.2018 | VSE | 43307.3611 | 43307.5326 | 4:07 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | DALLU PURA VILLAGE | 545 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
34 | 26.07.2018 | VSE | 43307.3611 | 43307.5326 | 4:07 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK C-KONDALI VILLAGE | 512 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
35 | 26.07.2018 | VSE | 43307.366 | 43307.5924 | 5:26 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK A & B-VASUNDHARA ENCLAVE | 760 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
36 | 26.07.2018 | VSE | 43307.3689 | 43307.5694 | 4:49 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | BLOCK-D VASUNDHARA ENCLAVE | 1495 | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED
37 | 26.07.2018 | VSE | 43307.3729 | 43307.5819 | 5:01 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK B-NEW ASHOK NAGAR | 4114 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
38 | 26.07.2018 | VSE | 43307.3847 | 43307.5868 | 4:51 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | BLOCK D-NEW ASHOK NAGAR | 935 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
39 | 26.07.2018 | VSE | 43307.4861 | 43307.5347 | 1:10 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | C-BLOCK KONDALI GHARAULI | 565
40 | 26.07.2018 | VSE | 43307.6007 | 43307.7097 | 2:37 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | CITY APPARTMENT-VASUNDHARA ENCLAVE | 86 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
41 | 26.07.2018 | VSE | 43307.6048 | 43307.6585 | 1:17 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | SUPPLY NORMALISED AFTER CLEANING THE S/STN. | BLOCK A & B-VASUNDHARA ENCLAVE | 80
42 | 26.07.2018 | VSE | 43307.6369 | 43307.691 | 1:18 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | SUPPLY NORMALISED AFTER CLEANING THE S/STN. | BLOCK A-MAYUR VIHAR PHASE III | 12
43 | 26.07.2018 | VSE | 43307.6532 | 43307.6979 | 1:04 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | SUPPLY NORMALISED AFTER CLEANING THE S/STN. | BLOCK D-KONDALI VILLAGE | 460
44 | 26.07.2018 | VSE | 43307.723 | 43307.847 | 2:59 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | PHASE I-MAYUR VIHAR | 95 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
45 | 26.07.2018 | VSE | 43307.7263 | 43307.8533 | 3:03 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN. | AREA NORMALISED AFTER CLEARING THE WATER AT S/STN. | POCKET B7 & B6-MAYUR VIHAR PHASE III | 155 | SUPPLY PUT OFF FOR SAFTY REASON DUE TO HEAVY RAIN & WATER LOGGING AT S/STN.
46 | 27.07.2018 | VSE | 43308.0661 | 43308.1308 | 1:33 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN & WATER LOGGING SAME ATTENDED | HARIJAN BASTI NO - 2 | 656
47 | 26.07.2018 | YVR | 43307.4676 | 43307.5417 | 1:47 | LT FEEDER | FOT TAKING LOAD ON REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK A-CHANDRA LOK | 1304
48 | 26.07.2018 | YVR | 43307.6081 | 43307.672 | 1:32 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | SUBHASH VIHAR-YAMUNA VIHAR | 590

## Sheet2
SR. NO. | DIVISION | SUBDIVISION | BREAKDOWN ID | FAULT ID | GRID | FEEDER | LOSS CATEGORY | SUBDIVISION LOSSES | SUBSTATION | DT | VOLTAGE | LT FEEDER | OPEN TIME | BACKFEEDED | BACKFEED TIME | AFF DURATION | BACKFEED SOURCE | STATUS | CLOSE TIME | DURATION | SCADA TIME | SCADA DUR | CLOSING STATUS | ENTRY MODE | RELAY | RELAY REASON | LOAD | ELEMENT | PROBLEM | GDR ENTRY | FAULT LOCATION | FPI INSTALLED | FPI OPERATED | REMARKS | SCADA CLOSING REMARKS | FORCE MAJEURE ELEMENT | FORCE MAJEURE SUBELEMENT | FORCE MAJEURE REASON1 | FORCE MAJEURE REASON2 | FORCE MAJEURE REASON3 | FORCE MAJEURE REASON4 | FORCE MAJEURE REMARKS | SWITCH ID | TOTAL CONSUMER AFFECTED | CLOSING REMARKS | VEHICLE ID | VEHICLE NO | VEHICLE ASSIGN TIME | VEHICLE MOVEMENT TIME | INFO BY | AREA | IMAGES | ACTION REQUIRED | ACTION TAKEN | REVIEW REASON | REVIEW REMARKS
1 | KWN | GOKUL PURI | B22071800034 | KWN22071800064 | BHAGIRATHI (66/33/11kV) GRID SSTN | (014618)->BHAGIRATHI_11kV_CB_JAGDAMBA COLONY (ALSTOM, VCB) | - | 12.1% |  |  | HT |  | 2018-07-22 11:56 | NO |  |  |  | CLOSED | 2018-07-22 12:55 | 0:58 | 2018-07-22 12:47 | 0:50 | FULLY | AUTO TRIP | AUTO TRIP | TRIPPING | 0 | TRANSIENT FAULT, | TRANSIENT FAULT, | NO VISIBLE FAULT FOUND IN AREA, TRANSIENT FAULT | NO VISIBLE FAULT FOUND IN AREA, TRANSIENT FAULT |  |  |  | FPI operated ,relay reset try at no load held ok | [7 empty] | 14618 | 7085 |  | KWN-BH-1 | DL1YE6815 | 2018-07-22 12:04 |  | SCADA | JOHRI ENCLAVE-BHAGIRATHI VIHAR,TUNDA NAGAR-BHAGIRATHI VIHAR,BHAGIRATHI VIHAR,BLOCK A-CHAMAN PARK,JAGDAMBA COLONY-BHAGIRATHI VIHAR,LAXMI GARDEN-AMBEDKAR NAGAR,BLOCK B-JOHRI PUR,BHAGIRATHI VIHAR,BLOCK B-JOHRI PUR,JOHRI ENCLAVE-BHAGIRATHI VIHAR,BLOCK B-CHAMAN PARK,AMBEDKAR NAGAR INDUSTRIAL AREA-BHAGIRATHI VIHAR,TUNDA NAGAR-BHAGIRATHI VIHAR,BHAGIRATHI VIHAR,BLOCK A-JOHRI PUR,BLOCK F-INDIRA VIHAR,TUNDA NAGAR-BHAGIRATHI VIHAR,BHARAT-AMBEDKAR NAGAR,BHAGIRATHI VIHAR,BLOCK P-SHIV VIHAR,BLOCK F-SHIV VIHAR,SHIV VIHAR,BLOCK C-KARAWAL NAGAR,LIG/MIG RES/NON COMM AREA-SONIA VIHAR, |  | NA | NA | NA | NA
2 | KWN | GOKUL PURI | B22071800032 | KWN22071800062 | KARAWAL NAGAR 33/11kV GRID SSTN | (012126)->KARAWAL NAGAR_11 kV_CB_JHORIPUR MCD SCHOOL(ABB,VCB) | B | 12.1% |  |  | HT |  | 2018-07-22 11:34 | NO |  |  |  | CLOSED | 2018-07-22 12:27 | 0:52 | 2018-07-22 11:58 | 0:23 | PARTIAL | AUTO TRIP | AUTO TRIP | TRIPPING | 0 |  |  | HT CABLE AT JOHRIPUR SCHOOL S/STN DOUBTFUL, ALL OTHER AREA ENERGISED, MOBILE APP NOT WORKING AT SITE | HT CABLE AT JOHRIPUR SCHOOL S/STN DOUBTFUL, ALL OTHER AREA ENERGISED, MOBILE APP NOT WORKING AT SITE |  |  | HT CABLE AT JOHRIPUR SCHOOL S/STN DOUBTFUL, ALL OTHER AREA ENERGISED, MOBILE APP NOT WORKING AT SITE | FPI operated ,relay reset try at no load held ok | [7 empty] | 12126 | 2623 | HT CABLE AT JOHRIPUR SCHOOL S/STN DOUBTFUL, ALL OTHER AREA ENERGISED, MOBILE APP NOT WORKING AT SITE | KWN-BH-1 | DL1YE6815 | 2018-07-22 11:55 |  | SCADA | BLOCK 5-GEETA COLONY,GEETA COLONY,BLOCK 7-GEETA COLONY,JOHRI ENCLAVE-BHAGIRATHI VIHAR,TUNDA NAGAR-BHAGIRATHI VIHAR,BHAGIRATHI VIHAR,LAXMI GARDEN-AMBEDKAR NAGAR,BLOCK B-JOHRI PUR,BHAGIRATHI VIHAR,BLOCK B-JOHRI PUR,BLOCK B-CHAMAN PARK,AMBEDKAR NAGAR INDUSTRIAL AREA-BHAGIRATHI VIHAR,TUNDA NAGAR-BHAGIRATHI VIHAR,BHAGIRATHI VIHAR,BLOCK A-JOHRI PUR,BLOCK F-INDIRA VIHAR,TUNDA NAGAR-BHAGIRATHI VIHAR,BHARAT-AMBEDKAR NAGAR,BHAGIRATHI VIHAR,SHIV VIHAR, |  | NA | NA | NA | NA
3 | KWN | SONIA VIHAR | B22071800018 | KWN22071800043 | SONIA VIHAR 66/11kV GRID | (013267)->SONIA VIHAR GRID_11kV_CB_KHAJURI KHADDA | A | 13.57% |  |  | HT |  | 2018-07-22 09:45 | NO |  |  |  | CLOSED | 2018-07-22 10:45 | 0:59 | 2018-07-22 10:45 | 0:59 | FULLY | AUTO TRIP | AUTO TRIP | TRIPPING | 132 | TRANSIENT FAULT, | TRANSIENT FAULT, | FLASH IN RMU AT KHAJURI KHADDA, CLEANED PROPERLY AND FEEDER ENERGISED, BREAKDOWN APP NOT WORKING AT SITE | FLASH IN RMU AT KHAJURI KHADDA, CLEANED PROPERLY AND FEEDER ENERGISED, BREAKDOWN APP NOT WORKING AT SITE |  |  | FLASH IN RMU AT KHAJURI KHADDA, CLEANED PROPERLY AND FEEDER ENERGISED, BREAKDOWN APP NOT WORKING AT SITE | Self Permit | [7 empty] | 13267 | 5800 |  | KWN-BH-1 | DL1YE6815 | 2018-07-22 09:57 |  | SCADA | BALI MARAN-BARA DARI,BLOCK A & B-VASUNDHARA ENCLAVE,GURU ANGAD NAGAR EAST-SWASTHYA VIHAR,BLOCK F-KHAJURI KHAS EXTN.,BLOCK I-KHAJURI KHAS EXTN.,BLOCK C-KHAJURI KHAS,BLOCK C-SHERPUR,BLOCK J-KHAJURI KHAS,CLOCK C-BIHARIPUR,BLOCK A-KHAJURI KHAS,BLOCK B-KHAJURI KHAS,BLOCK C-KHAJURI KHAS,PKT A-BLOCK B,LIG/MIG RES/NON COMM AREA-BLOCK B,FATEHPURI-KUCHA HASIRAM,DARIBA KALA-KATRA MASHRU,BLOCK A-DALLU PURA VSE,DANIK JANYOG-VASUNDHARA ENCLAVE VSE, |  | NA | NA | NA | NA
4 | KWN | GOKUL PURI | B22071800003 | KWN22071800007 | BHAGIRATHI (66/33/11kV) GRID SSTN | (008281)->BHAGIRATHI_11kV_CB_BRIJPURI ROAD+LOCAL TRF-2(ALSTOM, VCB) | A | 12.1% |  |  | HT |  | 2018-07-22 05:14 | NO |  |  |  | CLOSED | 2018-07-22 05:41 | 0:26 | 2018-07-22 05:31 | 0:16 | PARTIAL | AUTO TRIP | AUTO TRIP | TRIPPING | 90 |  |  | dd fuse blown at ziauddinpur dp | DD FUSE BLOWN AT ZIAUDDINPUR DP |  |  |  | FPI operated ,relay reset try at no load held ok | [7 empty] | 8281 | 5991 |  | KWN-BH-1 | DL1YE6815 | 2018-07-22 05:41 |  | SCADA | GEETA COLONY,BLOCK E-BHAGIRATHI VIHAR,BLOCK F-BHAGIRATHI VIHAR,BHAGIRATHI VIHAR,JOHRI ENCLAVE-BHAGIRATHI VIHAR,BLOCK D-BHAGIRATHI VIHAR,BLOCK A-MAN SINGH NAGAR,BLOCK H-OLD MUSTAFABAD,BLOCK C-MAN SINGH NAGAR,BHAJANPURA-DAYALPUR,BLOCK E-BRIJ PURI,PKT R-BLOCK D,BLOCK E-INDIRA VIHAR,BLOCK C-BHAGIRATHI VIHAR,BLOCK B-MAN SINGH NAGAR,BHAGIRATHI VIHAR,BLOCK H-BHAGIRATHI VIHAR,BLOCK B-OLD MUSTAFABAD,BLOCK G-BHAGIRATHI VIHAR,BLOCK T-OLD MUSTAFABAD,BLOCK C-BRIJ PURI,BLOCK B-BHAGIRATHI VIHAR,JHILMIL INDUSTRIAL AREA-JHILMIL COLONY,GGS INDRAPRASTHA UNIVERSITY-KASHMERE GATE,BLOCK N-SHIV VIHAR,BLOCK M-SHIV VIHAR,BLOCK A-SADATPUR EXT-PUSTA AREA-L BLOCK,BLOCK F-SHIV VIHAR,PKT A-BLOCK B,LIG/MIG RES/NON COMM AREA-SONIA VIHAR,LIG/MIG RES/NON COMM AREA-SONIA VIHAR,BLOCK C-MUSTAFABAD (DAYALPUR),LIG/MIG RES/NON COMM AREA-SONIA VIHAR, |  | NA | NA | NA | NA
5 | KWN | SONIA VIHAR | B22071800001 | KWN22071800003 | SONIA VIHAR 66/11kV GRID | (026954)->SONIA VIHAR GRID_11kV_CB_SHERPUR CHOWK | - | 13.57% |  |  | HT |  | 2018-07-22 00:19 | NO |  |  |  | CLOSED | 2018-07-22 05:20 | 5:01 | 2018-07-22 00:11 | 0:-8 | FULLY | MANUAL | AUTO TRIP | TRIPPING | 80 | 11KV CABLE, | CABLE FAULT, | ht cable fualty from sherpur chowk to jile singh ki kothi and breaker bypass at sherpur chowk | HT CABLE FUALTY FROM SHERPUR CHOWK TO JILE SINGH KI KOTHI AND BREAKER BYPASS AT SHERPUR CHOWK |  |  |  | FPI operated ,relay reset try at no load held ok | CABLE DAMAGE | [6 empty] | 26954 | 928 | inform to flc | KWN-BH-1 | DL1YE6815 | 2018-07-22 00:37 |  | so | BLOCK E-BRIJ PURI,BLOCK C-BRIJ PURI,BIHARI COLONY-SHAHDARA,BLOCK C-TUKMIRPUR,BLOCK C-KHAJURI KHAS,BLOCK C-SHERPUR,CLOCK C-BIHARIPUR,BLOCK D-TUKMIRPUR,BLOCK B-KHAJURI KHAS,BLOCK B-NEHRU VIHAR,BLOCK D-SHERPUR,BLOCK D-KHAJURI KHAS,BLOCK B-CHANDU NAGAR, |  | NA | NA | NA | N