## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 31.07.2018 TO 06:00 HRS OF 01.08.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 31.07.2018 | DRG | 43312.9605 | 43313.0325 | 1:44 | HVDS CABLE & OTHER SYSTEM | FAULT IN LT CIRCUIT | 300MM CABLE BURNT SAME REPLACED | TURKMAN GATE | 353
2 | 31.07.2018 | JLM | 43312.4369 | 43312.4823 | 1:05 | HT SYSTEM FAULT | TRIPPING | RMU BUSHING DAMAGED SAME REPLACED | DDA COMMUNITY CENTER | 243
3 | 31.07.2018 | JLM | 43312.8049 | 43312.9178 | 2:42 | HT SYSTEM FAULT | FAULT IN LT CIRCUIT | TO ATTEND FAULT IN LT CIRCUIT | AGCR ENCLAVE-ANAND VIHAR | 210 | LTACB FLASHED DUE TO LT CABLE FAULTY AT S/STN AGCR COLONY
4 | 31.07.2018 | KWN | 43312.3944 | 43312.4808 | 2:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-CHANDU NAGAR | 433 | PREVENTIVE MAINTENANCE CARRIED OUT AT S/STN A-BLK NEHRU VIHAR UNDER PLANNED SHUTDOWN
5 | 31.07.2018 | KWN | 43312.6431 | 43312.693 | 1:12 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | E BLK KHAJURI KHADDA | 569
6 | 31.07.2018 | PHG | 43312.5271 | 43312.6333 | 2:33 | LT FEEDER | EMERGENCY MAINTENANCE | PREDICTIVE MAINTENANCE | NAYA MOHALLA-KISHAN GANJ | 957 | GAS FILLING IN RMU AT S/STN BG ROAD COMPLAINT CENTER ONLY ONE NO. DT CONSUMER AFFECTED
7 | 31.07.2018 | YVR | 43312.4736 | 43312.5492 | 1:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAUJ PUR COMPLEX 1 | 2663 | PREVENTIVE MAINTENANCE CARRIED OUT AT S/STN NOOR-E-ILAHI UNDER PLANNED SHUTDOWN