## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 17/07/2018 06:00Hr. To 18/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 18/07/2018 | JKP | 04:17 | 05:54 | 01:36 | HT SYSTEN FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV KACHA TIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : KACHHA TIHAR,, ASHOK NAGAR,, MANAK VIHAR ,, RAJOURI GARDEN | 496
2 | 18/07/2018 | NJF | 02:20 | 03:36 | 01:15 | HT SYSTEN FAULT | Grid: To Feeder:11kV FDR CHHAWLA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SOMESH VIHAR,, BSF CAMP CHHAWLA,, CHHAWLA VILLAGE,, REWLA KHANPUR,, RAGHUBIR ENCLAVE,, NAJAFGARH PARK,, SHIV ENCLAVE A B C D E BLOCK,, NEW HEERA PARK,, DICHAON KALAN,, GOPAL NAGAR | 522
3 | 18/07/2018 | SVR | 00:11 | 01:25 | 01:14 | HT SYSTEN FAULT | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR GYAN MANDIR , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : I-BLOCK EKTA VIHAR JAITPUR EXT PART-1 | 329
4 | 17/07/2018 | PLM | 23:51 | 01:21 | 01:30 | HT SYSTEN FAULT | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPURI HANS PARK , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : MADAN PURI HANS PARK,, BABA BALAKNATH MARG,, SHIV PURI | 480
5 | 17/07/2018 | DWK | 22:41 | 00:01 | 01:20 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR PRAGYA CGHS SEC-2 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : RAJA PARK MADHU VIHAR,, MAHAVIR ENCLAVE PART II | 462
6 | 17/07/2018 | PLM | 17:39 | 18:43 | 01:03 | HT SYSTEN FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE,, Nasirpur Mandir ,, Nasirpur Mandir,, Harizan Basti (dharamkanta),, H-2, BLOCK BANGALI COLONY | 567
7 | 17/07/2018 | DWK | 17:02 | 18:41 | 01:39 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-19 PKT-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : NDIAN OIL CNG PUMP SEC-19,, ALL INDIA FOOTBALL FEDERATION,, PLOTTED AREA SEC-19 ,, D.D.A Flat Sect-19 Pocket-2 ,, BHARTIYA APPTT, SEC-19 DWARKA,, AMBARHI VILLAGE SEC-19 | 482
8 | 17/07/2018 | VKJ | 12:22 | 13:53 | 01:31 | HT SYSTEN FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : GHITORNI VILLAGE. | 415
9 | 17/07/2018 | NJF | 11:11 | 12:23 | 01:12 | HT SYSTEN FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR KANGAN HERI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : BLOCK A-B-C-NEW HEERA PARK,, DICHAON KALAN,, JHARODA KALAN,, CHHAWLA VILLAGE,, GOYLA KHURD,, REWLA KHANPUR,, QUTUB VIHAR,, BADU SARAI,, KANGAM HERI,, NATHU RAM PARK,, UGRASEN PARK,, NAJAFGARH VILLAGE,, NANGLI SAKRAOTI,, PINDWALAN KHURD,, JHATIKARA,, SHANTI VIHAR,, BETAISTA ENCLAVE,, SHYAM VIHAR COLONY PHASE-I BLOCK-E-EXT, | 470
10 | 17/07/2018 | MDK | 10:39 | 12:03 | 01:23 | HT SYSTEN FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : MUNDKA VILLAGE,, GHEWRA VILLAGE,, TIKRI KALAN VILLAGE | 539
11 | 17/07/2018 | NZD | 10:24 | 11:49 | 01:25 | HT SYSTEN FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:BHAIRO ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MATKA PEER,, BHAIRON ROAD DTC CONTROL ROOM,, SUNDAR NAGAR,, PURANA QILA,, CRAFT MESEUM (HT CONSUMER),, NATIONAL SCIENCE CENTER PRA (HT CONSUMER) | 522
12 | 17/07/2018 | PLM | 07:55 | 09:16 | 01:20 | HT SYSTEN FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV SADH NAGAR GALI NO.-9 , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK GH13,, SADH NAGAR,, PALAM COLONY,, RAJ NAGAR | 498
13 | 17/07/2018 | VKP | 07:35 | 09:18 | 01:42 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR KALI BASTI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : GANGA APARTMENT,, KALI BASTI, DJB (HARIJAN BASTI) | 488
14 | 17/07/2018 | MNG | 06:57 | 08:01 | 01:04 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR NWADA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : B-BLOCK MOHAN GARDEN,, GULAB BAGH | 529
15 | 17/07/2018 | SVR | 15:20 | 16:47 | 01:27 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-6 SHAHIN BAGH NEAR POLICE CHOKI , DISTRIBUTION TRANSFORMER,:HT CABLE END TERMINATION FAULTY, | RESTORED/ REPAIRED | Part of : E-BLK SHAHEEN BAGH | 84
16 | 17/07/2018 | SVR | 13:20 | 14:21 | 01:01 | LT FEEDER | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA STADIUM + RMU NO.-2 , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : ALTAKWA MASJID BATLA HOUSE | 89
17 | 17/07/2018 | SKT | 13:06 | 14:20 | 01:13 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR MALVIYA NAGAR HOSPITAL , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : J-4 KHIRKI EXTN:PM | 97
18 | 17/07/2018 | SVR | 12:32 | 14:06 | 01:33 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : JASOLA VILLAGE_1 | 72
19 | 17/07/2018 | SVR | 11:45 | 12:45 | 01:00 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : VASIST FARM HARINAGAR NO-2 | 21
20 | 17/07/2018 | HKS | 11:21 | 12:39 | 01:17 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-4, S.J ENCLAVE , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : B-4, SAFDARJUNG ENCLAVE | 62
21 | 17/07/2018 | MNG | 14:55 | 16:31 | 01:35 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11 kV FDR C&D BLOCK MOHAN GARDEN , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : A&B-BLOCK MOHAN GARDEN | 316
22 | 17/07/2018 | PJB | 14:33 | 15:55 | 01:21 | EMERGENCY SHUTDOWN | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:ROHTAK ROAD GRID TO ROAD NO 43 , TRANSFORMER:INSTALLATION OF MOBILE TRANSFORMER | RESTORED/ REPAIRED | Part of : SHIVAJI PARK | 67
23 | 17/07/2018 | VKJ | 13:55 | 15:42 | 01:47 | EMERGENCY SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , 11KV FEEDER:CONNECTION/DISCONNETION OF HT/LT CABLES | RESTORED/ REPAIRED | Part of : A-BLOCK MAHIPAL PUR EXTN. | 316
24 | 17/07/2018 | VKJ | 16:07 | 17:29 | 01:22 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KISHAN GARH,, PKT A VASANT KUNJ SECTOR A | 322
25 | 17/07/2018 | MDK | 14:07 | 16:47 | 02:40 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR P.V.C MARKET-1 , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : TIKRI KALAN VILLAGE | 347
26 | 17/07/2018 | ALN | 14:00 | 17:07 | 03:07 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-1, (RMU CHECK POST) , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : MASTER MOHALLA,TUGLAKABAD | 425
27 | 17/07/2018 | VKJ | 13:07 | 16:25 | 03:18 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ARMY AREA SHANKAR VIHAR | 265
28 | 17/07/2018 | TGN | 13:07 | 15:57 | 02:50 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 20-BLOCK TILAK NAGAR , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : TILAK NAGAR BLOCK 21 | 304
29 | 17/07/2018 | VKP | 13:07 | 16:15 | 03:08 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV L.I.G-2 HASTSAL , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : MOHAN GARDEN BLOCK K,, VIJAY VIHAR,, OM VIHAR PHASE V,, HASTSAL | 471
30 | 17/07/2018 | NJF | 12:20 | 16:09 | 03:49 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DEENPUR FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SHANTI VIHAR,, DURGA VIHAR,, PREM NAGAR,, ROSHAN PURA VILLAGE,, VIJAY PARK,, VARDHMAN VIHAR F & U BLOCK,, SHYAM VIHAR | 506
31 | 17/07/2018 | DWK | 12:15 | 14:07 | 01:52 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY PH-1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : JAIN COLONY,, SAHYOG VIHAR,, PARAM PURI,, BLOCK T,, JAIN COLONY,, NANHEY PARK,, PAPAN KALAN,, SUBHASH PARK,, SUKH RAM PARK,, UTTAM NAGAR,, RAJA PARK MADHU VIHAR,, PARAM PURI | 581
32 | 17/07/2018 | PLM | 12:07 | 16:54 | 04:47 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV NASIRPUR M.C.D SCHOOL , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : SAGARPUR MAIN,, D BLOCK SITAPURI PURI,, SHIVPURI GALI NO.15,VIJAY ENCLAVE | 281
33 | 17/07/2018 | JFR | 12:00 | 16:12 | 04:12 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RMU OUTSIDE GRID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SURBERA,, ISSA PUR,, MUNDHELA KALAN,BAKARGARH,, BAKARGARH | 442
34 | 17/07/2018 | NJF | 11:15 | 14:12 | 02:57 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR ARJUN PARK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : GHASI PURA,, PREM VIHAR ,, NIRANJAN VILL. NANGLI | 340
35 | 17/07/2018 | NGL | 11:00 | 12:52 | 01:52 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BAPROLLA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE,, TILANGPUR KOTLA VILLAGE,, RANHOLLA,, SHAFIPUR RANHOLA VILLAGE,, NILOTHI,, ADHYAPAK NAGAR,, PRATAP VIHAR | 451
36 | 17/07/2018 | NZD | 11:00 | 16:40 | 05:40 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11 kV FDR SIDDHARTHA EXTN.VIA, KILOKARI COMPLAINT CENTER , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : POCKET-A, SIDHARTHA EXTN. | 74
37 | 17/07/2018 | KPR | 11:00 | 12:54 | 01:54 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : JAWAHAR PARK | 291
38 | 17/07/2018 | PJB | 11:00 | 15:50 | 04:50 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV PUNJABI BAGH COMPLENT CENTER FEEDER NO:1 , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : ROAD-56 PUNJABI BAGH WEST | 191
39 | 17/07/2018 | RKP | 10:00 | 12:14 | 02:14 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR VENKTESHWAR COLLEGE , LT CIRCUIT:LOAD BALANCING. | RESTORED/ REPAIRED | Part of : E-BLOCK ANAND NIKETAN | 71

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES