## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 19/07/2018 06:00Hr. To 20/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 19/07/2018 | NJF | 06:42 | 08:03 | 01:20 | HT SYSTEM FAULT | Grid: To Feeder:11kV FDR CHHAWLA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : ,SOMESH VIHAR,BSF CAMP CHHAWLA,CHHAWLA VILLAGE,REWLA KHANPUR_2 | 539
2 | 19/07/2018 | NHP | 07:20 | 08:28 | 01:08 | HT SYSTEM FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SAI PLAZA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SOUTH EXTENSION PART II BLOCK P,AMAR COLONY_1,AMRITPURI (GARHI),SANT NAGAR (EAST OF KAILASH),EAST OF KAILASH BLOCK F,EAST OF KAILASH BLOCK D,EAST OF KAILASH,AMAR COLONY,KALKAJI, | 619
3 | 19/07/2018 | PLM | 07:27 | 08:46 | 01:18 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-23, POLICE STATION , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,DWARKA SECTOR 23_1 | 511
4 | 19/07/2018 | VKJ | 07:30 | 08:53 | 01:23 | EMERGENCY SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11 KV FDR PALAM MEHRAM NAGAR_VKJ , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : IGI AIRPORT_2,PALAM FARMS_2 | 256
5 | 19/07/2018 | SKT | 10:00 | 13:19 | 03:19 | PLANNED SHUTDOWN | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-10 SHANTI KHANNA T OFF , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,SAHOARPUR VILLAGE,CHANDANHULA VILLAGE_2 | 526
6 | 19/07/2018 | HKS | 10:00 | 13:20 | 03:20 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR MAYFAIR GARDEN , LT CIRCUIT:TREE TRIMMING | RESTORED/ REPAIRED | Part of : MAYFAIR GARDEN, | 38
7 | 19/07/2018 | SKT | 10:58 | 12:03 | 01:05 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR C-BLOCK SHIVALIK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : ,MALVIYA NAGAR BLOCK A | 43
8 | 19/07/2018 | MDK | 11:00 | 14:22 | 03:22 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-1 , HVDS:POLE ERRECTION/STRAIGTHENING | RESTORED/ REPAIRED | Part of : TIKRI KALAN VILLAGE_2, | 631
9 | 19/07/2018 | PLM | 11:00 | 17:04 | 06:04 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:11KV FDR STORE SECTOR-8 (PLM) , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : RAJ NAGAR II_1,RAJ NAGAR EXTENSION_1, | 476
10 | 19/07/2018 | UMN | 11:00 | 15:23 | 04:23 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR R & S BLOCK CHANAKYA PLACE , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : BINDAPUR, | 73
11 | 19/07/2018 | PJB | 11:00 | 14:26 | 03:26 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV A-2 COMMUNITY CENTER , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK A2,PUNJABI BAGH WEST | 79
12 | 19/07/2018 | JKP | 11:00 | 15:33 | 04:33 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : ,RAJOURI GARDENBLOCK W | 433
13 | 19/07/2018 | TGN | 11:07 | 13:54 | 02:47 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR MUKHERJEE PARK SCHOOL WALA , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : ,HIND NAGAR_1 | 269
14 | 19/07/2018 | SVR | 11:07 | 15:51 | 04:44 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ABDUL FAZAL ENCLAVE PART I_1, | 573
15 | 19/07/2018 | ALN | 11:22 | 12:34 | 01:12 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,CR PARK BLOCK B | 36
16 | 19/07/2018 | SKT | 11:22 | 17:42 | 06:20 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR M.E.S , 11KV FEEDER:MAINTENANCE/REPAIR OF RMU | RESTORED/ REPAIRED | Part of : ,SULTANPUR | 469
17 | 19/07/2018 | NJF | 11:30 | 15:00 | 03:30 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : NANGLI SAKRAOTI, | 671
18 | 19/07/2018 | KPR | 11:49 | 13:00 | 01:11 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR NEW D-BLOCK SANGAM VIHAR , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : ,SANGAM VIHAR BLOCK D | 163
19 | 19/07/2018 | NGL | 11:55 | 15:35 | 03:40 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR GH-14 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : INDER ENCLAVE_2, | 63
20 | 19/07/2018 | JFR | 12:10 | 15:56 | 03:46 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JAFFARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,SAMASPUR KHALSA_1,UJWA_3,UJWA_1 | 518
21 | 19/07/2018 | SKT | 12:15 | 14:25 | 02:10 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR NEB SARAI VADERA P/M SSTN. , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : ,NEB SARAI | 49
22 | 19/07/2018 | RKP | 12:26 | 13:48 | 01:22 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR ANAND NIKETAN , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : ,BLOCK B ANAND NIKETAN,ANAND NIKETAN | 62
23 | 19/07/2018 | HKS | 12:31 | 13:40 | 01:09 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR TIKONA PARK , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : BHIM NAGARI, | 42
24 | 19/07/2018 | PLM | 13:07 | 16:49 | 03:42 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV MANDIR MARG , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART I,MAHAVIR ENCLAVE PART-1 BLOCK G,G-1A& A1,VIJAY ENCLAVE | 57
25 | 19/07/2018 | PLM | 13:07 | 16:50 | 03:43 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV NASIRPUR M.C.D SCHOOL , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : ,PASCHIM VIHAR BLOCK A5,SAGARPUR WEST,SHIVPURI,SECTOR 1 | 571
26 | 19/07/2018 | TGN | 13:07 | 16:45 | 03:38 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 224-SFS T.GDN , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : ,TILAK NAGAR BLOCK 13,SHAM NAGAR | 467
27 | 19/07/2018 | VKJ | 13:07 | 14:42 | 01:35 | PLANNED SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR RAJOKARI , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : ,IGI AIRPORT_1 | 54
28 | 19/07/2018 | SVR | 13:30 | 14:30 | 01:00 | HT SYSTEM FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH, | 718
29 | 19/07/2018 | VKJ | 13:36 | 17:52 | 04:16 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR TEMPO STAND , LT CIRCUIT:LAYING OF NEW LTAB | RESTORED/ REPAIRED | Part of : MEHRAULI,DESU COLONY, | 447
30 | 19/07/2018 | JKP | 13:57 | 15:58 | 02:01 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV TIKONA PARK , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : ASHOK NAGAR_1,,ASHOK NAGAR BLOCK 36,58 | 621
31 | 19/07/2018 | HKS | 14:17 | 15:34 | 01:16 | HT SYSTEM FAULT | Grid:33kV I.I.T GRID To Feeder:11kV FDR TELEPHONE EXCHANGE , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : HAUZ KHAS ENCLAVE BLOCK K,,SAFDARJANG DEVELOPMENT AREA | 497
32 | 19/07/2018 | MNG | 14:40 | 16:31 | 01:50 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR C&D BLOCK MOHAN GARDEN , HT INTERMEDIATE FEEDER:CONNECTION/DISCONNETION OF HT/LT CABLES | RESTORED/ REPAIRED | Part of : ,MOHAN GARDEN BLOCK A | 437
33 | 19/07/2018 | SVR | 15:07 | 17:33 | 02:26 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : MOLARBAND EXTENSION, | 607
34 | 19/07/2018 | SVR | 15:52 | 17:00 | 01:08 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : ABDUL FAZAL ENCLAVE PART I_1, | 71
35 | 19/07/2018 | SVR | 16:07 | 17:30 | 01:23 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S NO.-1 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PHASE I, | 113
36 | 19/07/2018 | ALN | 18:03 | 19:15 | 01:12 | LT FEEDER | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR C-BLOCK KALKAJI , DISTRIBUTION TRANSFORMER,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : KALKAJI EXTENSION_2, | 114
37 | 19/07/2018 | DWK | 18:22 | 19:36 | 01:14 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-3_13 X-ING , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,BHARAT VIHAR,TRANSIT CAMP,SEC 15,TARA NAGAR,SECTOR 15,DWARKA SECTOR 14 | 567
38 | 19/07/2018 | VKP | 18:41 | 20:15 | 01:34 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR RAJHANS VIHAR , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH I PKT A,SHANTI PARK,MANSA RAM PARK_3,PANCHSHIL ENCLAVE,DEEP ENCLAVE, | 507
39 | 19/07/2018 | PJB | 18:46 | 20:00 | 01:14 | HT SYSTEM FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR D.T.C DEPOT , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH II BLOCK J,RBI ENCLAVE,PASCHIM VIHAR BLOCK A1,PASCHIM VIHAR BLOCK A1B,PASCHIM VIHAR MIG FLATS_2,PASCHIM VIHAR BLOCK A3,PIRA GARHI RELIEF CAMP,NEW MULTAN NAGAR,PASCHIM VIHAR,SHAKUR BASTI, | 729
40 | 19/07/2018 | NGL | 19:29 | 20:29 | 01:00 | HVDS CABLE & OTHER SYSTEM | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : AMAN PURI,,NIHAL VIHAR_1 | 573
41 | 19/07/2018 | TGN | 21:05 | 22:07 | 01:01 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR MUKHERJEE PARK SCHOOL WALA , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK GH14,MUKHARJI PARK_2,HIND NAGAR_2,GANGARAM VATIKA_2,MUKHRAM GARDEN_2,VISHNU GARDEN,HIND NAGAR_1,GANGARAM VATIKA_1,MUKHRAM GARDEN_1, | 691
42 | 20/07/2018 | MNG | 00:40 | 02:19 | 01:38 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : OM VIHAR | 512
43 | 20/07/2018 | JKP | 01:36 | 03:21 | 01:44 | HT SYSTEM FAULT | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BLOCK B MAYAPURI,MAYAPURI INDUSTRIAL AREA PHASE I, | 476
44 | 20/07/2018 | NGL | 04:06 | 05:16 | 01:10 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TP KOTLA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : NILOTHI_1,BAPROLA VILLAGE_5,TILANGAPUR KOTLA VILLAGE_2,SHAFIPUR RANHOLA VILLAGE_3,NANGLI VIHAR,BAPROLLA VILLAGE,TILANGPUR KOTLA VILLAGE,SATYAM VIHAR,GRAM SABHA COLONY,CHANDER VIHAR,TEACHER VIHAR,VIKASPURI EXTN,GURUNANAK VIHAR,RANHOLLA,GIRI NAGAR,LAKSHMI PARK, | 643
45 | 20/07/2018 | KPR | 04:25 | 05:45 | 01:19 | HVDS CABLE & OTHER SYSTEM | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : JAWAHAR PARK_1,,DEOLI | 545
46 | 20/07/2018 | SKT | 04:31 | 05:48 | 01:17 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , : TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BHAGWAN DAS COLONY BLOCK B,SATBARI VILLAGE_1,SAHOARPUR VILLAGE,FATEHPUR BERI VILLAGE_2, | 581
47 | 20/07/2018 | VKJ | 05:10 | 06:36 | 01:25 | HT SYSTEM FAULT | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR GMR OPPOSITE PALAM GRID , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRILOK COLONY,BLOCK A MAHIPAL PUR EXTN.,MILAKPUR KOHI RANGPURI,MAHIPAL PUR EXTN.,MAHIPAL PUR VILLAGE,RANG PURI,SHAHABAD MOHAMMADPUR_1,MAHIPAL PUR, | 589
48 | 20/07/2018 | HKS | 05:40 | 07:35 | 01:54 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SIIA NO.-2 ARCHINI RMU NEAR RED LIGHT , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : NEW MOTI NAGAR BLOCK T, | 306
49 | 20/07/2018 | MNG | 05:41 | 07:34 | 01:53 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR C&D BLOCK MOHAN GARDEN , HT O/H,:INSULATOR BROKEN/PUNCTURED, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH I PKT A,MOHAN GARDEN, | 624