## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 21/07/2018 06:00Hr. To 22/07/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 22/07/2018 | NHP | 04:11 | 05:29 | 01:17 | HT SYSTEN FAULT | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR VIKRAM HOTEL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : VIKRAM VIHAR | 227
2 | 21/07/2018 | JKP | 23:51 | 01:17 | 01:25 | HT SYSTEN FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-11, D.C JANAKPURI+BOOSTER PUMP VIA RMU , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JANAKPURI DISTRICT CENTRE,, POSHANGIPUR | 476
3 | 21/07/2018 | TGN | 23:01 | 00:37 | 01:36 | HT SYSTEN FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR B-1/283 VISHNU GARDEN , LT U/G CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK GH14,KHYALA,, SHAM NAGAR,, VISHNU GARDEN | 523
4 | 21/07/2018 | TGN | 20:17 | 21:31 | 01:13 | HT SYSTEN FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR RAM NAGAR EXTENTION + AB BLOCK KHYALA , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : SANT NAGAR,, CHAUKHANDI VILLAGE,, MUKHRAM GARDEN | 469
5 | 21/07/2018 | UMN | 20:01 | 21:40 | 01:39 | HVDS CABLE & OTHER SYSTEM | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : BINDAPUR,, MAHAVIR ENCLAVE PART III | 560
6 | 21/07/2018 | PJB | 18:20 | 19:22 | 01:01 | HT SYSTEN FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR D.T.C DEPOT , 11KV GRID PANEL,:CT MOISTURE / DAMAGED, | RESTORED/ REPAIRED | Part of : RBI ENCLAVE,PASCHIM VIHAR BLOCK A1,A3,B,, PASCHIM VIHAR MIG FLATS,, PIRA GARHI RELIEF CAMP,, NEW MULTAN NAGAR | 551
7 | 21/07/2018 | NZD | 17:56 | 19:29 | 01:33 | HT SYSTEN FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:BHAIRO ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : APPU GHAR,, ITO PARKING,, INA COLONY | 422
8 | 21/07/2018 | PLM | 17:54 | 19:30 | 01:35 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-23 EPFO , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 22&23 PHASE I | 451
9 | 21/07/2018 | JKP | 17:32 | 19:20 | 01:48 | HT SYSTEN FAULT | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV M.C.D RAJOURY GARDEN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : RAJOURI GARDEN BLOCK A,B&C,G,, RAJOURI GARDEN EXTENSION | 527
10 | 21/07/2018 | KPR | 16:29 | 17:52 | 01:22 | HT SYSTEN FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DEOLI EXTENSION,, JAWAHAR PARK,, DUGGAL COLONY,, SHIV PARK KPR,, SAINIK FARM | 554
11 | 21/07/2018 | NGL | 15:14 | 16:15 | 01:00 | HT SYSTEN FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : AMAN PURI,, NIHAL VIHAR | 455
12 | 21/07/2018 | DWK | 14:51 | 16:14 | 01:23 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR PRAGYA CGHS SEC-2 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : RAJA PARK MADHU VIHAR,, MAHAVIR ENCLAVE PART II | 482
13 | 21/07/2018 | SVR | 14:15 | 16:08 | 01:53 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH,, M-BLK ABUL FAZAL ENCL. | 426
14 | 21/07/2018 | SKT | 14:08 | 15:13 | 01:05 | HT SYSTEN FAULT | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-10 SHANTI KHANNA T OFF , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : SAHOARPUR VILLAGE,, CHANDANHULA VILLAGE | 526
15 | 21/07/2018 | VKP | 13:47 | 15:29 | 01:41 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR RAJHANS VIHAR , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : DEEP ENCLAVE,, RAJ HANS,, BHATIA SOM BAZAR | 546
16 | 21/07/2018 | SKT | 10:25 | 11:33 | 01:07 | HT SYSTEN FAULT | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BHAGWAN DAS COLONY BLOCK D,, RAJPUR KHURD VILLAGE,, ASOLA VILLAGE | 480
17 | 21/07/2018 | JKP | 06:42 | 08:25 | 01:43 | HT SYSTEN FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR SUBHASH NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SUBHASH NAGAR BLOCK 3,4&5,, | 463
18 | 21/07/2018 | HKS | 14:02 | 15:10 | 01:08 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR CWC SSTN. , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : A BLOCK, HAUS KHAZ | 57
19 | 21/07/2018 | PLM | 12:46 | 14:11 | 01:24 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV DADA CHHATRI MARG. , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of :RAJ NAGAR II | 74
20 | 21/07/2018 | PLM | 13:07 | 16:08 | 03:01 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PURAN JAILDAR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : C-BLOCK MAHAVEER ENCLAVE | 353
21 | 21/07/2018 | PJB | 13:07 | 15:14 | 02:07 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV PUNJABI BAGH COMPLENT CENTER FEEDER NO:1 , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : PUNJABI BAGH WEST | 73
22 | 21/07/2018 | VKJ | 12:34 | 17:46 | 05:12 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-A POCKET-B&C VASANT KUNJ,, RANA COLONY,, ISLAAM COLONY,, TARACHAND COLONY,, BLOCK K MILAKPUR KOHI RANGPURI | 459
23 | 21/07/2018 | SKT | 12:07 | 17:25 | 05:18 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR I.I.P.M NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : FARM NO-7 ALKA GUPTA,, RAGG FARM,, FARM-5 RMD,, KARTAR NIGAM PARSHAD,, B.L FARM,, NALA HARSAWROOP,, FARM NO-34 DHINGRA MANDI,, OSWAL FARM DERA MANDI,, VED RAM,, HATTI DERA DERA MANDI,, TEK RAM,, AFLATOON PRADHAN,, OPPULENT HOTEL,, MAX FARM NO-1,, MAX FARM NO-2,, POLICE POST,, GADAIPUR,, UPPAL FARM RMU,, SHIV MANDIR HARSWROOP COLY,, SANT RAM,, SATISH CAPTAIN NO-1,, DERA MANDI,, SUN INFRA BUILD PVT LTD,, FARM-5 CHADHA,, | 58
24 | 21/07/2018 | MDK | 12:00 | 14:25 | 02:25 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , HT INTERMEDIATE FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : HARIZON BASTI NEELWAL VILLAGE | 419
25 | 21/07/2018 | MDK | 12:00 | 14:26 | 02:26 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : CHANCHEL PARK BAKKAR WALA VILLAGE | 470
26 | 21/07/2018 | VKP | 11:41 | 17:13 | 05:32 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR KALI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : JJ COLONY VIKASPURI,, HASTSAL | 397
27 | 21/07/2018 | TGN | 11:07 | 15:03 | 03:56 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR RZ-BLOCK, VISHNU GDN , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : RZ-BLK GURUDWARAWALA KHYALA | 63
28 | 21/07/2018 | SVR | 11:00 | 14:28 | 03:28 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : MOLARBAND EXTENSION | 343
29 | 21/07/2018 | NZD | 11:00 | 14:09 | 03:09 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MOTU VAIDJI WALA, SARAI KALAY KHAN | 331
30 | 21/07/2018 | MDK | 11:00 | 14:25 | 03:25 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-1 , HVDS:POLE ERRECTION/STRAIGTHENING | RESTORED/ REPAIRED | Part of : TIKRI KALAN VILLAGE | 346
31 | 21/07/2018 | PLM | 10:30 | 13:19 | 02:49 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV KAILASH PURI FEEDER NO.-2 , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : KAILASH PURI,,KAILASHPURI MAIN | 422
32 | 21/07/2018 | VKJ | 15:29 | 16:51 | 01:21 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : BIJWASAN NEAR DHARMSHALA | 72
33 | 21/07/2018 | MNG | 13:42 | 15:10 | 01:28 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR OM VIHAR PHASE-2 , LT CIRCUIT:REPAIR OF DAMAGED WIRE ON POLES | RESTORED/ REPAIRED | Part of : OM VIHAR PH-3 | 79
34 | 21/07/2018 | VKJ | 12:03 | 14:00 | 01:57 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR TEMPO STAND , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : MEHRAULI VILLAGE | 73
35 | 21/07/2018 | UMN | 10:41 | 12:13 | 01:32 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SANJAY ENCLAVE , TRANSFORMER:REPLACEMENT OF SOCKET | RESTORED/ REPAIRED | Part of : SANJAY ENCLAVE,, VISHWAS PARK,, UTTAM NAGAR | 481
36 | 21/07/2018 |  | 10:15 | 12:53 | 2:38 | EHV TRIPPING | DUE TO BD FROM MASJID MOTH TO VSNL CKT | SUPPLY RESTORED | DDA FLAT MASJID MOTH ,CHIRAG DELHI,E BLK GK-2,PUMP HOUSE GK -1 | 6608

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES