## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 22/07/2018 06:00Hr. To 23/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 22/07/2018 | JKP | 06:08 | 08:00 | 01:51 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV MIG RAJORY GARDEN , 11KV GRID PANEL,:CT MOISTURE / DAMAGED, | RESTORED/ REPAIRED | Part of : RAJOURI GARDEN EXTENSION,,SUBHASH NAGARBLOCK 4 | 613
2 | 22/07/2018 | MNG | 06:50 | 08:05 | 01:14 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN GARDEN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BHAGWATI GARDEN,MOHAN GARDEN, | 628
3 | 22/07/2018 | NHP | 08:12 | 09:30 | 01:18 | HT SYSTEM FAULT | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR OCS G.K-1, VIA B&C BLOCK PANCHSHEEL ENCLAVE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : PUNCHSHEEL ENCLAVE_2 | 626
4 | 22/07/2018 | PJB | 09:41 | 10:43 | 01:02 | HT SYSTEM FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR D.T.C DEPOT , HT O/H,:CROSS ARM BROKEN, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH II BLOCK J,RBI ENCLAVE,PASCHIM VIHAR BLOCK A1,PASCHIM VIHAR BLOCK A1B,PASCHIM VIHAR MIG FLATS_2,PASCHIM VIHAR BLOCK A3,PIRA GARHI RELIEF CAMP,NEW MULTAN NAGAR,PASCHIM VIHAR,SHAKUR BASTI, | 612
5 | 22/07/2018 | KPR | 10:48 | 12:14 | 01:26 | HT SYSTEM FAULT | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK H,TALIMABAD,SANGAM VIHAR BLOCK G-1,SANGAM VIHAR BLOCK E | 734
6 | 22/07/2018 | NGL | 11:00 | 14:21 | 03:21 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN NO-2 UDYOG NAGAR SSTN-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : UDYOG NAGAR_2, | 251
7 | 22/07/2018 | SVR | 11:00 | 15:28 | 04:28 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S NO.-1 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : A-5,OLYMPUS MCIE | 1
8 | 22/07/2018 | MDK | 11:30 | 16:30 | 05:00 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , HT INTERMEDIATE FEEDER:MAINTENANCE OF O/H CIRCUIT | RESTORED/ REPAIRED | Part of : JAFARPUR URF HIRAN KUDNA VILLAGE_2, | 440
9 | 22/07/2018 | UMN | 11:36 | 13:24 | 01:48 | HT SYSTEM FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV JEEVAN PARK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JEEVAN PARK | 378
10 | 22/07/2018 | RKP | 12:07 | 16:40 | 04:33 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR COD , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : MES,B.I.LINE | 1
11 | 22/07/2018 | VKP | 12:44 | 14:04 | 01:19 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : UDAY PARK,,OM VIHAR PHASE V,NAWADA MAJRA,MOHAN GARDEN BLOCK F,MOHAN GARDEN BLOCK K | 330
12 | 22/07/2018 | SVR | 14:07 | 15:33 | 01:26 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S/S NO.-22, SARITA VIHAR , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : SARITA VIHAR BLOCK E | 468
13 | 22/07/2018 | PLM | 14:56 | 16:38 | 01:42 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-9, POKET-1 , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : DWARKA SEC.9 PKT1,DWARKA SECTOR 9, | 157
14 | 22/07/2018 | PLM | 14:57 | 16:52 | 01:55 | LT FEEDER | Grid:G-7 SECTOR -9 DWARKA To Feeder:11KV FDR HARIJAN BASTI KADDE WALA (PLM) , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : PALAM VILLAGE_1 | 58
15 | 22/07/2018 | TGN | 15:16 | 16:20 | 01:04 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR B-1/283 VISHNU GARDEN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK GH14,KHYALA_2,SHAM NAGAR,VISHNU GARDEN BLOCK A,VISHNU GARDEN BLOCK E,VISHNU GARDEN BLOCK F,VISHNU GARDEN, | 453
16 | 22/07/2018 | HKS | 15:25 | 16:58 | 01:32 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SIIA NO.-2 ARCHINI RMU NEAR RED LIGHT , ISOLATOR/ GO SWITCH,:ISOLATOR DAMAGE, | RESTORED/ REPAIRED | Part of : NEW MOTI NAGAR BLOCK T, | 306
17 | 22/07/2018 | PLM | 15:30 | 17:07 | 01:36 | HT SYSTEM FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:11KV FDR SSTN.NO.-2 SECTOR-7 (PLM.) , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 7,PALAM VILLAGE_1,RAJ NAGAR I_1,PALAM,DWARKA,NAR SINGH GARDEN BLOCK B, | 527
18 | 22/07/2018 | UMN | 15:36 | 17:31 | 01:54 | HT SYSTEM FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR O-BLOCK UTTAM NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BINDAPUR,VISHWAS PARK_1,UTTAM NAGAR,LAJPAT NAGAR PART III BLOCK D,BLOCK D MILAP NAGAR,JJ COLONY,BLOCK A SANTOSH PARK,BLOCK H,MILAP NAGAR_1,SANTOSH PARK_2,NEW UTTAM NAGAR,UTTAM NAGAR EAST,SHIV VIHAR,PANCHSHIL ENCLAVE, | 773
19 | 22/07/2018 | PLM | 15:37 | 17:25 | 01:47 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PURAN JAILDAR , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE (MIRZAPUR),,VIJAY ENCLAVE A B BLOCK,BLOCK B1 & B2 VIJAY ENCLAVE | 579
20 | 22/07/2018 | DWK | 15:45 | 16:56 | 01:10 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KARGIL AAPT , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART II_2,MAHAVIR ENCLAVE PART II_3,MAHAVIR ENCLAVE,MAHAVIR ENCLAVE,DWARKA SECTOR 12 PKT 2,DWARKA,SURAJ VIHAR,CHANDRA PARK,MOHIT NAGAR,RAGHUBIR NAGAR BLOCK P, | 710
21 | 22/07/2018 | MNG | 15:46 | 17:32 | 01:46 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : OM VIHAR PHASE-5(JHANDA CHOWK) | 330
22 | 22/07/2018 | VKP | 15:49 | 17:33 | 01:43 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR RAJHANS VIHAR , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : PANCHSHIL ENCLAVE,SHIV VIHAR,DEEPAK VIHAR_2 | 672
23 | 22/07/2018 | NJF | 16:18 | 17:28 | 01:09 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : UJWA_1,KHARKHARI ROND_2,KHAIRA_1,,HANS NAGAR_1,GOPAL NAGAR_1,SHERPUR DAIRY,KHARKHARI NAHAR_2 | 712
24 | 22/07/2018 | NGL | 16:22 | 17:35 | 01:12 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : AMAN PURI,,NIHAL VIHAR_1 | 632
25 | 22/07/2018 | PLM | 16:44 | 18:04 | 01:19 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PALAM VILLAGE , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : HARIJAN BASTI_3,DWARKA SECTOR 1 | 548
26 | 22/07/2018 | RKP | 16:45 | 18:07 | 01:22 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : JHARERA | 48
27 | 22/07/2018 | SKT | 17:31 | 18:41 | 01:10 | HT SYSTEM FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SULTANPUR | 462
28 | 22/07/2018 | PLM | 18:23 | 19:46 | 01:22 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-23 EPFO , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 22 PHASE I,,DWARKA SECTOR 22_2,DWARKA SECTOR 23_1,DWARKA SECTOR 23_1 | 551
29 | 22/07/2018 | SVR | 23:26 | 01:08 | 01:42 | HT SYSTEM FAULT | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , HT O/H,:EARTH WIRE SNAPPED, | RESTORED/ REPAIRED | Part of : GULMOHAR PARK BLOCK D,JAITPUR,SARITA VIHAR, | 667
30 | 23/07/2018 | DWK | 03:57 | 05:29 | 01:31 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-19 PP , RMU,:INTERNAL FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 19,DWARKA SECTOR 19 PKT 2,DWARKA SECTOR 19 PKT 3,BEES SUTRI COLONY | 539
31 | 23/07/2018 | NHP | 04:25 | 05:44 | 01:19 | HT SYSTEM FAULT | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR SHED NO.-8, SCHEME NO.-3 DSIDC PHASE-2 , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH II BLOCK Z,,OKHLA INDUSTRIAL AREA PH II BLOCK X,OKHLA INDUSTRIAL AREA PH II BLOCK P | 221
32 | 23/07/2018 | JFR | 05:05 | 06:51 | 01:45 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BABA HARI DAS NAGAR,SHRI KRISHNA COLONY,HAIBATPUR_1,CAMPS JHORDA KALAN,,HAIBAT PUR_2,HAIBAT PUR_1,DICHAON KALAN_1 | 702
33 | 23/07/2018 | PLM | 05:26 | 06:49 | 01:23 | HT SYSTEM FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAGHU NAGAR (NEW) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : NANGAL RAYA,JANAKPURI,MOHAN BLOCK RZA,BLOCK RZI,RAGHU NAGAR RZ A,RAGHU NAGAR RZ B,SAGARPUR WEST,VAISHALI,DABRI EXTENSION EAST,DABRI EXTENSION,RAGHU NAGAR,SAGARPUR,DABRI,SIDHARTHA EXTN PKT A,RAJOURI GARDEN BLOCK T_2,RAJOURI GARDEN, | 742
34 | 23/07/2018 | NHP | 05:45 | 07:01 | 01:15 | HT SYSTEM FAULT | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR OKHLA PH-III SSTN NO.-3 , : HT CONSUMER, CONSUMER TRANSFORMER FAULTY | RESTORED/ REPAIRED | Part of : BHAGWAN DAS COLONY BLOCK E, | 152