## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 24/07/2018 06:00Hr. To 25/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 25/07/2018 | DWK | 00:16 | 01:31 | 01:15 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR PRAGYA CGHS SEC-2 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : RAJA PARK MADHU VIHAR,, DWARKA SECTOR 3,,JAIN COLONY,, VISHWAS PARK | 462
2 | 24/07/2018 | DWK | 23:00 | 00:41 | 01:41 | HVDS CABLE & OTHER SYSTEM | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : KAKROLA, BHARAT VIHAR, PAPAN KALAN,, MANSA RAM PARK, | 406
3 | 24/07/2018 | PLM | 22:59 | 00:30 | 01:31 | HT SYSTEN FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV KAILASH PURI NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SADH NAGAR,, PALAM COLONY,, KAILASH PURI,, INDRA PARK | 561
4 | 24/07/2018 | SKT | 20:08 | 21:14 | 01:06 | HT SYSTEN FAULT | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , 11KV GRID PANEL,:VCB FLASHED, | RESTORED/ REPAIRED | Part of : SATBARI VILLAGE,, SAHOARPUR VILLAGE,, CHHATARPUR VILLAGE | 441
5 | 24/07/2018 | PLM | 19:43 | 21:09 | 01:25 | HT SYSTEN FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV MAHAVEER ENCLEVE, D-3 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE | 519
6 | 24/07/2018 | SVR | 18:07 | 19:42 | 01:35 | HT SYSTEN FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR P/M S/S OPPOSIT B-2/66M MCIE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : INDIAN DELCO (HT CONSUMER),, B-2/20 (HT CONSUMER) ,, SHREE ALLOY (HT CONSUMER),, SUNIL RAI MCIE (HT CONSUMER),, MOHAN CO-OP INDUSTRIES AREA | 4
7 | 24/07/2018 | PLM | 17:46 | 19:25 | 01:39 | HT SYSTEN FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:11KV FDR S/S NO.-5 SECTOR-8 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : RAJ NAGAR EXTENSION | 345
8 | 24/07/2018 | NGL | 15:56 | 17:32 | 01:35 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NARESH PARK EXTN. NANGLOI | 451
9 | 24/07/2018 | MDK | 14:58 | 15:58 | 01:00 | HT SYSTEN FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV BAKKARWALA VILLAGE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : RAJDHANI PARK,, VEENA ENCLAVE,, AMAR COLONY,, NANGLOI EXTN. | 543
10 | 24/07/2018 | VKJ | 11:57 | 13:38 | 01:41 | HT SYSTEN FAULT | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR WESTERN GREEN , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : SAMALKA,RAJOKRI | 288
11 | 24/07/2018 | NHP | 09:15 | 10:34 | 01:18 | HT SYSTEN FAULT | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/H S/S NO.-2 PHASE-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BLOCK E &W OKHLA INDUSTRIAL AREA PH II | 94
12 | 24/07/2018 | JFR | 06:01 | 07:27 | 01:25 | HT SYSTEN FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV KHERA DABAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : GUMAN HERA VILLAGE,, HARI KUNJ,, KHERA DABAR,, SURBERA,, JAFARPUR KALAN | 614
13 | 24/07/2018 | RKP | 16:08 | 17:17 | 01:09 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : SABZI MANDI VILLAGE JHARERA | 78
14 | 24/07/2018 | HKS | 14:53 | 16:04 | 01:10 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR A2/15 SJ.E , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : A-2/15 SDA | 32
15 | 24/07/2018 | NJF | 13:15 | 15:08 | 01:53 | LT FEEDER | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR KAPOOR FARM , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : INDIRA PARK | 91
16 | 24/07/2018 | SVR | 13:12 | 15:02 | 01:50 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : ASHOKA PARK KHIZRABAD,, LIONS HOSPITAL | 54
17 | 24/07/2018 | DWK | 13:01 | 14:06 | 01:04 | LT FEEDER | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : MANDIRWALA | 71
18 | 24/07/2018 | ALN | 11:42 | 13:07 | 01:24 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDRGIRI NAGAR NO.-1 (NEAR METRO STATION) , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : GIRI NAGAR NO.1 | 58
19 | 24/07/2018 | MNG | 11:21 | 12:33 | 01:12 | LT FEEDER | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR MINI BUS STAND , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : NAWADA (USTRA WALA) | 62
20 | 24/07/2018 | RKP | 11:21 | 12:52 | 01:31 | LT FEEDER | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR ARSD COLLEGE , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : A.R.S.D. COLLEGE DHAULA KUAN | 1
21 | 24/07/2018 | SVR | 10:15 | 12:22 | 02:06 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : NEAR MASJID OLD VILL JASOLA,, PLOT NO-1,JASOLA | 27
22 | 24/07/2018 | VKJ | 16:07 | 17:54 | 01:47 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11 KV FDR NTRO CKT.-1 (OPP. GHITORANI BUS STAND) , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : GHERI KAUN RMU,, GHITORNI VILLAGE,, FARM HOUSE (HT CONSUMER) FARM HOUSE (HT CONSUMER)* | 341
23 | 24/07/2018 | SKT | 13:53 | 15:13 | 01:20 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SPORTS COMPLEX SAKET , TRANSFORMER:REPLACEMENT OF SOCKET | RESTORED/ REPAIRED | Part of : MEHRAULI BADARPUR ROAD,SAIYAD-UL-AJAIB, | 425
24 | 24/07/2018 | JKP | 13:45 | 15:42 | 01:57 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : BLOCK B MAYAPURI,, MAYAPURI INDUSTRIAL AREA PHASE I | 34
25 | 24/07/2018 | ALN | 13:30 | 16:12 | 02:42 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR GALI NO.-16 GOVIND PURI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : BLOCK A10,,KALKAJI EXTENSION | 42
26 | 24/07/2018 | NJF | 13:07 | 14:10 | 01:03 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DICHAON KALAN,, NAJAFGARH PARK,, HIRAN KUDNA VILLAGE | 469
27 | 24/07/2018 | TGN | 13:07 | 17:00 | 03:53 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR WATER TANK TILAK NAGAR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 24-BLK MOTHER DIARY TILAK NGR | 57
28 | 24/07/2018 | HKS | 13:00 | 17:27 | 04:27 | PLANNED SHUTDOWN | Grid:33kV HUDCO GRID To Feeder:11kV FDR I.O.C BUILDING , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : K-84, GREEN PARK MAIN,, UPHAAR CINEMA,A BLOCK, HAUS KHAZ | 22
29 | 24/07/2018 | SVR | 12:07 | 15:46 | 03:39 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ALI VIHAR | 378
30 | 24/07/2018 | VKP | 12:07 | 14:52 | 02:45 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV L.I.G-2 HASTSAL , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : HASTSAL,, VIJAY VIHAR,, MOHAN GARDEN BLOCK K,, OM VIHAR PHASE V | 534
31 | 24/07/2018 | JFR | 12:00 | 16:11 | 04:11 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MITRAON | 542
32 | 24/07/2018 | VKJ | 11:56 | 16:06 | 04:10 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KHATTE WALLA (HANUMAN MANDIR),, BALMIKI MANDIR,, DESU ROADMEHRAULI | 398
33 | 24/07/2018 | PJB | 11:07 | 14:55 | 03:48 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR M.I.G MILANSAR APPARTMENT , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK A5, B-4,KHATTEWALA, MADIPUR VILLAGE, PJB | 67
34 | 24/07/2018 | NHP | 11:00 | 13:41 | 02:41 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR B-BLOCK EAST OF KAILASH (VIA C-BLOCK) , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : EAST OF KAILASH BLOCK C | 38
35 | 24/07/2018 | PLM | 11:00 | 15:30 | 04:30 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PINK APPARTMENT , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : DASRATHPURI,, DABRI EXTENSION EAST | 534
36 | 24/07/2018 | JKP | 11:00 | 14:25 | 03:25 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR CCRA SUB STATION , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : LAJWANTI GARDEN JANAKPURI,ASHOK NAGAR BLOCK 36,58 | 431
37 | 24/07/2018 | SVR | 11:00 | 17:51 | 06:51 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR LAKHPAT COLONY PART-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : LAKHPAT COLONY-2,, SINDHU FARM MEETHAPUR,, EXTA VIHAR, MEETHAPUR EXT. | 612
38 | 24/07/2018 | DWK | 09:41 | 12:07 | 02:26 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAND VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : HARI VIHAR,, SHIVANI ENCLAVE,, BHARAT VIHAR,, TARA NAGAR,, PATEL GARDEN,, SECTOR 16A,, NAND VIHAR | 436
39 | 24/07/2018 | VKJ | 09:07 | 13:29 | 04:22 | PLANNED SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BLOCK A MAHIPAL PUR EXTN.,, BADAM MARKET NH-8 | 326
40 | 24/07/2018 | MNG | 13:58 | 15:24 | 01:25 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , LT CIRCUIT:JUMPER REPLACEMENT | RESTORED/ REPAIRED | Part of : OM VIHAR PHASE-5 | 76
41 | 24/07/2018 | UMN | 11:41 | 12:49 | 01:08 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR IJKL BLOCK UTTAM NAGAR , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : UTTAM NAGAR IJK BLOCK | 81
42 | 24/07/2018 | SKT | 11:04 | 13:52 | 02:48 | EMERGENCY SHUTDOWN | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-5 RUMALO DEVI , 11KV FEEDER:PREDICTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : DERA MANDI VILLAGE | 63

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES
Part of :