## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 29/07/2018 06:00Hr. To 30/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 29/07/2018 | MDK | 08:33 | 09:46 | 01:12 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA , HT O/H,:HTAB SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : ,AMAR COLONY_2,NANGLOI EXTN.,MUNDKA VILLAGE_2 | 536
2 | 29/07/2018 | TGN | 09:46 | 10:48 | 01:01 | HT SYSTEM FAULT | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11KV FDR M-BLOCK RAGUBIR NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : RAGHUBIR NAGAR BLOCK N,RAGHUBIR NAGAR_1,,RAGHUBIR NAGAR BLOCK P,RAGHUBIR NAGAR BLOCK M | 525
3 | 29/07/2018 | VKP | 09:49 | 11:25 | 01:36 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11KV S.B.I SOCITY , HT O/H,:HTAB SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : ,VIKASPURI BLOCK H | 578
4 | 29/07/2018 | VKJ | 10:00 | 13:55 | 03:55 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA U/G , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KAPASHERA ESTATE, | 412
5 | 29/07/2018 | SVR | 10:31 | 12:28 | 01:57 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : KHIZARABAD, | 158
6 | 29/07/2018 | MNG | 10:32 | 12:16 | 01:44 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR N.S.I.T NO.-2 (D.K.ROAD) , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : OM VIHAR PHASE V,MOHAN GARDEN BLOCK K, | 648
7 | 29/07/2018 | RKP | 10:44 | 11:59 | 01:15 | LT FEEDER | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : R K PURAM SECTOR 12_2, | 42
8 | 29/07/2018 | SKT | 11:00 | 17:18 | 06:18 | PLANNED SHUTDOWN | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-5 RUMALO DEVI , 11KV FEEDER:MAKING OF END BOX | RESTORED/ REPAIRED | Part of : ,BHATI KHURD VILLAGE | 488
9 | 29/07/2018 | NGL | 11:00 | 14:41 | 03:41 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN NO-2 UDYOG NAGAR SSTN-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : UDYOG NAGAR_2,UDYOG NAGAR | 367
10 | 29/07/2018 | VKP | 11:11 | 13:06 | 01:54 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SHIV VIHAR,PANCHSHIL ENCLAVE,VIJAY VIHAR,RAJAN VIHAR, | 642
11 | 29/07/2018 | VKJ | 11:51 | 13:25 | 01:34 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR CENTAUR HOTEL , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : MILAKPUR KOHI RANGPURI,BLOCK L, | 527
12 | 29/07/2018 | SVR | 12:07 | 15:15 | 03:08 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S. NO.-3 MCIE B-1 BLOCK , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : MCIE B-1 BLOCK | 2
13 | 29/07/2018 | PLM | 12:16 | 13:57 | 01:41 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PURAN JAILDAR , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE A B BLOCK,VIJAY ENCLAVE (MIRZAPUR), | 162
14 | 29/07/2018 | SVR | 13:35 | 14:39 | 01:03 | HT SYSTEM FAULT | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR MAHARANI BAGH FEEDER NO.-1 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MAHARANI BAGH BLOCK F,,FRIENDS COLONY EAST,FRIENDS COLONY EAST BLOCK B,MAHARANI BAGH BLOCK A,MAHARANI BAGH BLOCK J | 263
15 | 29/07/2018 | MNG | 15:44 | 17:02 | 01:18 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR LAXMI VIHAR , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : ,MOHAN GARDEN BLOCK M,MANSA RAM PARK_3,PATEL GARDEN EXTN | 682
16 | 29/07/2018 | TGN | 15:47 | 17:20 | 01:32 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11 KV FDR MBS NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : D.D.A COLONY,,SANT GARH,SAHPURA_1,PRITHVI PARK,GURU NANAK NAGAR | 465
17 | 29/07/2018 | PLM | 17:34 | 18:39 | 01:04 | HVDS CABLE & OTHER SYSTEM | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR BENGALI COLONY , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART I,,MAHABIR ENCLAVE BLOCK-H1,DWARKA SECTOR 1,MAHAVIR ENCLAVE PART-1 | 518
18 | 29/07/2018 | VKP | 17:59 | 19:13 | 01:14 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR KESHOPUR PLANT , 11KV CABLE,:CABLE MOISTURE, | RESTORED/ REPAIRED | Part of : KESHOPUR PLANT HTC | 1
19 | 29/07/2018 | MNG | 19:37 | 21:24 | 01:47 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR LAXMI VIHAR , HVDS:REPAIR/REPLACEMENT WORK OF HVDS CABLE | RESTORED/ REPAIRED | Part of : ,MOHAN GARDEN BLOCK M,MANSA RAM PARK_3,PATEL GARDEN EXTN | 612
20 | 29/07/2018 | MNG | 20:15 | 21:41 | 01:25 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR GANDHI CHOWK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,BHAGWATI GARDEN EXTENSION | 634
21 | 29/07/2018 | DWK | 23:54 | 01:37 | 01:42 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR NEW HILANSH SECTOR-10 11kV FDR HILANSH , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 10_1, | 542
22 | 29/07/2018 | HKS | 23:59 | 01:16 | 01:17 | HT SYSTEM FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:A-1 S.J ENCLAVE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SAFDARJANG ENCLAVE BLOCK A1,SAFDARJUNG HOSPITAL QUATERS, | 366
23 | 30/07/2018 | JKP | 00:03 | 01:22 | 01:19 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV BOOSTER PUMP B-2 JANAKPURI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BOOSTER PUMP B-2 JANAKPURI | 388
24 | 30/07/2018 | VKP | 00:05 | 01:15 | 01:10 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SHIV VIHAR,PANCHSHIL ENCLAVE,VIJAY VIHAR,RAJAN VIHAR,VIKAS NAGAR,DEEPAK VIHAR | 642
25 | 30/07/2018 | SKT | 00:06 | 01:22 | 01:15 | HT SYSTEM FAULT | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-1 CHADDA MURGI FARM , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SAHOARPUR VILLAGE,SATBARI VILLAGE_1, | 485
26 | 30/07/2018 | HKS | 00:10 | 01:41 | 01:30 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR I.I.T S/S NO.-3 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : RAJ NAGAR | 394
27 | 30/07/2018 | NGL | 00:22 | 01:27 | 01:04 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR CHANDER VIHAR , ISOLATOR/ GO SWITCH,:ISOLATOR DAMAGE, | RESTORED/ REPAIRED | Part of : ,CHANDER VIHAR,NILOTHI_1,UDAI VIHAR,RANJEET VIHAR,UDYOG NAGAR_ | 538
28 | 30/07/2018 | SKT | 00:27 | 01:37 | 01:10 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-4, S/S NO.-03 PUSHP VIHAR VIA RMU OUT SIDE GRID , 11KV CABLE,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : ,PUSHP VIHAR SECTOR 3,SAKET BLOCK J | 523
29 | 30/07/2018 | HKS | 02:33 | 04:05 | 01:32 | HT SYSTEM FAULT | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL CLUB , HT CONSUMER,:CONSUMER HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : ,PUNCHSHILA PARK NORTH,SIRI FORT FOREST_1 | 324
30 | 30/07/2018 | RKP | 02:39 | 03:52 | 01:12 | HT SYSTEM FAULT | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR R.K.KHANNA STADIUM , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : AN JHA DEER PARK,,RAJAN ENCLAVE,R K PURAM SECTOR 2 | 427
31 | 30/07/2018 | JKP | 03:46 | 05:14 | 01:27 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV SFS NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,MAYA ENCLAVE BLOCK EB,MAYA ENCLAVE, | 437