## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 31/07/2018 06:00Hr. To 01/08/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 01/08/2018 | JKP | 05:51 | 07:27 | 01:35 | HT SYSTEN FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV AJANTA O/H , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SUBHASH NAGARBLOCK 2,, HARI NAGAR BLOCK C&J,, MANAK VIHAR EXTENSION | 419
2 | 01/08/2018 | DWK | 03:05 | 04:54 | 01:49 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SAINIK NAGAR ,11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MANSA RAM PARK | 288
3 | 01/08/2018 | PLM | 02:15 | 04:05 | 01:49 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR D.D.A FLAT SECTOR-23 , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 23 PKT 1 | 369
4 | 01/08/2018 | JFR | 00:48 | 02:28 | 01:39 | HT SYSTEN FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV SUREHRA MORE , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : KAIR,, MITRAON,, SURBERA | 418
5 | 01/08/2018 | NJF | 00:42 | 01:50 | 01:08 | HT SYSTEN FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR KHAIRA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : PREM NAGAR,, KRISHNA NAGAR,, GOPAL NAGAR,, BETAISTA ENCLAVE,, KHAIR | 479
6 | 31/07/2018 | NJF | 23:40 | 01:18 | 01:37 | HT SYSTEN FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR HANUMAN CHOWK , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : QUTUB VIHAR,, TAJPUR KHURD,, SAMTA ENCLAVE,, VILLA GEGOALA | 457
7 | 31/07/2018 | DWK | 22:27 | 00:18 | 01:51 | HT SYSTEN FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR SEC-16C DELHI POLICE QUARTERS , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : DELHI POLICE QUATERS SEC-16C | 298
8 | 31/07/2018 | NZD | 20:59 | 22:05 | 01:05 | HT SYSTEN FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:SUNDER NAGAR , HT CONSUMER,:CONSUMER LT PANEL FLASH, | RESTORED/ REPAIRED | Part of : SUNDAR NAGAR,,PURANA QILA | 263
9 | 31/07/2018 | SVR | 16:08 | 18:03 | 01:55 | HT SYSTEN FAULT | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR AMERICAN EXPRESS , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : AMERICAN EXPRESS (HT CONSUMER) | 1
10 | 31/07/2018 | SVR | 15:59 | 17:07 | 01:07 | HT SYSTEN FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : MOHAN COOPERATIVE INDUSTRIAL ESTATE | 224
11 | 31/07/2018 | DWK | 15:05 | 16:14 | 01:09 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR G AND S RAJAPURI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 3,, RAJA PARK MADHU VIHAR | 416
12 | 31/07/2018 | NHP | 14:39 | 16:03 | 01:23 | HT SYSTEN FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR E-BLOCK EAST OF KAILASH , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : C& E-BLOCK EAST OF KAILASH | 428
13 | 31/07/2018 | TGN | 14:33 | 15:35 | 01:02 | HT SYSTEN FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : GANGARAM VATIKA,,TILAK NAGAR BLOCK 4A, 5A,4B, 6&8 | 485
14 | 31/07/2018 | DWK | 14:00 | 15:11 | 01:11 | HT SYSTEN FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : KAKROLA,, BHARAT VIHAR,, DWARKA SECTOR 16B | 516
15 | 31/07/2018 | SVR | 13:39 | 14:57 | 01:18 | HT SYSTEN FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK SHAHIN BAGH , 11KV CABLE,:END TERMINATION DAMAGE, | RESTORED/ REPAIRED | Part of : D-BLOCK SHAHEEN BAGH | 524
16 | 31/07/2018 | NGL | 12:15 | 13:29 | 01:14 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR NILOTHI SEWERAGE TREATMENT PLANT , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : SEWAGE TREATMENT PLANT (HT CONSUMER) | 1
17 | 31/07/2018 | SKT | 08:51 | 09:57 | 01:06 | HT SYSTEN FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR IGNOU S/S NO.-5+NBCC PLAZA , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : NIGAM NEBSARAI,, NBCC PLAZA 3 (HT CONSUMER)* | 1
18 | 31/07/2018 | VKP | 08:13 | 09:41 | 01:27 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR C-BLOCK JJ COLONY , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : JJ COLONY VIKASPURI | 522
19 | 31/07/2018 | MNG | 08:03 | 09:34 | 01:30 | HT SYSTEN FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DELHI JUD. NO.-2, SECTOR-14 + 11kV FDRN SAINIK ENCLAVE , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 16B,, VIKAS NAGAR,, LAXMI VIHAR | 531
20 | 31/07/2018 | KPR | 06:22 | 07:35 | 01:13 | HVDS CABLE & OTHER SYSTEM | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK J-1,J-2 ,, SANGAM VIHAR BLOCK I-2&C | 476
21 | 31/07/2018 | UMN | 15:26 | 17:07 | 01:41 | LT FEEDER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , 1.1:45.83 | RESTORED/ REPAIRED | Part of : JANAKI PURI | 79
22 | 31/07/2018 | HKS | 13:22 | 14:48 | 01:25 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , 0:0 | RESTORED/ REPAIRED | Part of : KRISHNA NAGAR-2 | 81
23 | 31/07/2018 | ALN | 13:17 | 14:36 | 01:18 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-D-173 , 3.33:138.89 | RESTORED/ REPAIRED | Part of : D-173 OKHLA PHASE-1 | 28
24 | 31/07/2018 | HKS | 12:31 | 14:24 | 01:52 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , 0:0 | RESTORED/ REPAIRED | Part of : GREEN PARK MAIN | 45
25 | 31/07/2018 | SVR | 11:42 | 13:07 | 01:24 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR B-BLOCK FRIENDS COLONY , 1.33:55.56 | RESTORED/ REPAIRED | Part of : B BLOCK FRIENDS COLONY(WEST) | 22
26 | 31/07/2018 | JFR | 11:06 | 12:18 | 01:11 | LT FEEDER | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RMU OUTSIDE GRID , 0.33:13.89 | RESTORED/ REPAIRED | Part of : VILLAGE ISSAPUR | 67
27 | 31/07/2018 | NJF | 15:00 | 16:05 | 01:05 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KANGAM HERI,, NANAK HERI,, BADU SARAI,, BSF CAMP CHHAWLA | 374
28 | 31/07/2018 | NGL | 14:00 | 15:44 | 01:44 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR GH-14 , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : INDER ENCLAVE | 176
29 | 31/07/2018 | SKT | 14:00 | 15:51 | 01:51 | PLANNED SHUTDOWN | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-9 FATEHPUR BERI COMPLAIN CENTER , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : JHANDA COLONY ASOLA | 370
30 | 31/07/2018 | MDK | 13:00 | 16:12 | 03:12 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR GHEVRA MOR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SRISTI VATICA HIRANKUDANA | 326
31 | 31/07/2018 | NZD | 12:30 | 13:49 | 01:19 | PLANNED SHUTDOWN | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:BHAIRO ROAD , HT INTERMEDIATE FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : MATKA PEER,, PRAGATI MAIDAN, | 373
32 | 31/07/2018 | PJB | 12:07 | 14:50 | 02:43 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR D.T.C DEPOT , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : PIRA GARHI RELIEF CAMP | 268
33 | 31/07/2018 | DWK | 12:07 | 13:07 | 01:00 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KM CHOWK , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 4,5&11 PKT 1 | 401
34 | 31/07/2018 | PJB | 12:07 | 13:48 | 01:41 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR A-2 SSTN. , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK A2B | 348
35 | 31/07/2018 | MDK | 12:00 | 16:12 | 04:12 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , HVDS:POLE ERRECTION/STRAIGTHENING | RESTORED/ REPAIRED | Part of : NANGLOI EXTN. | 413
36 | 31/07/2018 | JKP | 11:51 | 16:04 | 04:13 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV TIKONA PARK , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : ASHOK NAGAR BLOCK 36,58 | 54
37 | 31/07/2018 | DWK | 11:48 | 13:27 | 01:39 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY PH-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : PARAM PURI,, JAIN PARK,, JAIN COLONY,, NANHEY PARK,, PAPAN KALAN,, SAHYOG VIHAR,, SUBHASH PARK,, SUKH RAM PARK | 485
38 | 31/07/2018 | PLM | 11:44 | 15:30 | 03:46 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PURAN JAILDAR , HVDS:RESAGGING/REPLACEMENT | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE A B BLOCK | 249
39 | 31/07/2018 | PLM | 11:30 | 15:31 | 04:01 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PINK APPARTMENT , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : DASRATHPURI | 264
40 | 31/07/2018 | PLM | 11:20 | 15:30 | 04:10 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR MANISH PLAZA SEC-23 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : Harmani App | 259
41 | 31/07/2018 | NJF | 11:15 | 16:04 | 04:49 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR POCHANPUR , RMU:TO COUPLE A NEW RMU | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 19,23 ,, AMBAR HAI VILLAGE,, POCHANPUR,, BEES SUTRI COLONY,, MAJOR BHOLA RAM ENCLAVE | 452
42 | 31/07/2018 | NHP | 11:00 | 14:33 | 03:33 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR G-BLOCK EAST OF KAILASH , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : KAILASH HILL | 88
43 | 31/07/2018 | PLM | 11:00 | 14:43 | 03:43 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 8,, RAJ NAGAR EXTENSION,, SPG COMPLEX,, RAJ NAGAR II | 435
44 | 31/07/2018 | SVR | 10:50 | 14:22 | 03:32 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : MOLARBAND EXTENSION,, TAJPUR PAHARI, | 397
45 | 31/07/2018 | VKP | 10:18 | 14:56 | 04:38 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV S.B.I SOCITY , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : SBI SOCIETY (ANTRIX) (HT CONSUMER) | 1
46 | 31/07/2018 | VKJ | 12:20 | 16:58 | 04:38 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , LT CIRCUIT:LAYING OF NEW LTAB | RESTORED/ REPAIRED | Part of : MEHRAULI,, LAKHI NATH KUTI | 298
47 | 31/07/2018 | VKJ | 12:13 | 14:17 | 02:04 | EMERGENCY SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : GHITORNI VILLAGE,, FARM HOUSE VASANT KUNJ | 312
48 | 31/07/2018 | MNG | 11:19 | 12:45 | 01:25 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR NAWADA , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : MOHAN GARDEN BLOCK A&B,, MANSA RAM PARK BLOCK A,, SHANTI PARK | 348
49 | 31/07/2018 | NZD | 11:03 | 12:48 | 01:44 | EMERGENCY SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:TIKONA PARK LPN.-2 , LT CIRCUIT:REPAIR OF DAMAGED WIRE ON POLES | RESTORED/ REPAIRED | Part of : LAJPAT NAGAR PART II BLOCK F | 48
50 | 31/07/2018 | VKJ | 10:10 | 12:25 | 02:12 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR HOLY CHOWK BIJWASAN , LT CIRCUIT:LAYING OF NEW LTAB | RESTORED/ REPAIRED | Part of : HARIJAN BASTI BIJWASAN,, | 82
51 | 31/07/2018 |  | 17:05 | 18:05 | 1:00 | EHV TRIPPING | DUE TO B/D FROM 220KV PPK-2 TO HASTAL CKT-2 | SUPPLY RESTORED | VIDYA VIHAR , HASTAL VIHAR , MINI BUS STAND , PRESS ENCLAVE , DAAL MILL , RAJHANS VIHAR , KALI BASTI , LIG HASTAL | 10146

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES
Part of :