## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___16-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-16 | Shalimar Bagh | 10:56 | 0.52639 | 0.070833 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : 11 B Block Shalimar Bagh | 591 | Planned outage
2 | 2018-07-16 | Bawana | 11:14 | 14:26 | 0.13333 | PLANNED SHUTDOWN | Project Work | Restored/Repaired | Parts of : Jain Nagar | 5450 | Planned outage
3 | 2018-07-16 | Bawana | 10:08 | 0.63264 | 0.21042 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Dheeraj Vihar | 4550 | Planned outage
4 | 2018-07-16 | Moti Nagar | 09:06 | 11:29 | 0.099306 | PLANNED SHUTDOWN | DT Oil Top up | Restored/Repaired | Parts of : Kirti Nagar | 507 | Planned outage
5 | 2018-07-16 | Moti Nagar | 09:13 | 13:39 | 0.18472 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Rama Road | 1372 | Planned outage
6 | 2018-07-16 | Shalimar Bagh | 08:49 | 10:05 | 0.052778 | DISTRIBUTION TR. | HT Bushing Blast | Restored/Repaired | Parts of : C Block Jahangirpuri | 360 | Interruption due to fault
7 | 2018-07-16 | Mangolpuri | 08:12 | 11:25 | 0.13403 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sec 22 Rohini | 332 | Force majeure due to fire
8 | 2018-07-16 | Badli | 09:52 | 11:20 | 0.061111 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Siraspur | 520 | Interruption due to fault
9 | 2018-07-16 | Narela | 10:56 | 12:50 | 0.079167 | DISTRIBUTION TR. | DT Oil Leakage | Restored/Repaired | Parts of : A5 Pocket 6 DSIDC Narela | 363 | Interruption due to fault
10 | 2018-07-16 | Bawana | 12:04 | 14:20 | 0.094444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Sec 5 Bawana | 824 | Force Majeure Due to Rain and Multiple Trippings
11 | 2018-07-16 | Keshav Puram | 12:02 | 13:30 | 0.061111 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree/External Object Fallen on line | Restored/Repaired | Parts of : Narang Colony | 964 | Force majeure due to sabotage
12 | 2018-07-16 | Bawana | 12:39 | 13:53 | 0.051389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Khanjhawala Village | 2837 | Force Majeure Due to Rain and Multiple Trippings
13 | 2018-07-16 | Bawana | 12:40 | 14:15 | 0.065972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Sec 3 DSIDC Bawana | 387 | Force Majeure Due to Rain and Multiple Trippings
14 | 2018-07-16 | Shalimar Bagh | 13:28 | 17:13 | 0.15625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Bhagat Colony | 2888 | Force Majeure Due to Rain and Multiple Trippings
15 | 2018-07-16 | Pitam Pura | 13:50 | 15:50 | 0.083333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Tarun Enclave | 1135 | Force Majeure Due to Rain and Multiple Trippings
16 | 2018-07-16 | Civil Lines | 13:57 | 15:05 | 0.047222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : DVB Colony | 457 | Force Majeure Due to Rain and Multiple Trippings
17 | 2018-07-16 | Bawana | 13:12 | 14:35 | 0.057639 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Pooth Khurd | 3177 | Force Majeure Due to Rain and Multiple Trippings
18 | 2018-07-16 | Narela | 13:59 | 16:30 | 0.10486 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Renny Well | 1399 | Force Majeure Due to Rain and Multiple Trippings
19 | 2018-07-16 | Bawana | 12:45 | 15:28 | 0.11319 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Auchandi Village | 2701 | Force Majeure Due to Rain and Multiple Trippings
20 | 2018-07-16 | Mangolpuri | 14:19 | 16:55 | 0.10833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Budh Vihar | 5030 | Force Majeure Due to Rain and Multiple Trippings
21 | 2018-07-16 | Badli | 14:08 | 15:45 | 0.067361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : MCD Colony | 486 | Force Majeure Due to Rain and Multiple Trippings
22 | 2018-07-16 | Shalimar Bagh | 14:03 | 16:00 | 0.08125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Haiderpur | 2076 | Force Majeure Due to Rain and Multiple Trippings
23 | 2018-07-16 | Pitam Pura | 13:17 | 15:12 | 0.079861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : JJ colony Ashok Vihar | 681 | Force Majeure Due to Rain and Multiple Trippings
24 | 2018-07-16 | Narela | 14:54 | 16:00 | 0.045833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Tigipur | 2076 | Force Majeure Due to Rain and Multiple Trippings
25 | 2018-07-16 | Narela | 14:34 | 15:54 | 0.055556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Ibrahimpur | 2580 | Force Majeure Due to Rain and Multiple Trippings
26 | 2018-07-16 | Badli | 16:00 | 17:21 | 0.05625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Badli Village | 736 | Force Majeure Due to Rain and Multiple Trippings
27 | 2018-07-16 | Moti Nagar | 16:28 | 18:20 | 0.077778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : B Block Sudershan park | 311 | Force Majeure Due to Rain and Multiple Trippings
28 | 2018-07-16 | Shalimar Bagh | 16:23 | 17:25 | 0.043056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : DA Block Shalimar Bagh | 708 | Force Majeure Due to Rain and Multiple Trippings
29 | 2018-07-16 | Rohini | 16:48 | 18:30 | 0.070833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Vijay Vihar | 607 | Force Majeure Due to Rain and Multiple Trippings
30 | 2018-07-16 | Moti Nagar | 17:33 | 18:45 | 0.05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : A Block Naraina Vihar | 2557 | Force Majeure Due to Rain and Multiple Trippings
31 | 2018-07-16 | Shalimar Bagh | 18:53 | 21:05 | 0.091667 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Bhalswa Village | 1054 | Force Majeure Due to Rain and Multiple Trippings
32 | 2018-07-16 | Keshav Puram | 17:38 | 19:55 | 0.095139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : B Block Wazirpur Industrial Area | 1843 | Force Majeure Due to Rain and Multiple Trippings
33 | 2018-07-16 | Pitam Pura | 12:53 | 16:03 | 0.13194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Siri Nagar | 450 | Force Majeure Due to Rain and Multiple Trippings
34 | 2018-07-16 | Model Town | 22:17 | 23:24 | 0.046528 | HVDS CABLE & OTHER SYSTEM | HT Jumper Sparking | Restored/Repaired | Parts of : Suraj Nagar | 5153 | Interruption due to fault
35 | 2018-07-16 | Pitam Pura | 05:29 | 06:30 | 0.042361 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Parts of : Sainik Vihar | 641 | Interruption due to fault
36 | 2018-07-16 | Mangolpuri | 10:32 | 14:40 | 0.17222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Nithari | 452 | Force Majeure Due to Rain and Multiple Trippings
37 | 2018-07-16 | Narela | 14:45 | 16:58 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Rajiv Colony | 2027 | Force Majeure Due to Rain and Multiple Trippings
38 | 2018-07-16 | Pitam Pura | 00:16 | 01:24 | 0.047222 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Sparking | Restored/Repaired | Parts of : M Block Shakurpur | 333 | Interruption due to fault
39 | 2018-07-16 | Mangolpuri | 04:11 | 05:26 | 0.052083 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Begumpur | 1263 | Interruption due to fault
40 | 2018-07-16 | Moti Nagar | 09:08 | 10:20 | 0.05 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Sparking | Restored/Repaired | Parts of : Inderpuri | 336 | Interruption due to fault
41 | 2018-07-16 | Rohini | 14:18 | 15:31 | 0.050694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Sec 6 Rohini | 1001 | Force Majeure Due to Rain and Multiple Trippings
42 | 2018-07-16 | Mangolpuri | 14:22 | 17:26 | 0.12778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Sultanpuri | 454 | Force Majeure Due to Rain and Multiple Trippings
43 | 2018-07-16 | Bawana | 14:25 | 16:17 | 0.077778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Jaunti Village | 468 | Force Majeure Due to Rain and Multiple Trippings
44 | 2018-07-16 | Narela | 15:19 | 0.72569 | 0.0875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Alipur | 413 | Force Majeure Due to Rain and Multiple Trippings
45 | 2018-07-16 | Badli | 15:06 | 0.72222 | 0.093056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Rana Park | 1170 | Force Majeure Due to Rain and Multiple Trippings
46 | 2018-07-16 | Rohini | 15:31 | 18:00 | 0.10347 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Sec 8 rohini | 380 | Force Majeure Due to Rain and Multiple Trippings
47 | 2018-07-16 | Bawana | 16:01 | 0.74653 | 0.079167 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Harevali Village | 406 | Force Majeure Due to Rain and Multiple Trippings
48 | 2018-07-16 | Narela | 16:21 | 0.77083 | 0.089583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Bankner Village | 401 | Force Majeure Due to Rain and Multiple Trippings
49 | 2018-07-16 | Shalimar Bagh | 16:32 | 18:30 | 0.081944 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Shalimar Village | 322 | Force Majeure Due to Rain and Multiple Trippings
50 | 2018-07-16 | Shalimar Bagh | 17:00 | 0.79097 | 0.082639 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Baba Colony | 507 | Force Majeure Due to Rain and Multiple Trippings
51 | 2018-07-16 | Civil Lines | 18:17 | 0.85417 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Indra Market | 572 | Force Majeure Due to Rain and Multiple Trippings
52 | 2018-07-16 | Narela | 18:04 | 19:24 | 0.055556 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Singhola | 654 | Interruption due to fault
53 | 2018-07-16 | Bawana | 18:29 | 0.82292 | 0.052778 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Vijay Colony | 410 | Interruption due to fault
54 | 2018-07-16 | Moti Nagar | 19:38 | 0.88333 | 0.065278 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : F Block Ranjeet Nagar | 337 | Interruption due to fault
55 | 2018-07-16 | Shalimar Bagh | 19:52 | 0.88194 | 0.054167 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Mukundpur Village | 868 | Interruption due to fault
56 | 2018-07-16 | Model Town | 21:28 | 23:11 | 0.071528 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : GTK Road | 548 | Interruption due to fault
57 | 2018-07-16 | Civil Lines | 12:14 | 14:10 | 0.080556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain and Delay Due to Water Logging | Restored/Repaired | Parts of : Arya Pura | 448 | Force Majeure Due to Rain and Multiple Trippings

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51