## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___17-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-17 | Shalimar Bagh | 11:48 | 16:11 | 0.18264 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Bhalswa | 4322 | Planned outage
2 | 2018-07-17 | Bawana | 10:20 | 11:32 | 0.05 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : Vijay Nagar Bawana | 2995 | Planned outage
3 | 2018-07-17 | Bawana | 15:43 | 17:01 | 0.054167 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Kanjhawala | 2357 | Planned outage
4 | 2018-07-17 | Bawana | 14:00 | 15:38 | 0.068056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Nangal | 1722 | Force majeure due to rain
5 | 2018-07-17 | Model Town | 02:27 | 06:05 | 0.15139 | DAMAGE BY OTHER AGENCIES | HT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Mukherjee Nagar | 1355 | Force majeure due to sabotage
6 | 2018-07-17 | Model Town | 05:29 | 06:32 | 0.04375 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Radio Colony | 2080 | Interruption due to fault
7 | 2018-07-17 | Bawana | 08:35 | 10:45 | 0.090278 | DAMAGE BY OTHER AGENCIES | HT Cable Damaged by External Agency | Restored/Repaired | Parts of : JJ Colony Bawana | 1842 | Force majeure due to sabotage
8 | 2018-07-17 | Badli | 08:47 | 13:24 | 0.19236 | DAMAGE BY OTHER AGENCIES | HT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Siraspur | 403 | Force majeure due to sabotage
9 | 2018-07-17 | Badli | 09:22 | 10:43 | 0.05625 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sec-29 Rohini | 1908 | Interruption due to fault
10 | 2018-07-17 | Mangol Puri | 10:53 | 16:02 | 0.21458 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Begumpur | 1265 | Planned outage
11 | 2018-07-17 | Moti Nagar | 10:48 | 11:55 | 0.046528 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Ranjeet Nagar | 337 | Interruption due to fault
12 | 2018-07-17 | Bawana | 10:57 | 13:13 | 0.094444 | PLANNED SHUTDOWN | New HT Pole Erection | Restored/Repaired | Parts of : Karala | 2746 | Planned outage
13 | 2018-07-17 | Bawana | 11:29 | 13:46 | 0.095139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Pooth Khurd | 522 | Force majeure due to fire
14 | 2018-07-17 | Keshav Puram | 11:34 | 13:56 | 0.098611 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Wazirpur | 515 | Scheduled system outage
15 | 2018-07-17 | Shalimar Bagh | 11:48 | 13:21 | 0.064583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off due to Fire Message | Restored/Repaired | Parts of : Jahangir Puri | 331 | Force majeure due to fire
16 | 2018-07-17 | Civil lines | 12:33 | 0.71875 | 0.19583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Pole Damaged due to Tree Fell on Line | Restored/Repaired | Parts of : Kabir Basti | 572 | Force majeure due to sabotage
17 | 2018-07-17 | Narela | 12:36 | 14:00 | 0.058333 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Jhingola Village | 655 | Interruption due to fault
18 | 2018-07-17 | Badli | 12:32 | 14:30 | 0.081944 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Samaypur | 1266 | Interruption due to fault
19 | 2018-07-17 | Shalimar Bagh | 13:30 | 15:00 | 0.0625 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Bhalswa | 870 | Interruption due to fault
20 | 2018-07-17 | Shalimar Bagh | 13:27 | 15:28 | 0.084028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping due to Rain and Delay due to Water Logging | Restored/Repaired | Parts of : Burari | 2503 | Force majeure due to Rain and delay due to water logging
21 | 2018-07-17 | Shalimar Bagh | 14:43 | 15:55 | 0.05 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Sant Nagar | 1580 | Interruption due to fault
22 | 2018-07-17 | Bawana | 14:37 | 15:40 | 0.04375 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jain Nagar | 888 | Interruption due to fault
23 | 2018-07-17 | Narela | 14:40 | 16:35 | 0.079861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Ibrahimpur | 3805 | Force majeure due to sabotage
24 | 2018-07-17 | Shalimar Bagh | 0.80208 | 21:50 | 0.10764 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Bhalswa | 878 | Force majeure due to fire
25 | 2018-07-17 | Moti Nagar | 15:29 | 18:36 | 0.12986 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Rama Road | 335 | Force majeure due to sabotage
26 | 2018-07-17 | Badli | 17:28 | 18:40 | 0.05 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sec-26 Rohini | 1166 | Interruption due to fault
27 | 2018-07-17 | Bawana | 17:58 | 19:22 | 0.058333 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : JJ Colony Sawda | 503 | Interruption due to fault
28 | 2018-07-17 | Mangol Puri | 20:02 | 22:00 | 0.081944 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mithila Vihar | 8517 | Interruption due to fault
29 | 2018-07-17 | Mangol Puri | 21:25 | 23:12 | 0.074306 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Laxmi Vihar | 1220 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51