## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___18-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-18 | Shalimar Bagh | 08:07 | 09:10 | 0.04375 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Jharoda | 3507 | Interruption due to fault
2 | 2018-07-18 | Shalimar Bagh | 19:24 | 20:37 | 0.050694 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sawroop Nagar | 3263 | Interruption due to fault
3 | 2018-07-18 | Shalimar Bagh | 16:33 | 20:15 | 0.15417 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Mahindra Park | 2623 | Force majeure due to sabotage
4 | 2018-07-18 | Shalimar Bagh | 11:21 | 14:23 | 0.12639 | PLANNED SHUTDOWN | DT Oil Top-up | Restored/Repaired | Parts of : Ramgarh | 457 | Planned outage
5 | 2018-07-18 | Shalimar Bagh | 14:56 | 16:05 | 0.047917 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Haider Pur | 528 | Interruption due to fault
6 | 2018-07-18 | Pitam Pura | 13:02 | 17:25 | 0.18264 | PLANNED SHUTDOWN | Laying of New LT ABC | Restored/Repaired | Parts of : Shakur Pur | 479 | Scheduled system outage
7 | 2018-07-18 | Pitam Pura | 00:01 | 03:15 | 0.13472 | DAMAGE BY OTHER AGENCIES | LT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Rani Bagh | 319 | Force majeure due to sabotage
8 | 2018-07-18 | Narela | 10:34 | 14:10 | 0.15 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Sunger Pur | 3033 | Planned outage
9 | 2018-07-18 | Narela | 12:40 | 14:00 | 0.055556 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Holambi Kalan | 1774 | Interruption due to fault
10 | 2018-07-18 | Narela | 12:46 | 14:40 | 0.079167 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Singhola | 1399 | Interruption due to fault
11 | 2018-07-18 | Moti Nagar | 11:40 | 14:05 | 0.10069 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Todapur | 725 | Planned outage
12 | 2018-07-18 | Moti Nagar | 20:07 | 21:30 | 0.057639 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off due to Fire Message | Restored/Repaired | Parts of : Sudarshan Park | 392 | Force majeure due to fire
13 | 2018-07-18 | Model Town | 11:16 | 13:34 | 0.095833 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Kewal Park | 538 | Planned outage
14 | 2018-07-18 | Mangolpuri | 01:22 | 04:35 | 0.13403 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT ABC Burnt | Restored/Repaired | Parts of : Budh Vihar | 1475 | Force majeure due to fire
15 | 2018-07-18 | Mangolpuri | 15:09 | 17:55 | 0.11528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : Aman Vihar | 987 | Force majeure due to fire
16 | 2018-07-18 | Mangolpuri | 10:00 | 11:45 | 0.072917 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kirari | 1419 | Interruption due to fault
17 | 2018-07-18 | Mangolpuri | 11:55 | 15:40 | 0.15625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : B Block Mangolpuri | 1364 | Force majeure due to sabotage
18 | 2018-07-18 | Mangolpuri | 13:33 | 15:04 | 0.063194 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Balbir Vihar | 972 | Interruption due to fault
19 | 2018-07-18 | Mangolpuri | 08:38 | 09:42 | 0.044444 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Pooth Kalan | 951 | Interruption due to fault
20 | 2018-07-18 | Mangolpuri | 05:21 | 06:50 | 0.061806 | DISTRIBUTION TR. | DD Jumper Burnt | Restored/Repaired | Parts of : Laxmi Vihar | 900 | Interruption due to fault
21 | 2018-07-18 | Mangolpuri | 12:20 | 17:46 | 0.22639 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : Pratap Vihar | 585 | Force majeure due to fire
22 | 2018-07-18 | Mangolpuri | 10:46 | 13:00 | 0.093056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Begumpur | 573 | Force majeure due to fire
23 | 2018-07-18 | Mangolpuri | 18:30 | 19:38 | 0.047222 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sultanpuri | 507 | Interruption due to fault
24 | 2018-07-18 | Mangolpuri | 07:00 | 09:08 | 0.088889 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ACB Flashed | Restored/Repaired | Parts of : F Block JJ Colony Sultan Puri | 420 | Force majeure due to fire
25 | 2018-07-18 | Mangolpuri | 14:39 | 16:20 | 0.070139 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | IPC Burnt | Restored/Repaired | Parts of : Krishan Vihar | 395 | Interruption due to fault
26 | 2018-07-18 | Keshav Puram | 11:07 | 13:28 | 0.097917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Tota Ram Bazar | 520 | Force majeure due to sabotage
27 | 2018-07-18 | Keshav Puram | 11:31 | 13:02 | 0.063194 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : L Block JJ Colony Wazir Pur | 477 | Interruption due to fault
28 | 2018-07-18 | Civil Lines | 12:06 | 13:12 | 0.045833 | LT FEEDER | LT ACB Burnt | Restored/Repaired | Parts of : Malka Ganj | 568 | Interruption due to fault
29 | 2018-07-18 | Civil Lines | 11:30 | 18:22 | 0.28611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Vijay Nagar | 449 | Force majeure due to fire
30 | 2018-07-18 | Bawana | 14:45 | 16:40 | 0.079861 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Kanjhawala | 2368 | Interruption due to fault
31 | 2018-07-18 | Bawana | 15:03 | 17:45 | 0.1125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Garhi Rindhala | 1572 | Force majeure due to sabotage
32 | 2018-07-18 | Bawana | 18:53 | 20:13 | 0.055556 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Harewali | 522 | Interruption due to fault
33 | 2018-07-18 | Badli | 11:52 | 13:25 | 0.064583 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Prahladpur | 2854 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51