## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___19-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-19 | Mangol Puri | 10:45 | 13:22 | 0.10903 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Harijan Basti | 1680 | Planned outage
2 | 2018-07-19 | Shalimar Bagh | 11:03 | 17:34 | 0.27153 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Jharoda Dairy | 961 | Planned outage
3 | 2018-07-19 | Shalimar Bagh | 10:56 | 16:43 | 0.24097 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Bhalaswa Dairy | 708 | Planned outage
4 | 2018-07-19 | Shalimar Bagh | 10:59 | 12:36 | 0.067361 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Swaroop Nagar | 495 | Planned outage
5 | 2018-07-19 | Shalimar Bagh | 10:57 | 12:43 | 0.073611 | PLANNED SHUTDOWN | DT Oil Top up | Restored/Repaired | Parts of : B Block Shalimar Bagh | 324 | Planned outage
6 | 2018-07-19 | Bawana | 07:52 | 13:25 | 0.23125 | PLANNED SHUTDOWN | Installation of New RMU | Restored/Repaired | Parts of : Tajpur Village | 423 | Planned outage
7 | 2018-07-19 | Narela | 05:39 | 08:01 | 0.098611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off due to Fire Message | Restored/Repaired | Parts of : Ibrahimpur Village | 6916 | Force majeure due to fire
8 | 2018-07-19 | Keshav Puram | 06:19 | 07:30 | 0.049306 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ashok Vihar | 704 | Interruption due to fault
9 | 2018-07-19 | Shakti Nagar | 10:51 | 12:30 | 0.06875 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Tulsi Nagar | 501 | Interruption due to fault
10 | 2018-07-19 | Shalimar Bagh | 14:46 | 16:40 | 0.079167 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Amrit Vihar | 1378 | Interruption due to fault
11 | 2018-07-19 | Badli | 12:53 | 14:43 | 0.076389 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Prahladpur Village | 2963 | Interruption due to fault
12 | 2018-07-19 | Bawana | 13:38 | 14:55 | 0.053472 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mubarakpur Village | 4313 | Interruption due to fault
13 | 2018-07-19 | Narela | 16:41 | 17:50 | 0.047917 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Holambi Khurd | 1100 | Interruption due to fault
14 | 2018-07-19 | Keshav Puram | 05:08 | 06:15 | 0.046528 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : L Block JJ Colony Wazir Pur | 704 | Interruption due to fault
15 | 2018-07-19 | Shalimar Bagh | 08:51 | 10:04 | 0.050694 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jagat Pur Extension | 657 | Interruption due to fault
16 | 2018-07-19 | Narela | 08:31 | 10:30 | 0.082639 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kadi Vihar | 688 | Interruption due to fault
17 | 2018-07-19 | Badli | 08:14 | 0.42292 | 0.079861 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Badli Village | 573 | Interruption due to fault
18 | 2018-07-19 | Model Town | 11:32 | 13:05 | 0.064583 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Adarsh Nagar | 692 | Interruption due to fault
19 | 2018-07-19 | Narela | 12:03 | 13:30 | 0.060417 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Singhu Village | 1639 | Interruption due to fault
20 | 2018-07-19 | Narela | 12:34 | 14:15 | 0.070139 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Khera Kalan | 935 | interruption due to fault
21 | 2018-07-19 | Badli | 13:11 | 0.62847 | 0.079167 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Sec-28 Rohini | 1592 | Interruption due to fault
22 | 2018-07-19 | Mangol Puri | 0.55139 | 14:24 | 0.048611 | HVDS TRANSFORMER | DD Unit Flash | Restored/Repaired | Parts of : Aman Vihar | 1238 | Interruption due to fault
23 | 2018-07-19 | Shalimar Bagh | 15:49 | 17:09 | 0.055556 | DISTRIBUTION TR. | HT Bushing Burnt | Restored/Repaired | Parts of : Baba Colony | 4584 | Interruption due to fault
24 | 2018-07-19 | Mangol Puri | 18:36 | 19:55 | 0.054861 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Budh Vihar | 2941 | Interruption due to fault
25 | 2018-07-19 | Keshav Puram | 19:19 | 22:30 | 0.13264 | DAMAGE BY OTHER AGENCIES | HT Cable Damaged by External Agency | Restored/Repaired | Parts of : B Block Wazirpur Industrial Area | 783 | Force majeure due to sabotage
26 | 2018-07-19 | Model Town | 19:15 | 20:25 | 0.048611 | DISTRIBUTION TR. | DT Oil Leakage | Restored/Repaired | Parts of : Indra Vikas Colony | 1355 | Interruption due to fault
27 | 2018-07-19 | Badli | 19:54 | 21:03 | 0.047917 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Libaspur Village | 582 | Interruption due to fault
28 | 2018-07-19 | Shalimar Bagh | 15:59 | 17:40 | 0.070139 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Bangali Colony | 1880 | Interruption due to fault
29 | 2018-07-19 | Pitam Pura | 18:48 | 20:25 | 0.067361 | HT SYSTEM FAULT | Conductor Snapped | Restored/Repaired | Parts of : Sanik Vihar | 3501 | Interruption due to fault
30 | 2018-07-19 | Narela | 03:21 | 0.20833 | 0.06875 | LT FEEDER | LT ABC Faulty | Restored/Repaired | Parts of : Tigipur | 325 | Interruption due to fault
31 | 2018-07-19 | Rohini | 11:05 | 13:37 | 0.10556 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : B Block Avantika | 641 | Scheduled system outage
32 | 2018-07-19 | Mangol Puri | 11:15 | 13:44 | 0.10347 | PLANNED SHUTDOWN | For Load Shifting | Restored/Repaired | Parts of : Pooth Kalan | 1265 | Scheduled system outage
33 | 2018-07-19 | Moti Nagar | 11:15 | 15:50 | 0.19097 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : A Block Shopping Center | 353 | Scheduled system outage
34 | 2018-07-19 | Civil Lines | 11:28 | 0.55556 | 0.077778 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Malkaganj | 628 | Scheduled system outage
35 | 2018-07-19 | Keshav Puram | 12:33 | 13:50 | 0.053472 | LT FEEDER | LT Cable Fault | Restored/Repaired | Parts of : Tota Ram Bazar | 371 | Interruption due to fault
36 | 2018-07-19 | Shalimar Bagh | 13:06 | 14:40 | 0.065278 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Sant Nagar | 1268 | Interruption due to fault
37 | 2018-07-19 | Moti Nagar | 15:21 | 17:00 | 0.06875 | LT FEEDER | Maintenance Work | Restored/Repaired | Parts of : Bali Nagar | 625 | Interruption due to fault
38 | 2018-07-19 | Civil Lines | 06:20 | 07:52 | 0.063889 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Vijay Nagar | 443 | Interruption due to fault
39 | 2018-07-19 | Mangol Puri | 13:22 | 0.61806 | 0.061111 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sultanpuri | 409 | Interruption due to fault
40 | 2018-07-19 | Mangol Puri | 13:44 | 0.61806 | 0.045833 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Mithla Vihar | 752 | Interruption due to fault
41 | 2018-07-19 | Mangol Puri | 14:42 | 17:20 | 0.10972 | LT FEEDER | LT ACB Flashed | Restored/Repaired | Parts of : Krishan Vihar | 527 | Interruption due to fault
42 | 2018-07-19 | Mangol Puri | 17:24 | 18:41 | 0.053472 | LT FEEDER | LT ABC Sparking | Restored/Repaired | Parts of : Laxmi Vihar | 527 | Interruption due to fault
43 | 2018-07-19 | Mangol Puri | 18:42 | 0.83333 | 0.054167 | LT FEEDER | LT Cable Fault | Restored/Repaired | Parts of : Nithari Village | 317 | Interruption due to fault
44 | 2018-07-19 | Rohini | 18:53 | 20:44 | 0.077083 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Razapur Village | 910 | Interruption due to fault
45 | 2018-07-19 | Shakti Nagar | 19:05 | 0.86111 | 0.065972 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Manakpura | 445 | Interruption due to fault
46 | 2018-07-19 | Mangol Puri | 20:55 | 0.99931 | 0.12778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Pole Damaged due to Tree Fell on Line | Restored/Repaired | Parts of : P-1 Block Sultanpuri | 540 | Force majeure due to sabotage
47 | 2018-07-19 | Mangol Puri | 20:40 | 22:58 | 0.095833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Prem Nagar | 752 | Force majeure due to sabotage
48 | 2018-07-19 | Moti Nagar | 20:57 | 0.95833 | 0.085417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Moti Nagar | 356 | Force majeure due to fire
49 | 2018-07-19 | Narela | 22:36 | 0.98958 | 0.047917 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 468 | Interruption due to fault
50 | 2018-07-19 | Shalimar Bagh | 22:39 | 0.99931 | 0.055556 | LT FEEDER | IPC Burnt | Restored/Repaired | Parts of : Tomar Colony | 833 | Interruption due to fault
51 | 2018-07-19 | Shalimar Bagh | 22:42 | 0.99931 | 0.053472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Upkar Colony | 457 | Interruption due to fault
52 | 2018-07-19 | Narela | 22:44 | 0.98958 | 0.042361 | LT FEEDER | LT ACB Burnt | Restored/Repaired | Parts of : Nangali Poona | 626 | Interruption due to fault
53 | 2018-07-19 | Shalimar Bagh | 11:49 | 0.57292 | 0.080556 | LT FEEDER | LT Cable Fault | Restored/Repaired | Parts of : Bhalaswa Village | 874 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51