## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___20-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-20 | Shakti Nagar | 13:54 | 15:23 | 0.061806 | PLANNED SHUTDOWN | For Cable Jointing Work | Restored/Repaired | Parts of : Manakpura | 534 | Planned outage
2 | 2018-07-20 | Narela | 10:43 | 14:48 | 0.17014 | PLANNED SHUTDOWN | For Tree Trimming and Jumper Replacement | Restored/Repaired | Parts of : Alipur | 1932 | Planned outage
3 | 2018-07-20 | Narela | 10:02 | 14:31 | 0.18681 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Nangli | 452 | Planned outage
4 | 2018-07-20 | Bawana | 11:09 | 16:47 | 0.23472 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Karala | 717 | Planned outage
5 | 2018-07-20 | Shalimar Bagh | 10:27 | 13:56 | 0.14514 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Haiderpur | 1559 | Planned outage
6 | 2018-07-20 | Shalimar Bagh | 11:59 | 15:20 | 0.13958 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Wazirabad Village | 1844 | Planned outage
7 | 2018-07-20 | Bawana | 10:37 | 16:48 | 0.25764 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Auchandi | 1201 | Planned outage
8 | 2018-07-20 | Mangol Puri | 11:00 | 13:07 | 0.088194 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Ramesh Enclave | 680 | Scheduled system outage
9 | 2018-07-20 | Narela | 11:43 | 13:38 | 0.079861 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Sannoth | 301 | Interruption due to fault
10 | 2018-07-20 | Civil Lines | 11:47 | 12:48 | 0.042361 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Sidhipura | 302 | Interruption due to fault
11 | 2018-07-20 | Moti Nagar | 12:04 | 15:55 | 0.16042 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Kirti nagar | 510 | Scheduled system outage
12 | 2018-07-20 | Civil Lines | 13:28 | 15:26 | 0.081944 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Sangam Park | 309 | Interruption due to fault
13 | 2018-07-20 | Bawana | 02:20 | 03:50 | 0.0625 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Agar Nagar | 327 | Interruption due to fault
14 | 2018-07-20 | Bawana | 05:54 | 07:00 | 0.045833 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mazri Village | 2150 | Interruption due to fault
15 | 2018-07-20 | Moti Nagar | 06:39 | 08:00 | 0.05625 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : JJ Colony Inderpuri | 436 | Interruption due to fault
16 | 2018-07-20 | Bawana | 10:57 | 12:44 | 0.074306 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : N Blk Sec-2 DSIIDC Bawana | 357 | Interruption due to fault
17 | 2018-07-20 | Moti Nagar | 11:03 | 13:00 | 0.08125 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Pandav Nagar | 665 | Interruption due to fault
18 | 2018-07-20 | Narela | 11:13 | 12:43 | 0.0625 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of :Sec-C DSIIDC Bhorgarh | 506 | Interruption due to fault
19 | 2018-07-20 | Narela | 12:27 | 13:35 | 0.047222 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Ghoga Village | 1612 | Interruption due to fault
20 | 2018-07-20 | Rohini | 13:56 | 15:27 | 0.063194 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-25 Rohini | 2732 | Interruption due to fault
21 | 2018-07-20 | Shalimar Bagh | 16:19 | 17:25 | 0.045833 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Sant Nagar | 368 | Interruption due to fault
22 | 2018-07-20 | Badli | 16:40 | 18:20 | 0.069444 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Samaypur | 1003 | Interruption due to fault
23 | 2018-07-20 | Bawana | 17:48 | 19:45 | 0.08125 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Auchandi | 494 | Interruption due to fault
24 | 2018-07-20 | Bawana | 20:29 | 22:23 | 0.079167 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Kite String | Restored/Repaired | Parts of : Inder Enclave | 6985 | Force majeure due to sabotage
25 | 2018-07-20 | Bawana | 05:50 | 07:30 | 0.069444 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : JJ Colony Bawana | 426 | Interruption due to fault
26 | 2018-07-20 | Mangol Puri | 10:46 | 12:37 | 0.077083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Sec-21 Rohini | 3156 | Force majeure due to sabotage
27 | 2018-07-20 | Shalimar Bagh | 11:09 | 13:20 | 0.090972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Burari | 1456 | Force majeure due to fire
28 | 2018-07-20 | Pitam Pura | 12:29 | 15:40 | 0.13264 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | DT Faulty | Restored/Repaired | Parts of : Shakurpur | 591 | Force majeure and delay to public hindrance
29 | 2018-07-20 | Mangol Puri | 13:57 | 15:47 | 0.076389 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Sec-20 Rohini | 635 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51