## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___21-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-21 | Shakti Nagar | 11:11 | 13:01 | 1:50 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Punjabi Basti | 311 | Planned outage
2 | 2018-07-21 | Badli | 11:13 | 13:43 | 2:30 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Deep Vihar | 4788 | Planned outage
3 | 2018-07-21 | Shalimar Bagh | 11:36 | 17:42 | 6:06 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Wazirabad | 1032 | Planned outage
4 | 2018-07-21 | Rohini | 10:37 | 14:17 | 3:40 | PLANNED SHUTDOWN | Tree Trimming and Jumper Replacement | Restored/Repaired | Parts of : Sec-7 Rohini | 1132 | Planned outage
5 | 2018-07-21 | Shalimar Bagh | 10:05 | 12:00 | 1:55 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Mukundpur | 902 | Scheduled system outage
6 | 2018-07-21 | Narela | 10:48 | 12:36 | 1:48 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Alipur | 346 | Scheduled system outage
7 | 2018-07-21 | Civil Lines | 11:20 | 13:02 | 1:42 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sardar Nagar | 449 | Interruption due to fault
8 | 2018-07-21 | Keshav Puram | 12:05 | 13:51 | 1:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Onkar Nagar | 461 | Interruption due to fault
9 | 2018-07-21 | Badli | 12:21 | 13:40 | 1:19 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Samaypur | 527 | Interruption due to fault
10 | 2018-07-21 | Narela | 12:40 | 14:21 | 1:41 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : E Block Bawana | 2734 | Interruption due to fault
11 | 2018-07-21 | Shalimar Bagh | 16:37 | 18:10 | 1:33 | DAMAGE BY OTHER AGENCIES | HT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Sangam Vihar | 3878 | Force majeure due to sabotage
12 | 2018-07-21 | Moti Nagar | 03:05 | 05:33 | 2:28 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Sudarshan Park | 3173 | Force majeure due to sabotage
13 | 2018-07-21 | Narela | 06:07 | 07:40 | 1:33 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Auchandi | 2735 | Interruption due to fault
14 | 2018-07-21 | Narela | 07:09 | 08:17 | 1:08 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Tigipur Village | 1331 | Interruption due to fault
15 | 2018-07-21 | Bawana | 08:26 | 09:55 | 1:29 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Karala | 1037 | Interruption due to fault
16 | 2018-07-21 | Narela | 09:44 | 12:03 | 2:19 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Siraspur | 2380 | Force majeure due to sabotage
17 | 2018-07-21 | Mangolpuri | 10:13 | 12:40 | 2:27 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Aman Vihar | 1045 | Force majeure due to sabotage
18 | 2018-07-21 | Shalimar Bagh | 11:30 | 15:10 | 3:40 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Mahindra Park | 2622 | Force majeure due to sabotage
19 | 2018-07-21 | Badli | 12:39 | 15:00 | 2:21 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Kite String | Restored/Repaired | Parts of : Badli Village | 949 | Force majeure due to sabotage
20 | 2018-07-21 | Moti Nagar | 13:07 | 15:46 | 2:39 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Naraina | 464 | Scheduled system outage
21 | 2018-07-21 | Rohini | 12:10 | 14:26 | 2:16 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sec-5 Rohini | 424 | Force majeure due to fire
22 | 2018-07-21 | Bawana | 14:25 | 15:45 | 1:20 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Kanjhawala | 468 | Interruption due to fault
23 | 2018-07-21 | Mangolpuri | 14:49 | 16:00 | 1:11 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Y Block Mangolpuri | 766 | Interruption due to fault
24 | 2018-07-21 | Bawana | 14:31 | 15:58 | 1:27 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Pooth Village | 1415 | Interruption due to fault
25 | 2018-07-21 | Bawana | 15:29 | 17:25 | 1:56 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Rani Khera | 310 | Interruption due to fault
26 | 2018-07-21 | Badli | 13:28 | 16:40 | 3:12 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Libaspur | 6816 | Planned outage
27 | 2018-07-21 | Moti Nagar | 15:47 | 17:50 | 2:03 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Saraswati Garden | 3173 | Force majeure due to sabotage
28 | 2018-07-21 | Shalimar Bagh | 20:29 | 22:40 | 2:11 | DAMAGE BY OTHER AGENCIES | HT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Burari | 1535 | Force majeure due to sabotage
29 | 2018-07-21 | Civil Lines | 20:49 | 21:54 | 1:05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Sangam Park | 613 | Force majeure due to sabotage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51