## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___22-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-22 | Moti Nagar | 06:45 | 0.33681 | 0.055556 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Rama Road | 1877 | Interruption due to fault
2 | 2018-07-22 | Shalimar Bagh | 07:21 | 09:00 | 0.06875 | DISTRIBUTION TR. | HT Bushing Burnt | Restored/Repaired | Parts of : Jahangir Puri | 2687 | Interruption due to fault
3 | 2018-07-22 | Moti Nagar | 07:40 | 0.38889 | 0.069444 | HT SYSTEM FAULT | Conductor Snapped | Restored/Repaired | Parts of : Inderpuri | 521 | Interruption due to fault
4 | 2018-07-22 | Narela | 03:10 | 0.17708 | 0.045139 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Tigipur | 415 | Interruption due to fault
5 | 2018-07-22 | Shalimar Bagh | 04:21 | 05:30 | 0.047917 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Sangam Vihar | 3562 | Interruption due to fault
6 | 2018-07-22 | Narela | 09:34 | 11:00 | 0.059722 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Hiranki | 1789 | Interruption due to fault
7 | 2018-07-22 | Bawana | 09:28 | 11:48 | 0.097222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Nithari | 2958 | Force majeure due to sabotage
8 | 2018-07-22 | Narela | 10:10 | 11:54 | 0.072222 | DISTRIBUTION TR. | DT Oil Leakage | Restored/Repaired | Parts of : Singhu Village | 3604 | Interruption due to fault
9 | 2018-07-22 | Narela | 09:48 | 11:30 | 0.070833 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Bakoli Village | 935 | Interruption due to fault
10 | 2018-07-22 | Bawana | 10:02 | 11:29 | 0.060417 | HVDS TRANSFORMER | DD Unit Flashed | Restored/Repaired | Parts of : Karala Village | 3232 | Interruption due to fault
11 | 2018-07-22 | Narela | 0.56875 | 15:36 | 0.08125 | HT SYSTEM FAULT | Conductor Snapped | Restored/Repaired | Parts of : Swaroop Vihar | 1331 | Interruption due to fault
12 | 2018-07-22 | Narela | 13:48 | 15:27 | 0.06875 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kadipur | 1833 | Interruption due to fault
13 | 2018-07-22 | Shalimar Bagh | 15:06 | 16:50 | 0.072222 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Milan Vihar | 479 | Interruption due to fault
14 | 2018-07-22 | Mangolpuri | 16:30 | 19:36 | 0.12917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Pooth Kalan | 2200 | Force majeure due to fire
15 | 2018-07-22 | Pitam Pura | 15:52 | 17:40 | 0.075 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kapil Vihar | 318 | Interruption due to fault
16 | 2018-07-22 | Mangolpuri | 15:53 | 17:35 | 0.070833 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Mithila Vihar | 7093 | Interruption due to fault
17 | 2018-07-22 | Bawana | 16:00 | 17:45 | 0.072917 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Jain Nagar | 1985 | Interruption due to fault
18 | 2018-07-22 | Narela | 18:22 | 19:35 | 0.050694 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Alipur | 2582 | Interruption due to fault
19 | 2018-07-22 | Model Town | 19:19 | 20:45 | 0.059722 | LT FEEDER | LT ABC Faulty | Restored/Repaired | Parts of : Azadpur | 692 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51