## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___23-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-23 | Rohini | 11:00 | 16:56 | 0.24722 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Gopal Vihar | 1006 | Planned outage
2 | 2018-07-23 | Model Town | 11:13 | 14:30 | 0.13681 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Old Azadpur | 692 | Planned outage
3 | 2018-07-23 | Badli | 02:45 | 03:55 | 0.048611 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Deep Vihar | 2062 | Interruption due to fault
4 | 2018-07-23 | Badli | 06:12 | 07:20 | 0.047222 | HVDS CABLE & OTHER SYSTEM | HT Jumper Sparking | Restored/Repaired | Parts of : Sec 15 Rohini | 3762 | Interruption due to fault
5 | 2018-07-23 | Shalimar Bagh | 00:45 | 01:58 | 0.050694 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Mukundpur | 319 | Interruption due to fault
6 | 2018-07-23 | Mangolpuri | 03:10 | 04:58 | 0.075 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Sultanpuri | 613 | Interruption due to fault
7 | 2018-07-23 | Mangolpuri | 05:15 | 08:10 | 0.12153 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Budh Vihar | 992 | Force majeure due to fire
8 | 2018-07-23 | Shalimar Bagh | 06:12 | 07:44 | 0.063889 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Ishu Vihar | 6146 | Interruption due to fault
9 | 2018-07-23 | Narela | 08:27 | 11:15 | 0.11667 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : Khera Kalan | 935 | Force majeure due to sabotage
10 | 2018-07-23 | Moti Nagar | 09:48 | 11:05 | 0.053472 | HVDS CABLE & OTHER SYSTEM | Pin Insulator Faulty | Restored/Repaired | Parts of : Kirti Nagar | 505 | Interruption due to fault
11 | 2018-07-23 | Moti Nagar | 10:21 | 11:30 | 0.047917 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Block 24 Moti Nagar | 1957 | Interruption due to fault
12 | 2018-07-23 | Model Town | 11:08 | 14:20 | 0.13333 | PLANNED SHUTDOWN | Auto Reclouser Replacement | Restored/Repaired | Parts of : SFS Flats Mukherjee Nagar | 1295 | Scheduled system maintenance
13 | 2018-07-23 | Narela | 11:11 | 14:55 | 0.15556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Bakhtawarpur | 585 | Force majeure due to fire
14 | 2018-07-23 | Mangolpuri | 11:43 | 12:49 | 0.045833 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Parts of : Nithari | 2293 | Interruption due to fault
15 | 2018-07-23 | Shalimar Bagh | 11:45 | 13:22 | 0.067361 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Block D Jahangirpuri | 1890 | Interruption due to fault
16 | 2018-07-23 | Narela | 11:34 | 15:55 | 0.18125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Cable Damaged by External Agency | Restored/Repaired | Parts of : Khera Khurd | 350 | Force majeure due to sabotage
17 | 2018-07-23 | Mangolpuri | 11:32 | 13:28 | 0.080556 | HVDS CABLE & OTHER SYSTEM | HT Termination Faulty | Restored/Repaired | Parts of : Pooth Kalan | 1281 | Interruption due to fault
18 | 2018-07-23 | Mangolpuri | 11:59 | 13:05 | 0.045833 | PLANNED SHUTDOWN | For Attending DT Oil Leakage | Restored/Repaired | Parts of : Laxmi Vihar | 1367 | Scheduled system maintenance
19 | 2018-07-23 | Bawana | 12:16 | 13:30 | 0.051389 | HT SYSTEM FAULT | LA Faulty | Restored/Repaired | Parts of : Auchandi | 2702 | Interruption due to fault
20 | 2018-07-23 | Rohini | 13:05 | 20:19 | 0.30139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Vijay Vihar | 987 | Force majeure due to sabotage
21 | 2018-07-23 | Model Town | 13:15 | 16:45 | 0.14583 | PLANNED SHUTDOWN | LT Load Balancing | Restored/Repaired | Parts of : GTK Road Azadpur | 598 | Scheduled system maintenance
22 | 2018-07-23 | Rohini | 13:25 | 15:00 | 0.065972 | HT SYSTEM FAULT | HT Cable Burnt | Restored/Repaired | Parts of : Avantika | 1626 | Interruption due to fault
23 | 2018-07-23 | Badli | 14:53 | 16:00 | 0.046528 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Shiv Vihar | 923 | Interruption due to fault
24 | 2018-07-23 | Shalimar Bagh | 13:29 | 15:25 | 0.080556 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Block H Jahangirpuri | 2179 | Interruption due to fault
25 | 2018-07-23 | Moti Nagar | 16:33 | 17:50 | 0.053472 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Block B Sudershan Park | 859 | Interruption due to fault
26 | 2018-07-23 | Keshav Puram | 16:33 | 18:21 | 0.075 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Ashok Vihar | 615 | Interruption due to fault
27 | 2018-07-23 | Badli | 13:20 | 17:27 | 0.17153 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Ambe Garden | 629 | Scheduled system maintenance
28 | 2018-07-23 | Bawana | 17:54 | 0.81597 | 0.070139 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Agar Nagar | 381 | Interruption due to fault
29 | 2018-07-23 | Moti Nagar | 18:52 | 20:03 | 0.049306 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Pandav Nagar | 508 | Interruption due to fault
30 | 2018-07-23 | Mangolpuri | 13:40 | 15:31 | 0.077083 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Bus Bar Burnt | Restored/Repaired | Parts of : Raj Park | 318 | Interruption due to fault
31 | 2018-07-23 | Shalimar Bagh | 19:36 | 0.86458 | 0.047917 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Sant Nagar | 356 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51