## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___24-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-24 | Narela | 10:39 | 12:23 | 0.072222 | PLANNED SHUTDOWN | For Connecting New HT Cable | Restored/Repaired | Parts of : Alipur | 2306 | Planned outage
2 | 2018-07-24 | Rohini | 10:23 | 12:49 | 0.10139 | PLANNED SHUTDOWN | For Oil Top in DT | Restored/Repaired | Parts of : Sec 4 Rohini | 510 | Planned outage
3 | 2018-07-24 | Mangolpuri | 10:27 | 14:54 | 0.18542 | PLANNED SHUTDOWN | For Filling SF6 Gas In Breaker | Restored/Repaired | Parts of : Budh Vihar | 618 | Planned outage
4 | 2018-07-24 | Mangolpuri | 05:21 | 07:15 | 0.079167 | HT SYSTEM FAULT | Conductor Broken | Restored/Repaired | Parts of : Block T Sultanpuri | 806 | Interruption due to fault
5 | 2018-07-24 | Mangolpuri | 11:50 | 0.57292 | 0.079861 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Block UT Mangolpuri | 760 | Interruption due to fault
6 | 2018-07-24 | Shalimar Bagh | 07:52 | 13:05 | 0.21736 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Wazirabad Village | 1323 | Scheduled system maintenance
7 | 2018-07-24 | Badli | 09:10 | 10:43 | 0.064583 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Ambey Garden | 524 | Interruption due to fault
8 | 2018-07-24 | Bawana | 10:41 | 12:25 | 0.072222 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Parts of : Majra Dabas | 3607 | Interruption due to fault
9 | 2018-07-24 | Mangolpuri | 11:33 | 14:15 | 0.1125 | PLANNED SHUTDOWN | Relay Replacement | Restored/Repaired | Parts of : Mithila Vihar | 1829 | Scheduled system maintenance
10 | 2018-07-24 | Narela | 10:32 | 13:05 | 0.10625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Khampur | 3715 | Force majeure due to fire
11 | 2018-07-24 | Shalimar Bagh | 11:49 | 14:10 | 0.097917 | PLANNED SHUTDOWN | DT LT Bushing Replacement | Restored/Repaired | Parts of : Block H Jahangirpuri | 682 | Scheduled system maintenance
12 | 2018-07-24 | Moti Nagar | 14:19 | 15:50 | 0.063194 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Kirti Nagar | 505 | Interruption due to fault
13 | 2018-07-24 | Model Town | 15:57 | 17:37 | 0.069444 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Block G1 GTK Road | 4331 | Interruption due to fault
14 | 2018-07-24 | Shalimar Bagh | 12:06 | 17:36 | 0.22917 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Sant Nagar | 2556 | Scheduled system maintenance
15 | 2018-07-24 | Shalimar Bagh | 18:45 | 19:48 | 0.04375 | DISTRIBUTION TR. | DT Faulty | Restored/Repaired | Parts of : Mahindra Park Jahangirpuri | 640 | Interruption due to fault
16 | 2018-07-24 | Narela | 11:12 | 0.72917 | 0.2625 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Sec A 10 DSIDC Narela | 395 | Scheduled system maintenance
17 | 2018-07-24 | Shalimar Bagh | 11:23 | 13:00 | 0.067361 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Hardev Nagar | 473 | Interruption due to fault
18 | 2018-07-24 | Moti Nagar | 11:25 | 0.54167 | 0.065972 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Bali Nagar | 504 | Interruption due to fault
19 | 2018-07-24 | Model Town | 11:34 | 14:01 | 0.10208 | PLANNED SHUTDOWN | LT Load Balancing | Restored/Repaired | Parts of : Bharolla Village | 371 | Scheduled system maintenance
20 | 2018-07-24 | Shalimar Bagh | 13:59 | 15:50 | 0.077083 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Mukundpur | 420 | Interruption due to fault
21 | 2018-07-24 | Badli | 12:03 | 14:49 | 0.11528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : Libaspur | 785 | Force majeure due to sabotage
22 | 2018-07-24 | Moti Nagar | 14:25 | 15:37 | 0.05 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Toda Pur | 363 | Interruption due to fault
23 | 2018-07-24 | Shakti Nagar | 14:25 | 15:40 | 0.052083 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Nimri Village | 417 | Interruption due to fault
24 | 2018-07-24 | Rohini | 11:53 | 0.64236 | 0.14722 | PLANNED SHUTDOWN | LT Pole Replacement | Restored/Repaired | Parts of : Sec 5 Rohini | 827 | Scheduled system maintenance
25 | 2018-07-24 | Model Town | 11:18 | 12:48 | 0.0625 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Bus Bar Burnt | Restored/Repaired | Parts of : Mohan Park | 321 | Interruption due to fault
26 | 2018-07-24 | Mangolpuri | 13:38 | 14:50 | 0.05 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT CT Meter Burnt | Restored/Repaired | Parts of : Rajiv Nagar | 377 | Interruption due to fault
27 | 2018-07-24 | Moti Nagar | 20:06 | 23:19 | 0.13403 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Jakhria | 356 | Force majeure due to fire
28 | 2018-07-24 | Shalimar Bagh | 13:51 | 16:00 | 0.089583 | PLANNED SHUTDOWN | LT Load Balancing | Restored/Repaired | Parts of : Milan Vihar | 473 | Scheduled system maintenance
29 | 2018-07-24 | Bawana | 20:21 | 0.92014 | 0.072222 | LT FEEDER | IPC Burnt | Restored/Repaired | Parts of : Bajit Pur | 456 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51