## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___25-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-25 | Shalimar Bagh | 10:04 | 11:40 | 0.066667 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Nagar | 467 | Interruption due to fault
2 | 2018-07-25 | Shalimar Bagh | 11:07 | 13:00 | 0.078472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Ishu Vihar | 690 | Interruption due to fault
3 | 2018-07-25 | Model Town | 11:45 | 14:02 | 0.095139 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Mukherjee Nagar | 532 | Scheduled system maintenance
4 | 2018-07-25 | Moti Nagar | 11:48 | 16:02 | 0.17639 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Sudarshan Park | 398 | Scheduled system maintenance
5 | 2018-07-25 | Mangol Puri | 13:21 | 0.61806 | 0.061806 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Mithila Vihar | 307 | Interruption due to fault
6 | 2018-07-25 | Keshav Puram | 16:23 | 17:33 | 0.048611 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Ashok Vihar | 636 | Interruption due to fault
7 | 2018-07-25 | Rohini | 16:42 | 17:47 | 0.045139 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Sec-3 Rohini | 401 | Interruption due to fault
8 | 2018-07-25 | Moti Nagar | 10:21 | 13:28 | 0.12986 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : New Patel Nagar | 497 | Planned outage
9 | 2018-07-25 | Keshav Puram | 08:24 | 10:07 | 0.071528 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Nimri Colony | 865 | Planned outage
10 | 2018-07-25 | Mangol Puri | 10:41 | 13:06 | 0.10069 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Sec-20 Rohini | 1523 | Planned outage
11 | 2018-07-25 | Keshav Puram | 11:12 | 15:23 | 0.17431 | PLANNED SHUTDOWN | HT Sick Cable Replacement | Restored/Repaired | Parts of : Sawan Park | 1879 | Planned outage
12 | 2018-07-25 | Badli | 03:02 | 05:45 | 0.11319 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sec-28 Rohini | 1189 | Force majeure due to fire
13 | 2018-07-25 | Bawana | 07:22 | 09:00 | 0.068056 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Agar Nagar | 328 | Interruption due to fault
14 | 2018-07-25 | Badli | 11:01 | 13:33 | 0.10556 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Samaypur | 467 | Planned outage
15 | 2018-07-25 | Pitam Pura | 11:34 | 12:39 | 0.045139 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Rani Bagh | 3288 | Interruption due to fault
16 | 2018-07-25 | Mangol Puri | 11:58 | 13:00 | 0.043056 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Sec-21 Rohini | 679 | Interruption due to fault
17 | 2018-07-25 | Shalimar Bagh | 12:31 | 22:20 | 0.40903 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agency | Restored/Repaired | Parts of : Rajeev Nagar | 344 | Force majeure due to sabotage
18 | 2018-07-25 | Mangol Puri | 13:44 | 16:21 | 0.10903 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Mithila Vihar | 325 | Scheduled system maintenance
19 | 2018-07-25 | Shalimar Bagh | 15:10 | 17:55 | 0.11458 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Jahangir Puri | 2505 | Force majeure due to fire
20 | 2018-07-25 | Mangol Puri | 15:22 | 16:50 | 0.061111 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Begampur | 4653 | Interruption due to fault
21 | 2018-07-25 | Bawana | 18:24 | 20:40 | 0.094444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : JJ Colony Sawda | 1312 | Force majeure due to rain and delay due to water logging
22 | 2018-07-25 | Bawana | 18:41 | 20:00 | 0.054861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-5 DSIIDC Bawana | 310 | Force majeure due to rain
23 | 2018-07-25 | Narela | 18:42 | 20:30 | 0.075 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sungerpur | 3029 | Force majeure due to rain
24 | 2018-07-25 | Mangol Puri | 19:13 | 21:00 | 0.074306 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Budh Vihar Ph-1 | 1344 | Force majeure due to rain
25 | 2018-07-25 | Shalimar Bagh | 20:00 | 21:47 | 0.074306 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mahindra Park | 557 | Force majeure due to rain
26 | 2018-07-25 | Badli | 20:54 | 22:06 | 0.05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-29 Rohini | 4600 | Force majeure due to rain
27 | 2018-07-25 | Bawana | 0.79097 | 0.87292 | 0.081944 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Jain Nagar | 888 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51