## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___25-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-26 | Shalimar Bagh | 13:12 | 14:20 | 0.047222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jhangirabad Village | 1469 | Force majeure due to heavy rain and water logging
2 | 2018-07-26 | Shalimar Bagh | 13:20 | 15:00 | 0.069444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bhalswa | 627 | Force majeure due to heavy rain and water logging
3 | 2018-07-26 | Keshav Puram | 14:10 | 16:44 | 0.10694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Ashok Vihar | 376 | Force majeure due to sabotage
4 | 2018-07-26 | Mangol Puri | 00:43 | 02:12 | 0.061806 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Mangol Puri | 310 | Interruption due to fault
5 | 2018-07-26 | Shalimar Bagh | 02:43 | 04:06 | 0.057639 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mukund Pur | 2393 | Interruption due to fault
6 | 2018-07-26 | Badli | 03:00 | 04:40 | 0.069444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Deep Vihar | 2063 | Force majeure due to heavy rain and water logging
7 | 2018-07-26 | Mangol Puri | 03:09 | 04:45 | 0.066667 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Krishan Vihar | 612 | Interruption due to fault
8 | 2018-07-26 | Bawana | 03:06 | 04:10 | 0.044444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : JJ Colony Sawda | 1701 | Force majeure due to heavy rain and water logging
9 | 2018-07-26 | Moti Nagar | 03:27 | 05:10 | 0.071528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sudershan Park | 1985 | Force majeure due to heavy rain and water logging
10 | 2018-07-26 | Mangol Puri | 03:17 | 05:30 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Budh Vihar Ph-1 | 347 | Force majeure due to heavy rain and water logging
11 | 2018-07-26 | Moti Nagar | 04:24 | 05:30 | 0.045833 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Saraswati Garden | 572 | Interruption due to fault
12 | 2018-07-26 | Narela | 04:23 | 05:30 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Lampur Village | 2264 | Force majeure due to heavy rain and water logging
13 | 2018-07-26 | Narela | 03:06 | 05:32 | 0.10139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ibrahimpur | 5217 | Force majeure due to heavy rain and water logging
14 | 2018-07-26 | Mangol Puri | 05:37 | 07:17 | 0.069444 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-20 Rohini | 2272 | Interruption due to fault
15 | 2018-07-26 | Shalimar Bagh | 06:14 | 07:31 | 0.053472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Jhangirabad Village | 482 | Interruption due to fault
16 | 2018-07-26 | Moti Nagar | 06:08 | 07:35 | 0.060417 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Mansarover Garden | 3176 | Interruption due to fault
17 | 2018-07-26 | Bawana | 07:27 | 09:20 | 0.078472 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Rama Vihar | 5365 | Force majeure due to sabotage
18 | 2018-07-26 | Shalimar Bagh | 07:31 | 08:45 | 0.051389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Burari | 4122 | Force majeure due to heavy rain and water logging
19 | 2018-07-26 | Shalimar Bagh | 07:29 | 08:30 | 0.042361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sangam Vihar | 6725 | Force majeure due to heavy rain and water logging
20 | 2018-07-26 | Mangol Puri | 07:38 | 10:39 | 0.12569 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Pole Tilted Due to Water Logging | Restored/Repaired | Parts of : Sec-21 Rohini | 993 | Force majeure due to heavy rain and water logging
21 | 2018-07-26 | Badli | 07:56 | 10:50 | 0.12083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Sec-26 Rohini | 1045 | Force majeure due to sabotage
22 | 2018-07-26 | Bawana | 07:38 | 12:53 | 0.21875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Conductor Damaged Due to Tree Fell on Line | Restored/Repaired | Parts of : Punjab Khore | 4564 | Force majeure due to sabotage
23 | 2018-07-26 | Bawana | 12:33 | 14:30 | 0.08125 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-1 DSIIDC Bawana | 316 | Interruption due to fault
24 | 2018-07-26 | Bawana | 06:55 | 08:50 | 0.079861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kanjhawala | 2308 | Force majeure due to heavy rain and water logging
25 | 2018-07-26 | Narela | 08:53 | 11:35 | 0.1125 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Khampur Village | 1392 | Force majeure due to heavy rain and water logging
26 | 2018-07-26 | Narela | 08:40 | 12:10 | 0.14583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Khera Kalan | 939 | Force majeure due to heavy rain and water logging
27 | 2018-07-26 | Pitam Pura | 09:00 | 10:50 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Kapil Vihar | 318 | Force majeure due to heavy rain and water logging
28 | 2018-07-26 | Bawana | 08:41 | 11:40 | 0.12431 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-2 DSIIDC Bawana | 315 | Force majeure due to heavy rain and water logging
29 | 2018-07-26 | Moti Nagar | 09:04 | 10:45 | 0.070139 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : B Blk Naraina Ind. Area | 324 | Interruption due to fault
30 | 2018-07-26 | Shalimar Bagh | 08:58 | 10:13 | 0.052083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Sant Nagar | 2773 | Force majeure due to sabotage
31 | 2018-07-26 | Mangol Puri | 09:25 | 10:45 | 0.055556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Partap Vihar | 3697 | Force majeure due to sabotage
32 | 2018-07-26 | Civil Lines | 09:14 | 10:22 | 0.047222 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Kamla Nagar | 1268 | Interruption due to fault
33 | 2018-07-26 | Bawana | 08:58 | 10:32 | 0.065278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bawana | 3664 | Force majeure due to heavy rain and water logging
34 | 2018-07-26 | Moti Nagar | 10:17 | 12:06 | 0.075694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Inderpuri | 681 | Force majeure due to heavy rain and water logging
35 | 2018-07-26 | Mangol Puri | 10:45 | 12:35 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Prem Nagar | 1799 | Force majeure due to sabotage
36 | 2018-07-26 | Mangol Puri | 11:05 | 12:14 | 0.047917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Mithila Vihar | 2812 | Force majeure due to sabotage
37 | 2018-07-26 | Bawana | 10:54 | 12:00 | 0.045833 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Rani Khera | 692 | Interruption due to fault
38 | 2018-07-26 | Mangol Puri | 11:59 | 0.54861 | 0.049306 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Nithari | 1239 | Force majeure due to heavy rain and water logging
39 | 2018-07-26 | Narela | 09:59 | 15:00 | 0.20903 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Tigipur | 2671 | Force majeure due to heavy rain and water logging
40 | 2018-07-26 | Narela | 12:25 | 13:51 | 0.059722 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sungerpur | 3157 | Force majeure due to heavy rain and water logging
41 | 2018-07-26 | Rohini | 13:01 | 14:11 | 0.048611 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Sec-3 Rohini | 405 | Interruption due to fault
42 | 2018-07-26 | Bawana | 14:37 | 18:13 | 0.15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Pole Tilted Due to Water Logging | Restored/Repaired | Parts of : Vijay Nagar Bawana | 2057 | Force majeure due to heavy rain and water logging
43 | 2018-07-26 | Keshav Puram | 15:24 | 16:45 | 0.05625 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Onkar Nagar | 500 | Interruption due to fault
44 | 2018-07-26 | Mangol Puri | 17:15 | 18:50 | 0.065972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : UT Blk Mangol Puri | 699 | Force majeure due to sabotage
45 | 2018-07-26 | Model Town | 17:56 | 19:50 | 0.079167 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Azadpur | 692 | Force majeure due to heavy rain and water logging
46 | 2018-07-26 | Bawana | 20:12 | 21:37 | 0.059028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ghewra | 3232 | Force majeure due to heavy rain and water logging
47 | 2018-07-26 | Narela | 21:10 | 22:40 | 0.0625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Hiranki | 1789 | Force majeure due to heavy rain and water logging

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51