## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___27-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-27 | Shalimar Bagh | 12:05 | 0.72569 | 0.22222 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Jagatpur Village | 836 | Planned outage
2 | 2018-07-27 | Shalimar Bagh | 13:30 | 15:46 | 0.094444 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agency | Restored/Repaired | Parts of : Bhalaswa Village | 412 | Force majeure due to sabotage
3 | 2018-07-27 | Keshav Puram | 0.00069444 | 01:08 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due to Fire Message | Restored/Repaired | Parts of : F Block JJ Colony | 578 | Force majeure due to fire
4 | 2018-07-27 | Badli | 01:17 | 02:40 | 0.057639 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Badli | 365 | Interruption due to fault
5 | 2018-07-27 | Shalimar Bagh | 02:04 | 0.16736 | 0.08125 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Baba Colony | 4287 | Interruption due to fault
6 | 2018-07-27 | Shalimar Bagh | 02:23 | 04:25 | 0.084722 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Burari Village | 2620 | Force majeure due to sabotage
7 | 2018-07-27 | Rohini | 02:45 | 04:10 | 0.059028 | HVDS TRANSFORMER | DT Failure | Restored/Repaired | Parts of : Vijay Vihar | 1077 | Interruption due to fault
8 | 2018-07-27 | Mangol Puri | 0.12431 | 04:45 | 0.073611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Pooth Kalan | 7476 | Force majeure due to sabotage
9 | 2018-07-27 | Mangol Puri | 03:03 | 04:20 | 0.053472 | DISTRIBUTION TR. | DD Unit Faulty | Restored/Repaired | Parts of : Sultanpur Mazra | 2605 | Interruption due to fault
10 | 2018-07-27 | Moti Nagar | 03:56 | 05:15 | 0.054861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Nariana Industrial Area | 2559 | Force majeure due to sabotage
11 | 2018-07-27 | Shalimar Bagh | 04:23 | 0.23958 | 0.056944 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Hardev Nagar | 3693 | Interruption due to fault
12 | 2018-07-27 | Rohini | 04:21 | 06:00 | 0.06875 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Sector-2 Rohini | 1436 | Interruption due to fault
13 | 2018-07-27 | Moti Nagar | 04:59 | 06:15 | 0.052778 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : F Block Mansarover Garden | 1279 | Interruption due to fault
14 | 2018-07-27 | Mangol Puri | 03:51 | 05:45 | 0.079167 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : UT Block Sultanpuri | 445 | Interruption due to fault
15 | 2018-07-27 | Moti Nagar | 05:50 | 07:30 | 0.069444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Kirti Nagar Industrial Area | 507 | Force majeure due to sabotage
16 | 2018-07-27 | Narela | 06:25 | 0.34722 | 0.079861 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Swaroop Vihar | 5878 | Interruption due to fault
17 | 2018-07-27 | Narela | 05:43 | 07:17 | 0.065278 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Lampur Village | 2422 | Interruption due to fault
18 | 2018-07-27 | Bawana | 06:21 | 07:40 | 0.054861 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sec-2 DSIIDC Bawana | 315 | Interruption due to fault
19 | 2018-07-27 | Bawana | 07:56 | 09:21 | 0.059028 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Bawana Village | 728 | Interruption due to fault
20 | 2018-07-27 | Narela | 07:54 | 09:55 | 0.084028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Holambi Kalan | 1689 | Force majeure due to sabotage
21 | 2018-07-27 | Narela | 08:03 | 09:30 | 0.060417 | DISTRIBUTION TR. | DD Unit Faulty | Restored/Repaired | Parts of : Bakoli Village | 1550 | Interruption due to fault
22 | 2018-07-27 | Shakti Nagar | 05:15 | 07:10 | 0.079861 | HT SYSTEM FAULT | CT/PT Unit Faulty | Restored/Repaired | Parts of : Manakpura | 1059 | Interruption due to fault
23 | 2018-07-27 | Shalimar Bagh | 08:57 | 11:10 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sant Nagar | 658 | Force majeure due to fire
24 | 2018-07-27 | Bawana | 08:51 | 11:16 | 0.10069 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-1 DSIIDC Bawana | 315 | Force majeure due to heavy rain and water logging
25 | 2018-07-27 | Moti Nagar | 07:38 | 09:30 | 0.077778 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ramesh Nagar | 573 | Interruption due to fault
26 | 2018-07-27 | Narela | 12:05 | 15:30 | 0.14236 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Conductor Damaged Due to Tree Fell on Line | Restored/Repaired | Parts of : Bakhtawarpur Village | 638 | Force majeure due to sabotage
27 | 2018-07-27 | Narela | 14:02 | 15:20 | 0.054167 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Alipur | 2422 | Interruption due to fault
28 | 2018-07-27 | Narela | 15:38 | 16:48 | 0.048611 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Singhu Village | 1616 | Interruption due to fault
29 | 2018-07-27 | Badli | 21:15 | 22:30 | 0.052083 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Samaypur | 1171 | Interruption due to fault
30 | 2018-07-27 | Shalimar Bagh | 04:18 | 05:52 | 0.065278 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Ambedkar Nagar | 494 | Interruption due to fault
31 | 2018-07-27 | Keshav Puram | 09:11 | 15:54 | 0.27986 | PLANNED SHUTDOWN | New LT ABC Laying | Restored/Repaired | Parts of : Ashok Vihar | 776 | Scheduled system maintenance
32 | 2018-07-27 | Model Town | 14:23 | 15:49 | 0.059722 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Adarsh Nagar | 314 | Interruption due to fault
33 | 2018-07-27 | Model Town | 17:17 | 18:42 | 0.059028 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : A Block Gujrawala Town | 592 | Interruption due to fault
34 | 2018-07-27 | Narela | 01:26 | 0.30972 | 0.25 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Hiranki | 877 | Force majeure due to heavy rain and water logging
35 | 2018-07-27 | Mangol Puri | 02:19 | 0.16667 | 0.070139 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Sector-20 Rohini | 411 | Interruption due to fault
36 | 2018-07-27 | Shalimar Bagh | 03:11 | 05:00 | 0.075694 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Haiderpur Village | 612 | Interruption due to fault
37 | 2018-07-27 | Bawana | 05:33 | 0.3125 | 0.08125 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Punjab Khore | 393 | Interruption due to fault
38 | 2018-07-27 | Civil Lines | 06:11 | 0.30417 | 0.046528 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Roop Nagar | 365 | Interruption due to fault
39 | 2018-07-27 | Narela | 07:45 | 0.42361 | 0.10069 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Holambi Khurd | 877 | Force majeure due to fire
40 | 2018-07-27 | Narela | 10:07 | 0.49306 | 0.071528 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | IPC Burnt | Restored/Repaired | Parts of : Nangali Poona | 321 | Interruption due to fault
41 | 2018-07-27 | Narela | 10:09 | 0.50347 | 0.080556 | LT FEEDER | Distribution Box Burnt | Restored/Repaired | Parts of : Kadipur | 619 | Interruption due to fault
42 | 2018-07-27 | Moti Nagar | 10:41 | 13:20 | 0.11042 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Rama Road | 319 | Scheduled system maintenance
43 | 2018-07-27 | Pitam Pura | 19:51 | 21:50 | 0.082639 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Lok Vihar | 502 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51