## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___28-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-28 | Bawana | 09:55 | 16:54 | 0.29097 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Sec-4 DSIIDC Bawana | 390 | Planned outage
2 | 2018-07-28 | Bawana | 12:14 | 16:40 | 0.18472 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Bawana Village | 424 | Planned outage
3 | 2018-07-28 | Narela | 12:24 | 13:30 | 0.045833 | PLANNED SHUTDOWN | DT Oil Top-up | Restored/Repaired | Parts of : Lampur Village | 1307 | Planned outage
4 | 2018-07-28 | Shalimar Bagh | 11:40 | 16:05 | 0.18403 | PLANNED SHUTDOWN | For Filling SF6 Gas in Breaker | Restored/Repaired | Parts of : Sant Nagar | 1511 | Planned outage
5 | 2018-07-28 | Shalimar Bagh | 11:50 | 15:54 | 0.16944 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Swaroop Nagar | 2253 | Planned outage
6 | 2018-07-28 | Shalimar Bagh | 11:48 | 15:54 | 0.17083 | PLANNED SHUTDOWN | HT Sick Cable Replacement | Restored/Repaired | Parts of : Kaushik Enclave | 1076 | Planned outage
7 | 2018-07-28 | Shalimar Bagh | 10:40 | 12:18 | 0.068056 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Hans Appartment | 364 | Planned outage
8 | 2018-07-28 | Mangol Puri | 10:19 | 13:01 | 0.1125 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Kirari Village | 731 | Planned outage
9 | 2018-07-28 | Mangol Puri | 10:14 | 12:55 | 0.11181 | PLANNED SHUTDOWN | DT Oil Top-up | Restored/Repaired | Parts of : UT Block Mangolpuri | 502 | Planned outage
10 | 2018-07-28 | Bawana | 09:48 | 0.74861 | 0.34028 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Ishwar Colony | 375 | Planned outage
11 | 2018-07-28 | Badli | 10:26 | 12:51 | 0.10069 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Deep Vihar | 880 | Planned outage
12 | 2018-07-28 | Bawana | 18:05 | 19:30 | 0.059028 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Auchandi Village | 2707 | Interruption due to fault
13 | 2018-07-28 | Shalimar Bagh | 00:13 | 01:22 | 0.047917 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Jagatpur Village | 4238 | Interruption due to fault
14 | 2018-07-28 | Shalimar Bagh | 04:26 | 08:02 | 0.15 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Bhalswa Dairy | 774 | Force majeure due to sabotage
15 | 2018-07-28 | Shalimar Bagh | 05:05 | 06:10 | 0.045139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Mahindra Park | 2751 | Force majeure due to sabotage
16 | 2018-07-28 | Narela | 05:41 | 06:57 | 0.052778 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Nangali Poona | 5400 | Interruption due to fault
17 | 2018-07-28 | Narela | 07:16 | 0.42431 | 0.12153 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Swaroop Vihar | 5878 | Force majeure due to fire
18 | 2018-07-28 | Shalimar Bagh | 07:05 | 08:47 | 0.070833 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Haiderpur Village | 736 | Interruption due to fault
19 | 2018-07-28 | Mangol Puri | 11:42 | 13:15 | 0.064583 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Budh Vihar | 1829 | Interruption due to fault
20 | 2018-07-28 | Shalimar Bagh | 10:46 | 12:20 | 0.065278 | DISTRIBUTION TR. | DD Unit Faulty | Restored/Repaired | Parts of : Bhalswa Village | 2325 | Interruption due to fault
21 | 2018-07-28 | Mangol Puri | 11:36 | 14:22 | 0.11528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : Nithari Village | 3969 | Force majeure due to sabotage
22 | 2018-07-28 | Mangol Puri | 11:25 | 12:40 | 0.052083 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Pooth Kalan | 613 | Interruption due to fault
23 | 2018-07-28 | Mangol Puri | 14:58 | 16:52 | 0.079167 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Mange Ram Park | 1872 | interruption due to fault
24 | 2018-07-28 | Model Town | 16:15 | 17:30 | 0.052083 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Adarsh Nagar | 879 | Interruption due to fault
25 | 2018-07-28 | Narela | 16:04 | 0.71528 | 0.045833 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Swaroop Vihar | 2588 | Interruption due to fault
26 | 2018-07-28 | Bawana | 17:03 | 18:20 | 0.053472 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Agar Nagar | 328 | Interruption due to fault
27 | 2018-07-28 | Narela | 17:12 | 18:40 | 0.061111 | HT SYSTEM FAULT | CT/PT Unit Faulty | Restored/Repaired | Parts of : Alipur Village | 2382 | Interruption due to fault
28 | 2018-07-28 | Shalimar Bagh | 17:15 | 19:30 | 0.09375 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Burari Village | 307 | Force majeure due to fire
29 | 2018-07-28 | Moti Nagar | 17:24 | 0.80694 | 0.081944 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Naraina Vihar | 2106 | Interruption due to fault
30 | 2018-07-28 | Narela | 17:01 | 18:21 | 0.055556 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Singhu Village | 2422 | Interruption due to fault
31 | 2018-07-28 | Bawana | 17:54 | 21:20 | 0.14306 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Pooth Khurd | 622 | Force majeure due to sabotage
32 | 2018-07-28 | Narela | 18:22 | 19:55 | 0.064583 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bakhtarwarpur Village | 2185 | Interruption due to fault
33 | 2018-07-28 | Bawana | 17:29 | 18:40 | 0.049306 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Katewra Village | 3210 | Interruption due to fault
34 | 2018-07-28 | Bawana | 17:31 | 19:45 | 0.093056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : JJ Colony Savda | 3232 | Force majeure due to sabotage
35 | 2018-07-28 | Badli | 18:56 | 20:00 | 0.044444 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Sec-26 Rohini | 813 | Interruption due to fault
36 | 2018-07-28 | Bawana | 19:37 | 20:50 | 0.050694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Mahavir Vihar | 2308 | Force majeure due to sabotage
37 | 2018-07-28 | Narela | 19:59 | 21:40 | 0.070139 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Holambi Kalan Village | 3498 | Interruption due to fault
38 | 2018-07-28 | Mangol Puri | 19:26 | 20:56 | 0.0625 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Raj Park | 885 | Interruption due to fault
39 | 2018-07-28 | Shalimar Bagh | 10:32 | 12:00 | 0.061111 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Ambedkar Nagar | 407 | Interruption due to fault
40 | 2018-07-28 | Keshav Puram | 12:09 | 13:43 | 0.065278 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Rampura Village | 515 | Scheduled system maintenance
41 | 2018-07-28 | Model Town | 12:42 | 14:25 | 0.071528 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Mukherjee Nagar | 451 | Interruption due to fault
42 | 2018-07-28 | Keshav Puram | 13:04 | 0.60069 | 0.05625 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Ashok Vihar | 339 | Interruption due to fault
43 | 2018-07-28 | Mangol Puri | 14:35 | 16:00 | 0.059028 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Krishna Vihar | 339 | Interruption due to fault
44 | 2018-07-28 | Badli | 12:46 | 0.60417 | 0.072222 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Samaypur Village | 684 | Scheduled system maintenance
45 | 2018-07-28 | Mangol Puri | 12:46 | 14:24 | 0.068056 | LT FEEDER | IPC Burnt | Restored/Repaired | Parts of : Friends Park | 315 | Interruption due to fault
46 | 2018-07-28 | Moti Nagar | 13:59 | 17:54 | 0.16319 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Ranjeet Nagar | 379 | Scheduled system maintenance
47 | 2018-07-28 | Mangol Puri | 15:11 | 16:24 | 0.050694 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Bus Bar Burnt | Restored/Repaired | Parts of : Rajiv Nagar | 477 | Interruption due to fault
48 | 2018-07-28 | Model Town | 15:11 | 16:24 | 0.050694 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Gujranwala Town | 518 | Interruption due to fault
49 | 2018-07-28 | Mangol Puri | 15:05 | 16:12 | 0.046528 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Sultanpur Mazra | 520 | Interruption due to fault
50 | 2018-07-28 | Badli | 15:28 | 16:51 | 0.057639 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Yadav Nagar | 684 | Scheduled system maintenance
51 | 2018-07-28 | Shalimar Bagh | 17:37 | 0.80903 | 0.075 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Bus Bar Burnt | Restored/Repaired | Parts of : Sangam Vihar | 649 | Interruption due to fault
52 | 2018-07-28 | Badli | 17:24 | 18:52 | 0.061111 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Shahabad Dairy | 1175 | Interruption due to fault
53 | 2018-07-28 | Bawana | 18:03 | 21:00 | 0.12292 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Vijay Nagar Bawana | 395 | Force majeure due to sabotage
54 | 2018-07-28 | Bawana | 21:07 | 0.94792 | 0.068056 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Karala Village | 395 | Interruption due to fault
55 | 2018-07-28 | Badli | 21:11 | 23:09 | 0.081944 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Suraj Park | 1175 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51